64055_screenshot_1

- 2.10.1  Visualized myocytes 00:00-00:00.20

64055_screenshot_2

- 2.11.1  Voltage and stimulation frequency set 00.21 – 00:31

64055_screenshot_3

- 2.12.1  Open software 00:32 – 00:42

- 2.12.2   Open new file 00:43 -00:48

- 2.12.3   Collect and start recording 00:49  - 00:54

- 2.12.4   Edit user limits 00:55- 01:00

- 2.12.5   Set sarcomere length limits 01:01  - 01:11

64055_screenshot_4

- 2.13    Positioning myocyte 01:12 – 01:22

64055_screenshot_5

- 2.14.1   Orient region of interest (ROI) box  01;23 – 01:28

- 2.14.2    Record sarcomere length traces   01:29 – 02:39

64055_screenshot_6

- 2.15.1  Assemble multi-channel tubing in peristaltic pump 02:39 – 03:50

64055_screenshot_7

- 2.16.1 Traces of myocytes paced at different frequencies  03:51 – 6:51

64055_screenshot_8

- 2.17.2.1   Peristaltic pump at basal rate  06:52  - 06:57

- 2.17.2.2   Peristaltic pump at 2x basal rate 06:58 – 07:08

- 2.17.2.3   Contractions recorded at high frequency  07:09 – 10:39

Start of section 3

64055_screenshot_9

- 3.1.1  Load recorded trace and select Tab 1 (left side) 010:40 – 11:00

64055_screenshot_10

- 3.2.1   Select Operations and Monotonic Transient Analysis Options  11:01  - 11:11

- 3.2.2  Select TTL Event Mark for Definition of T0 and appropriate analysis options (baseline, departure velocity, peak, return velocity, time to % peak and time to % baseline, exponential fit) and then OK							11:12  - 11:52

- 3.2.3   Select Templates and save Analysis Template		  	11:53 – 12:53

64055_screenshot_11

- 3.3.1  Select marks  12:54 – 13:04

- 3.3.2   Select transient marks (convert from event mark, -0.01, 1.20) and OK  13:05 – 13:35

64055_screenshot_12

- 3.4.1  Select Operations and Average Events 13:36 – 13:51

- 3.4.2  Select Basal for Event Average Name 13:52 – 14:02

- 3.4.3  Signal averaged data 14:03 – 14:18

64055_screenshot_13

- 3.5.1   Select Tab 1 of signal-averaged trace, then Marks followed by Add Transient 14:19 – 14:24

- 3.5.2   Transient Marks acquisition 14:25 – 14:35

- 3.5.3   Show transient added to signal-averaged trace 14:36 – 14:46

- 3.5.4   Select Operations and Monotonic Transient Analysis 14:47 – 14:58

- 3.5.5   Monotonic Transient analysis results 14:59  - 15:14

64055_screenshot_14

- 3.6.1   Select Export, Monotonic Transient Analysis, and Clipboard Current 15:15 – 15:25

- 3.6.2   Copy clipboard to Excel spreadsheet 15:26 – 15:41

64055_screenshot_15

- 3.7.1  Select Export and Current Trace 15:42 – 15:52

- 3.7.2  Select Clipboard and then Options 15:53 – 16:03

- 3.7.3  In the Options menu, Select 5 for Decimal place, then Tabs Dellmiter, Top for Label Location 16:04 – 17:04

- 3.7.4  Copy clipboard to Excel spreadsheet 17:05 – 17:35