# Submission ID #:  64072

# Scriptwriter Name: Siffeen Zehra

# Project Page Link: https://www.jove.com/account/file-uploader?src=19542008

# Title:   A Microfluidic Approach for the Study of Ice and Clathrate Hydrate Crystallization

# Authors and Affiliations:

Ran Drori*, Yitzhar Shalom

# Department of Chemistry and Biochemistry, Yeshiva University, New York, NY 10016

# Corresponding Authors:

# Ran Drori                     rdrori@yu.edu

# Email Addresses for All Authors:

ytshalom@mail.yu.edu

# rdrori@yu.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes

If Yes, can you record movies/images using your own microscope camera?

YES

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://www.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   NO

Current Protocol Length

Number of Steps:  21

Number of Shots:  44

# Introduction

- Introductory Interview Statements

Videographer: Obtain headshots for all authors.

REQUIRED:

  - Ran Drori: This protocol is unique as the user can measure and examine the interactions between soluble molecules and crystal surfaces. Strong evidence for irreversible binding of antifreeze proteins were found using this method.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: LAB MEDIA: FIGURE 3.

  - Yitzhar Shalom: The main advantage of this technique is the ability to control the growth of micron sized ice and hydrate crystals, and to exchange the solution around them in a controlled manner.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.5.1.

# Protocol

- Microfluidic Device Fabrication

  - To begin, place the pre-prepared mold in a glass Petri dish covered with aluminum foil [1]. Then prepare 30 to 40 milliliters of the PDMS (P-D-M-S) mixture by weighing a 1 to 10 mixture of the curing agent and elastomer [2] and mixing continuously for approximately 5 minutes until the mixture appears white and nearly opaque [3].

    - WIDE: Talent placing the mold inside the dish.

    - Talent adding elastomer and curing agent in s flask/beaker.

    - Talent mixing the solution.

  - Next, pour the PDMS mixture into the Petri dish with the mold [1] and degas in a desiccator until no bubbles remain [2]. Bake the mold with the liquid PDMS in an oven or on a hot plate at 70 degrees Celsius until a rubber like consistency is obtained [3].

    - Talent pouring the mixture into the petri dish.

    - Talent placing the petri dish in a desiccator.

    - Talent placing the petri dish in an oven or on a hot plate.

  - Then cut the device out by tracing around the features with a scalpel, taking care to push forward with the scalpel instead of down since the mold is fragile [1]. After removing the cut-out PDMS device, place it upside-down in a new Petri dish [2].

    - Talent cutting the device with a scalpel.

    - Talent placing the device in a petri dish.

  - Using a blunt syringe 20-gauge needle, punch out holes in the device based on the imprinted pattern [1-TXT].  Then insert the cleaned PDMS and coverslip into the plasma cleaner [2], close the valves [3], and turn on the power, vacuum, and pump [4].

    - Talent punching the needle into the device. TXT: Use microscope if necessary.

    - Talent inserting the PDMS and coverslip in the plasma cleaner.

    - Talent closing the valves.

    - Talent switching on the power, vacuum, and pump.

  - Allow the plasma cleaner to run for about a minute, set the RF (R-F) to HI (high) [1], and allow some air to enter the plasma cleaner using the fine valve [2].

    - Talent rotating the knob.

    - Talent adjusting the valve

  - When the viewing window's color changes from purple to pink, let the plasma cleaner work for 50 seconds and turn the RF off [1]. Keep the pump on for a minute, and after turning it off, gradually open the main valve to allow air into the plasma cleaner [2].

    - Talent rotating the knob.

    - Talent opening the valve.

  - Then press the PDMS surface onto the cleaned coverslip [1] and confirm that they are bonded by observing no detachment when pulling up slightly on the coverslip [2].

    - Talent pressing the PDMS onto the coverslip.

    - Talent pulling up the PDMS.

  - After securing the needle of a 90 degrees blunt needle with a pair of pliers, insert one end of the needle into a Tygon tube [1-TXT] and the other end into one of the punched-out holes of the device while repeating the process for the other holes [2].

    - Talent inserting the needle into a Tygon tube. TXT: Pull off the plastic syringe connector to remove it.

    - Talent inserting the needle into holes of the device.

- Setting Up the Microfluidic Device and Formation of Single Crystals in the Microfluidic Channels

  - Apply a small amount of immersion oil to the surface of the copper cold stage [1] and spread it using a lint-free wipe to create a thin layer of oil [2]. Next, place a clean sapphire disc on the created oil layer [3].

    - Talent applying immersion oil on the cold stage surface.

    - Talent spreading the oil with a wipe.

    - Talent placing a sapphire disc on the stage.

  - Then apply a droplet of immersion oil onto the center of the sapphire disc [1] and position the PDMS device onto the drop such that the features of the device are aligned over the viewing hole of the cold stage [2]. Videographer: This step is important

    - Talent placing immersion oil drop on the sapphire disc.

    - Talent placing the PDMS device onto the drop.

  - After holding the device in place, secure the tubing to the outer walls of the aluminium box that houses the adhesive tape [1-TXT]. Using a glass syringe, inject 4 to 5 microliters of AFP (Antifreeze proteins) solution into the inlet channel [2] and close the lid of the cold stage [3].

    - Talent placing the tubing around the cold stage using adhesive tape. TXT: Make a note of the placement of each specific tube.

    - Talent inserting the syringe into the channel and pushing the plunger.

    - Talent closing the lid of the stage.

  - Initiate the temperature control program and set the temperature to minus 25 degrees Celsius [1]. Then slowly increase the temperature by approximately 1 degree Celsius per 5 seconds, approach the sample's melting point, which can range from minus 1 to minus 0.2 degrees Celsius depending on the buffer used in the AFP solution [2-TXT].

    - SCREEN: Temperature is being set.

    - SCREEN: Temperature is being increased. TXT: Wait until a few single crystals are isolated.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://www.jove.com/account/file-uploader?src=19542008

  - To better observe single crystals, switch to 10x (10-X) or 20x (20-X) objectives and after obtaining a single crystal in the desired location, grow the crystal by slightly decreasing the temperature until the ends of the crystal meet the channel walls [1].

    - SCREEN: Crystals are being observed.

  - After switching to the 50x objective, inject the AFP solution into the channels [1], and observe the fluorescence intensity increase, indicating that the protein solution was successfully injected into the channels [2-TXT].

    - Talent inserting the syringe into the channel and pushing the plunger.

    - SCREEN: Increase in fluorescence intensity is being observed. TXT: Avoid melting of the ice crystal during the exchange of solutions.

- Solution Exchange Around Single Crystals

  - To record the solution exchange process, use the NIS (N-I-S) Elements imaging program ensuring that the applied pressure is not too high [1]. Then slowly inject the buffer solution into the second inlet of the microfluidic device [2]. Videographer: This step is important NOTE: As per the author’s request section 4 is separated and is divided into two steps.

    - Talent inserting the syringe into the channel and pushing the plunger.

  - Observe a decrease in the fluorescent signal at a rate that depends on the pressure applied to the syringe [2]

    - SCREEN: Decrease in fluorescence intensity is being observed.

- Experiments with Clathrate Hydrates

  - To obtain THF (T-H-F) hydrates, after preparing a THF/water solution with a molar ratio of 1:15, inject the solution into the microfluidic device [1]. Place the device in the cold stage as previously described [2].

    - Talent inserting the syringe into the channel and pushing the plunger.

    - Reuse 3.2.2.

  - After the THF/water solution is frozen, slowly increase the temperature until all the ice has melted at the exclusion of the hydrates and hold the temperature at 1 degree Celsius for 3 minutes [1].

    - SCREEN: : Ice crystals melting upon temperature increase.

  - Set the temperature to minus 2 degrees Celsius [1] and observe the abundance of hydrates that appear in the microfluidic channels in the absence of inhibitors [2].

    - SCREEN: Temperature is being set.

    - SCREEN: Hydrates being observed in the microfluidic channels.

  - Then inject the AFP/inhibitor into the microfluidic channel using the glass syringe while adjusting the temperature to ensure that the obtained crystals do not melt/grow and allow a few minutes for the inhibitor molecules to adsorb to the crystal surface [1].

    - Talent inserting the syringe into the channel and pushing the plunger.

  - Perform the solution exchange by injecting the inhibitor-free solution into the channel. Take images of the crystal before and after the solution exchange, and analyse the fluorescence intensity on the crystal and in the solution using the imaging program[1].

    - SCREEN: Fluorescence intensity is being measured.

# Results

- Results: Crystallization of Microscopic Ice Crystals and Clathrate Hydrates in Microfluidic Devices

  - A successful solution exchange around an ice crystal was performed indicating that the solution exchange was relatively fast; however, a slower exchange is possible [1]. The fluorescence intensity coming from the ice-adsorbed AFGP (Antifreeze glycoproteins) molecules was clearly observed after the exchange was complete [2].

    - LAB MEDIA: FIGURE 3.

    - LAB MEDIA: FIGURE 3.

  - A quantitative analysis of the AFP concentration was monitored [1] and the fluorescence intensity was determined in the solution and on the ice indicating the fluorescence signal in the solution is decreased by a factor of 100 during the solution exchange [2], while the calculated signal on the ice surface stays constant [3].

    - LAB MEDIA: FIGURE 4

    - LAB MEDIA: FIGURE 4C. Video editor: Emphasize the red-colored plot.

    - LAB MEDIA: FIGURE 4C. Video editor: Emphasize the green-colored plot.

  - Microfluidic experiments with THF hydrates were carried out where an inhibitor-free solution was injected into the channels after the hydrate crystals were allowed to adsorb the inhibitor molecules [1].

    - LAB MEDIA: FIGURE 5.

  - The THF hydrates were observed after solution exchange with two types of inhibitors including AFGP labeled with fluorescein isothiocyanate [1] and safranine O, a fluorescence dye [2].

    - LAB MEDIA: FIGURE 5A.

    - LAB MEDIA: FIGURE 5B.

# Conclusion

- Conclusion Interview Statements

  - Yitzhar Shalom: The critical steps of this procedure are the formation and isolation of a single crystal in the microfluidic channels and exchanging the solution around it.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.5.1., 4.1.1.

  - Ran Drori: This method can be used with other crystalline materials that are highly temperature-sensitive in an effort to identify and understand the mechanism by which inhibitors interact with these crystals.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Ran Drori: The ability to exchange solutions around crystals paved the way for researchers to identify key insights into the binding mechanism of antifreeze proteins, and to discover a new phenomenon of isotope effect on ice growth.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: LAB MEDIA: FIGURE 5.