64106_screenshot_1

3.4.1 (Click Standard measurement and set the dilution accordingly, in this case 250) 00:00-00:11

3.4.2 (Click Capture ǀ Start Camera and set the camera level to 14 to visualise the small EVs) 00:12-00:22

3.4.3 (To initial the measurement, click Create ǀ Run Script and select the location where the files need to be saved) 00:23-00:26

3.4.4 (Key in the necessary details of the sample and click OK) 00:27-00:30

3.4.5 (Click the Setting OK to continue the script and click OK to initial the measurement) 00:31-00:40

3.4.6 (Once the measurement has been recorded, analyse the results with detection threshold of five, located at Process panel, to include 10-100 red crosses per frame and the blue cross count is limited to five) 00:41-01:00

3.4.7 (Click Setting OK to continue the script and initial the analysis) 01:01-01:19

3.4.8 (Click OK on the Script Complete notification and Export to export the data to the set location) 01:20-01:28