# Submission ID #:  64176

# Scriptwriter Name: Nilesh Kolhe

# Project Page Link: https://www.jove.com/account/file-uploader?src=19573728

## Title: Far-red Fluorescent Senescence-associated β-Galactosidase Probe for Identification and Enrichment of Senescent Tumor Cells by Flow Cytometry

Authors and Affiliations: Amy Flor1, Joanna Pagacz1, DeShawn Thompson1, Stephen Kron1

1Department of Molecular Genetics and Cell Biology, University of Chicago

☒   All author names and affiliations are correct.

# Corresponding Authors:

Amy Flor 		flora@uchicago.edu

# Email Addresses for All Authors:

pagaczj@uchicago.edu    jnnpagacz@gmail.com

deshawn@uchicago.edu  deshawnthompson80@yahoo.com

skron@uchicago.edu

# flora@uchicago.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.  No - but we do use a basic light microscope

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.  Yes

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope. Nikon Diaphot 300. *Note - the images we uploaded to our project page were taken using a Zeiss AxioVert 40 CFL microscope, but the Nikon Diaphot 300 is sufficient for the purposes of viewing cells as stated in this protocol, and will be the microscope shown in the video.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://www.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible. In process

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 5 min walk indoors

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 23

Number of Shots: 47

# Introduction

- Introductory Interview Statements

Videographer: Obtain headshots for all authors. Author question: Two authors (J. Pagacz and D. Thompson) are no longer with our lab. Should we request headshots from them?

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Amy Flor: Our multiparameter flow cytometry protocol enables rapid and improved detection of therapy-induced senescence in tumor cells, which is a condition of ongoing study in cancer biology and therapy.

REQUIRED: What is the main advantage of this technique?

  - Amy Flor: This method offers several advantages. Flow cytometry is more rapid than existing microscopy assays. We use two markers to identify senescent cells, improving assay reliability. Cells can be co-stained with fluorescent antibodies to detect other targets of interest, if desired. And, viable senescent cells can optionally be enriched by flow cytometry sorting for analysis by downstream methods.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - < pass >

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Amy Flor: The assay can detect senescent cells in cultured cancer cell lines or from whole tumor samples, after gentle dissociation.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Amy Flor: Prior to attempting this technique, it is important to be familiar with general operating procedures of the flow cytometer that will be used for analysis. Please consult the text for recommended flow cytometer specifications.

# Introduction of Demonstrator on Camera

# N/A, individual demonstrating procedure (Amy Flor) will deliver Introductory Interview Statement.

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee at the University of Chicago.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

1.	Preparation and Storage of Stock Solutions

    - 1.1.  TXT: Prior to starting the procedure, prepare stock solutions as needed. See Section 1 of text protocol.

- Induction of Senescence by Chemotherapy Drugs in Cultured Cancer Cells

  - One day prior to senescence induction by drugs, harvest the cancer cell line culture with 0.25% trypsin-EDTA (E-D-T-A) [1]. Neutralize trypsin by adding an equal volume of complete culture medium [2-TXT]. Transfer the cell suspension to a sterile conical tube [3].

    - WIDE: Establishing shot of talent washing cell monolayer with PBS and then adding trypsin-EDTA solution to the cell line culture.

    - Talent adding culture medium into the cell culture-trypsin-EDTA solution. TXT: See text for the preparation of complete culture medium

    - Talent transferring cell suspension to a conical tube.

  - Count the cells using the standard hemacytometer method and record cells per milliliter [1]. Plate cells at 1 × 103 to 10 × 103 cells per square centimeter in a standard 6-well plastic culture dish [2]. Incubate the dish overnight at 37 degrees Celsius with 5% carbon dioxide and humidity [3].

    - Talent counting the cells on a hemacytometer.

    - Talent plating cells in a 6-well plastic culture dish.

    - Talent placing dish in an incubator.

  - The next day, treat the cells with senescence-inducing agent of interest, for example, etoposide or ETO (E-T-O) or bleomycin or BLM (B-L-M). Then, incubate for 4 days to allow the onset of senescence [1-TXT]. Examine the cells daily under a light microscope [2] for expected morphology changes [3]. Authors: Please confirm that the pronunciation guide (red italics fonts) for ETO and BLM are correct? The three-letter codes aren't needed here, we can just state "Etoposide or Bleomycin". Many researchers will be familiar with those drug names. The three-letter codes are more helpful for brief abbreviation in data figures.

    - Talent adding etoposide or bleomycin drug to the plate. TXT: Include one set treated with vehicle-only as control

    - Talent placing dish on a microscope stage.

    - SCOPE: Cells morphology showing the onset of senescence. Authors: Would you like to include morphological changes across all 4 days here? If yes, then please upload such images (day-wise) onto your project page.  We have uploaded these images onto the project page.

  - After the onset of senescence, harvest the cells by adding trypsin-EDTA for 5 minutes at 37 degrees Celsius [1]. When the cells are dissociated into suspension, neutralize trypsin with an equal volume of complete medium [2].

    - Talent adding trypsin-EDTA to the plate and placing the plate at 37 °C.

    - ECU: Shot of cells dissociated into suspension/ Talent adding complete medium to the dish.

  - Again count the cells as demonstrated earlier and aliquot approximately 0.5 × 106 cells per sample into 1.7-milliliter microcentrifuge tubes [1]. Centrifuge the tubes for 5 minutes at 1,000 × g at 4 degrees Celsius [2] and remove the supernatant [3].

    - Talent aliquoting cell suspension into a 1.7 mL microcentrifuge tube.

    - Talent placing the tube in a centrifuge.

    - Talent removing supernatant from the tube.

    - TXT: For preparing tumor samples for DDAOG staining, please see Section 3 of the text protocol.

- DDAO-Galactoside Staining of Senescence-Associated Beta-Galactosidase (SA--Gal) in Cell or Tumor Samples

  - For staining, add the solution of 1 micromolar Bafilomycin A (single letter ‘A’)  in DMEM (D-M-E-M) to the cell pellet samples at a concentration of 1 × 106 cells per milliliter [1] and incubate for 30 minutes at 37 degrees Celsius on a rotator or shaker at a slow speed [2].

    - WIDE: Talent adding Bafilomycin A-DMEM solution to the cell pellet.

    - Talent placing the tube on a rotator/shaker.

  - Then, add DDAO (D-D-A-O)-Galactoside stock solution at 10 micrograms per milliliter to the sample, without washing [1-TXT]. Pipette to mix and place on a rotator/shaker for 60 minutes protected from direct light [2]. Authors: How would you like to pronounce DDAOG? Is it D-D-A-O-Galactoside or D-D-A-O-G? Please confirm  "D-D-A-O-G"

    - Talent adding DDAOG solution to the sample. TXT: See text for concentrations of all solutions

    - Talent pipetting the mixture and shot of covered tube placed on a rotator/shaker. *Note: tubes won't be covered but will be in an incubator protected from direct light.

  - Next, centrifuge the tube, remove the supernatant [1], and wash the pellet with 1 milliliter of ice-cold 0.5% BSA (B-S-A) and pipette to mix [2-TXT].

    - Talent removing supernatant from the tube.

    - Talent adding BSA solution to the tube. TXT: Repeat the centrifugation and washing step twice

    - TXT: If antibody staining is desired, proceed to Section 5 of text protocol at this step.

  - Add 300 microliters of diluted Calcein Violet 450 AM (four-fifty-A-M) solution for cultured cell samples or 1000 microliters for tumor samples to the washed pellets [1]. Incubate for 15 minutes on ice in the dark [2].

    - Talent adding diluted Calcein Violet 450 AM solution to the cultured cell or tumor sample.

    - Talent placing the tube on ice.

    - TXT: If sample fixation is desired, use a fixable viability stain instead of CV450 AM, and then perform Step 4.7 of the text protocol at this step.

- Flow Cytometer Setup and Data Acquisition

  - Transfer the cell samples to flow cytometry instrument compatible tubes and place the tubes on ice protecting them from light [1]. In the data acquisition software [2], open the FSC-A (F-S-C-A) versus SSC-A (S-S-C-A) dot plot, violet channel histogram, and far-red channel; APC-A (A-P-C-A) versus green channel; FITC-A (Fit-C-A) dot plot [3].

    - WIDE: Talent transferring the samples to flow cytometry tubes.

    - Talent clicking on the software icon with monitor/screen visible in the frame. Videographer: Obtain a few shots of talent clicking the mouse and typing on the keyboard to use as b-roll throughout the video

    - SCREEN: To be uploaded by Authors: FSC-A vs. SSC-A dot plot, violet channel histogram, and APC-A vs. FITC-A dot plot being opened.

  - To initiate cytometer data acquisition at a low intake speed, place the vehicle-only control sample stained with DDAOG on the intake port [1]. Adjust the FSC (F-S-C) and SSC (S-S-C) voltages such that more than 90% of events are contained within the plot [2]. If cells do not fit well on the plot, lower the area scaling setting to 0.33 to 0.5 units [3]. Remove the vehicle-only sample without recording data [4].

    - Talent placing vehicle-only control on the intake port with flow cytometer instrument visible in the frame.

    - SCREEN: To be uploaded by Authors: Adjusting FSC and SSC voltages and shot of plot showing >90% of events within the plot.

    - SCREEN: To be uploaded by Authors: Adjusting the area scaling.

    - Talent removing the vehicle-only sample from the intake port.

  - Add one droplet of rainbow calibration microspheres to a cytometer tube with 1 milliliter of PBS [1]. Place the tube on the cytometer intake port and begin the data acquisition [2].

    - Talent adding rainbow calibration microspheres to a cytometer tube.

    - Data acquisition is started with a monitor/screen visible in the frame.

  - Adjust violet, green, and far-red channel voltages so that the top peak of the rainbow microsphere is in the range of 104–105 units of relative fluorescence in each channel, and all peaks are well separated and record 10,000 events before removing the tube [1].

    - SCREEN: To be uploaded by Authors: Adjusting violet, green, and far-red channel voltages, and shot of top peak of rainbow microsphere in the range of 104–105 units of relative fluorescence with separated peaks in each channel.

  - Place the positive control sample stained with DDAOG on the intake port. Observe the events in FSC, SSC, violet, green, and far-red channels to ensure that over 90% of events are contained within all plots [1]. Look for an increase in autofluorescence, AF (A-F) and DDAOG signal versus vehicle-only control [2].

    - SCREEN: To be uploaded by Authors: Events in FSC, SSC, violet, green, and far-red channels are being acquired.

    - SCREEN: To be uploaded by Authors: Shot of positive control sample vs. vehicle-only control showing AF and DDAOG signal.

    - TXT: If samples will be FACS sorted, initiate sorting of cells within the senescent gate at this time. Collect cells in sterile culture medium. Then, return sorted cells to culture, or proceed to downstream analysis.

  - Save the sample data in .fcs (dot-F-C-S) file format and export the files to a workstation computer equipped with flow cytometry analysis software [1].

    - SCREEN: To be uploaded by Authors: Data being saved in .fcs file format and file being exported.

- Flow Cytometry Data Analysis

  - Using cytometry data analysis software, open the .fcs data files for all samples acquired [1]. Open the layout window. Then, drag and drop all samples into the layout window [2]. Arrange samples in desired visual order.

    - WIDE: Talent clicking on the software icon and opens the .fcs files with monitor/screen visible in the frame.

    - SCREEN: To be uploaded by Authors: Layout window being opened, and sample files being dragged into the layout window.

  - To gate viable cells, double-click on the sample data for the vehicle-only control to open its data window [1]. Visualize the data as a violet channel histogram. Then, identify the viable cells stained by Calcein Violet 450 based on their brighter fluorescence than the dead cells [2].

    - SCREEN: To be uploaded by Authors: Sample data for the vehicle-only control being double-clicked.

    - SCREEN: To be uploaded by Authors: Shot of data as a violet channel histogram. Then, viable cells stained by CV450 being identified.

  - Next, draw a gate using the single-gate histogram tool to include viable cells only. Name the gate viable [1]. Then, drag the viable gate onto the other cell samples from the sample layout window to apply the gate uniformly [2].

    - SCREEN: To be uploaded by Authors: Gate is drawn around the viable cells using the single-gate histogram tool, and the gate is named as viable.

    - SCREEN: To be uploaded by Authors: From the sample layout window, a viable gate being dragged onto the other cell samples.

  - In the layout window, visualize all samples as violet channel histograms. Verify that viable cell gating is appropriate across samples; if not, adjust as needed [1].

    - SCREEN: To be uploaded by Authors: Samples being visualized as violet (viability) channel histograms.

  - For gating senescent cells, double-click on the gated viable cell data for the vehicle-only control to open its data window [1]. Then, visualize the data as a dot plot for the far-red channel versus green channel [2].

    - SCREEN: To be uploaded by Authors: Viable cell data for the vehicle-only control being double-clicked.

    - SCREEN: To be uploaded by Authors: Viable cell data being visualized as a dot plot for far-red channel vs. green channel

  - Draw a gate using the rectangle gating tool to include less than 5% of DDAO-Galactoside positive cells and AF positive from the upper right quadrant. Name the gate as senescent [1].

    - SCREEN: To be uploaded by Authors: Gate being drawn using the rectangle gating to include DDAOG+ and AF+. Gate being named as senescent.

  - Then, from the sample layout window, drag the senescent gate onto the viable subsets of the other cell samples to apply the gate uniformly [1]. Into the layout window, drag and drop all viable cell gated subsets. Visualize all viable samples as far-red versus green channel dot plots [2].

    - SCREEN: To be uploaded by Authors: From the sample layout window, the senescent gate is being dragged onto the viable subsets of the other cell samples.

    - SCREEN: To be uploaded by Authors: Viable cell gated subsets being dragged into the layout window. Then, the samples being visualized as far-red versus green channel dot plots / APC-A vs. FITC-A

  - Ensure that the senescent gate is visible on all plots and that the gate for the vehicle-only control exhibits less than 5%–10% senescent cells [1]. The analysis is now complete. Data can now be shared in dot plot format, or summarized in Table format, as desired.

    - SCREEN: To be uploaded by Authors: Shot of plots showing senescent gate.

    - SCREEN: To be uploaded by Authors: Shot of final data set (all dot plots).

    - SCREEN: To be uploaded by Authors: Shot of data in Table format.

    - TXT: Save the analysis file prior to closing software for record keeping purposes.

## Protocol Script Questions

# Authors: Please use the step and shot numbers from the script above (not step numbers from the manuscript) when answering the questions below. Do not include steps that will be screen-captured and do not list entire sections.

- Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps (steps are indicated with the 2-digit numbers, like 2.1, 2.2, etc.).

2.3, 2.4, 3.1, 3.2, 3.4, 4.1

- If a dissection or stereo microscope is required for your protocol, please list all shots that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Step 2.3.3. (light microscope)

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 304. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Screening Tumors and Chemotherapy Agents for the Induction of Senescence

  - Compared to the untreated [1], B16-F10 (B-sixteen-F-ten) melanoma cells induced by Etoposide, ETO (E-T-O) [2] exhibited enlarged morphology and blue staining due to cleavage of X-Gal (X-Gal) by elevated senescence-associated beta-galactosidase [3]. Authors: Please confirm that the pronunciation guides (red italics fonts) for B16-F10 and X-Gal are correct? Yes, these pronunciations are correct.

    - LAB MEDIA: Figure 2A Video Editor: Please emphasize the image on the left (UNT)

    - LAB MEDIA: Figure 2A Video Editor: Please emphasize the image on the right (ETO)

    - LAB MEDIA: Figure 2A Video Editor: Please emphasize blue-colored cells from the image on the right (ETO)

  - Further, staining of ETO-treated cells with fluorescent C12-FDG (C-twelve-F-D-G) [1] or DDAOG (D-D-A-O-G) [2] demonstrated comparable staining patterns and intensity variations to X- Gal [3]. Authors: Please confirm that the pronunciation guide (red italics font) for C12-FDG is correct? Yes, this pronunciation is correct.

    - LAB MEDIA: Figure 2B Video Editor: Please emphasize the image on the left (C12-FDG)

    - LAB MEDIA: Figure 2B Video Editor: Please emphasize the image on the right (DDAOG)

    - LAB MEDIA: Figure 2B

  - However, cellular autofluorescence AF (A-F), overlapping with green C12-FDG emission, is known to accumulate in unstained senescent cells [1]. In contrast, AF is typically negligible in the far-red emission range of DDAOG [2].

    - LAB MEDIA: Figure 2C Video Editor: Please emphasize the image on the left (525 nm- unstained)

    - LAB MEDIA: Figure 2C Video Editor: Please emphasize the image on the right (660 nm- unstained)

  - Flow cytometer data acquisition set up for scatter plots [1], 5-peak commercial “rainbow” fluorescent calibration microspheres [2], and single-channel fluorescence data from stained cells [3] are shown.

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3B

    - LAB MEDIA: Figure 3C-E

  - Flow cytometer senescence assay [1] for B16-F10 cells [2] showed that ETO-induced therapy-induced senescence or TIS (T-I-S) in 35% of viable cells [3] and the senolytic agent ABT-263 (A-B-T-two-sixty-three) almost eliminated TIS cells [4].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4A

    - LAB MEDIA: Figure 4A Video Editor: Please emphasize the plot on the upper right (ETO)

    - LAB MEDIA: Figure 4A Video Editor: Please emphasize the plot on the lower right (ETO + ABT-263)

  - In A549 (A-Five-Forty-nine) cells [1], Bleomycin, BLM (B-L-M) induced TIS in 66% of viable cells [2], and ABT-263 reduced the percentage to 15% [3]. ABT-263 alone was not toxic to untreated, proliferating cells [4].

    - LAB MEDIA: Figure 4B

    - LAB MEDIA: Figure 4B Video Editor: Please emphasize the plot on the upper right (BLM)

    - LAB MEDIA: Figure 4B Video Editor: Please emphasize the plot on the lower right (BLM + ABT-263)

    - LAB MEDIA: Figure 4B Video Editor: Please emphasize the plot on the lower left (ABT-263)

  - A histogram of PE (P-E) channel data showed that 42% of ETO-treated cells were DPP4+ (D-P-P-four-positive) [1]. Further, visualization with two-dimensional dot plots indicated that 44% of ETO-treated cells were double-positive for DDAOG [2] and DPP4 (D-P-P-four) versus 4% of vehicle-only cells [3]. Authors: Please confirm that the pronunciation guide (red italics font) for DPP4+ is correct? "D-P-P-four" is correct

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5C

    - LAB MEDIA: Figure 5B

  - Compared to the unfixed control samples [1], fixed samples exhibited a slightly higher background in untreated cells [2] and a higher percentage of cells scoring as senescent in BLM-treated cells [3]. This effect was also observed in fixed samples stored overnight [4] and for 1 week at 4 degrees Celsius [5]. The increase in senescent cells due to Bleomycin treatment remained evident in fixed cell samples up to 7 days in storage at 4 degrees Celsius.

    - LAB MEDIA: Figure 6A

    - LAB MEDIA: Figure 6B Video Editor: Please emphasize the plot on the left (Untreated)

    - LAB MEDIA: Figure 6B Video Editor: Please emphasize the plot on the right (Bleomycin)

    - LAB MEDIA: Figure 6C

    - LAB MEDIA: Figure 6D  Author to Video Editor: Please emphasize the plot on the right (Bleomycin)

  - Flow cytometry sorting [1] and validation of enriched senescent cell populations by morphology and proliferation markers are shown [2]. Sorted senescent cells displayed enlarged morphology as expected, visualized by staining Actin with fluorescent phalloidin. A reduction in signal for proliferation marker Ki67 was also observed by immunofluorescent staining.

    - LAB MEDIA: Figure 7A

    - LAB MEDIA: Figure 7B

    - LAB MEDIA: Figure 7B  Author to Video Editor: Please emphasize the images in the lower row.

  - Finally, quantification of senescence in tumors treated with chemotherapy drugs was assessed [1]. X-Gal staining in tissues was relatively weak, but blue staining was evident in tumors treated with doxorubicin, DOX (D-O-X) [2] or PEGylated (pronounce like) liposomal doxorubicin, PLD (P-L-D) [3], particularly in tumors that also scored positive for senescence by DDAO-Galactoside flow assay [4].

    - LAB MEDIA: Figure 8

    - LAB MEDIA: Figure 8B and D Video Editor: Please emphasize blue fluorescence from images of the upper panel (X-Gal) of Figure 8B and Dox labeled bar from Figure 8D

    - LAB MEDIA: Figure 8C and D Video Editor: Please emphasize blue fluorescence from images of the upper panel (X-Gal) of Figure 8C and PLD labeled bar from Figure 8D

    - LAB MEDIA: Figure 8B and C Video Editor: Please emphasize (DDAOG) plots from the bottom panel

  - As expected, saline-only tumors exhibited negligible senescence [1].

    - LAB MEDIA: Figure 8A and D Video Editor: Please emphasize saline labeled bar from Figure 8D

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Amy Flor: (Section 3) Here, as with any live cell assay, the protocol steps should be performed efficiently but gently. Prolonging staining procedures or incubations beyond times mentioned should be avoided.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Amy Flor: If senescent cells are flow cytometrically sorted, they can be placed back into culture for immunoassays, or lysed and processed for 'omics analysis, including proteomics or transcriptomics.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Amy Flor: Using this technique has enabled our lab and others to identify novel features of senescent tumor cells, including quantification of DNA damage, protein expression, and changes in metabolism.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.