64188_screenshot_1

- 2.2.1 (Software is being opened and start with a clean project is being selected) 0:13-0:22

- 2.2.2 (Subject is being set) 0:22-0:27

- 2.3.1 (Start new Project option is being selected and Planning option is being clicked) 0:27-0:32

- 2.4.1 (Stereotaxic axis is being clicked) 0:32-0:37

- 2.4.2 (Coordinates are being entered) 0:37-0:53

- 2.5.1 (Store Target option is being clicked, name is being entered and then Move button is being selected) 0:53-1:01

- 2.6.1 (Tools option is being clicked followed by Project  and Save As from the drop down menu) 1:01-1:20

64188_screenshot_2

- 5.1.1 (Software window is being opened) 0:03-0:06

- 5.1.2 (Tools option is being clicked, followed by Project, New and Select A Template Project option) 0:06-0:16

- 5.2.1 (Same Protocol elements option is being selected, Planning option is being clicked, Drill Parameters is being selected and Start new project option is being clicked) 0:16-0:22

- 5.3.1 (Tools option is being clicked and Correct for Tilt and Scaling is being selected) 0:22-0:30

- 5.3.2 (Drill button is being clicked) 0:30-0:32

- 5.4.1 (Perform Correct for Tilt and Scaling) 0:32-1:06

- 5.4.2 (Close button is being clicked) 1:06-1:08

- 5.4.3 (Tools option is being selected followed by Drill) 1:08-1:20

- 5.5.1 (Craniotomy shape and target detail windows being shown) 1:20-1:36

- 5.6.1 (Checkbox is being unchecked) 1:36-1:45

- 5.7.1 (100 micrometers value is being selected in the Drill menu) 2:00-2:08

- 5.7.2 (Open up the drill site menu and navigate to the first drill site.) 2:08-2:20

- 5.7.3 (Use the Advance button or manual controls to the lower the drill until it touches the skull. Press ‘Set Surface’ once the drill bit reaches the skull) 2:20-2:35

- 5.6.2 (Advance option is being selected and then escape button is being pressed. TXT: After 2 s, repeat this cycle for the depth of the skull) 2:35-3:00

- 5.8.1 (Set Dura button is being clicked drop down the Drill menu) 3:00-3:08