64361_screenshot_4

2.2.1.	SCREEN: To be provided by authors: Base pairs upstream and downstream of the SNP site being copied and the sequence being pasted into the pyrosequencing primer design software. 00:04-00:21

2.2.2.	SCREEN: To be provided by authors: The analyzed SNP base being set as the target. 00:21-00:33

2.3.1.	SCREEN: To be provided by authors: The play icon being pressed, the primer trios being generated. 00:33-00:49

2.4.1.	SCREEN: To be provided by authors: All the primer sets being retained. 00:49-01:05

64361_screenshot_1

3.1.1.	SCREEN: To be provided by authors: The run software being opened. New Assay and then the Allele quantification assay template being selected. 00:00-00:15

3.1.2.	SCREEN: To be provided by authors: The nucleotides downstream of the sequencing primer being typed in. TXT: The nucleotides should be upstream of the SNP 00:15-00:28

3.1.3.	SCREEN: To be provided by authors: The two possible bases being denoted for the variable position. 00:30-00:40

3.2.1.	SCREEN: To be provided by authors: Generate dispensation order being pressed, a suitable order for the nucleotides being dispensed. 00:40-00:50

3.2.2.	SCREEN: To be provided by authors: The assay being saved. 00:50-end

64361_screenshot_2

4.1.1.	SCREEN: To be provided by authors: New Run being selected in the pyrosequencer software. 00:10-00:16

4.2.1.	SCREEN: To be provided by authors: The assays being loaded. 00:16-00:36

4.2.2.	SCREEN: To be provided by authors: The primer dispensation mode being set to Automatic. 00:36-00:42

4.3.1.	SCREEN: To be provided by authors: Run mode being set to Standard. 00:42-00:46

4.3.2.	SCREEN: To be provided by authors: Run files being saved to a USB drive. 00:46 - end

64361_screenshot_3

6.2.1.	SCREEN: To be provided by authors: Run file appears on the USB drive, the run result file being clicked, the luciferase output being analyzed. 00:03-00:13

6.3.1.	SCREEN: To be provided by authors: The color scores shown by the software. TXT: Blue: Optimal run ; Yellow: Run with a warning ; Red: Failed run 00:13-00:27

6.3.2.	SCREEN: To be provided by authors: Reports, followed by Full report being selected, a .pdf being generated. 00:27-00:47

6.3.3.	SCREEN: To be provided by authors: The results being downloaded in other formats. 00:47-end