# Submission ID #:  64382

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=19636558

# Title:   Super-Resolution Imaging of Bacterial Secreted Proteins Using Genetic Code Expansion

# Authors and Affiliations:

Moirangthem Kiran Singh, Linda J. Kenney

# Biochemistry & Molecular Biology, University of Texas Medical Branch

# Corresponding Authors:

# Linda J. Kenney				(likenney@utmb.edu)

# Email Addresses for All Authors:

# Moirangthem Kiran Singh			(kikangla2009@gmail.com;mokirans@utmb.edu)

# Linda J. Kenney				(likenney@utmb.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

Authors: Please record screen capture videos for all SCREEN shots and upload them to your project page: https://review.jove.com/account/file-uploader?src=19636558

3. Filming location: Will the filming need to take place in multiple locations?   NO

Current Protocol Length

Number of Steps:  27

Number of Shots:  55

# Introduction

- Introductory Interview Statements

Videographer: Obtain headshots for all authors.

REQUIRED:

  - Linda J. Kenney:  Our protocol overcomes the limitations of other labeling strategies that often can disrupt protein function.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: LAB MEDIA: Figure 5.

  - Linda J. Kenney: GCE enables us to site-specifically label proteins of interest; organic fluorophores are much smaller compared to fluorescent proteins; this approach reduces the potential negative impact of the fluorescent tags on the structure and function of proteins we want to image.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: LAB MEDIA: Figure 6.

OPTIONAL:

  - Linda J. Kenney: This method can be applied to any other system. For example, we have used it to label the Zika virus coat protein, and we can produce a fluorescent virus and examine its uptake in host cells. We also labeled small proteins that would not tolerate fluorescent fusion proteins or labels at either N- or C-termini.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 2.2.1.

# Introduction of Demonstrator on Camera

  - Linda Kenney: Demonstrating the procedure will be Kiran Singh, a Postdoctoral Research Fellow from my laboratory.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench and acknowledges the camera.

# Protocol

- Expression of ncAA-Bearing Proteins in Salmonella

  - To begin, transfer 100 microliters of primary culture into 5 milliliters of LB (L-B) medium containing 35 micrograms per milliliter chloramphenicol and 100 micrograms per milliliter ampicillin [1]. Incubate at 37 degrees Celsius with shaking at 250 rpm until OD600 (optical density at 600 nanometers) reaches 0.6 [2].

    - Talent transferring primary culture into LB medium containing chloramphenicol and ampicillin.

    - Talent placing the culture plate or a tube in an incubator on a shaker.

  - Replace the LB medium with the modified N-minimal medium supplemented with 1 millimolar TCO, a non-canonical amino acid [1-TXT] and grow the bacteria at 34 degrees Celsius for 30 minutes [2]. Add 0.2% arabinose, 25 milligrams per milliliter of chloramphenicol, and 100 milligrams per milliliter of ampicillin [3], and grow the cells for another 6 hours, shaking at 250 rpm [4]. Videographer: This step is important!

    - Talent replacing the LB medium with MgM supplemented with TCO*A. TXT: See the text for the preparation of TCO*A

    - Talent placing the plate or the tube in an incubator.

    - Talent adding arabinose, chloramphenicol, and ampicillin.

    - Talent placing the plate or a tube in an incubator on a shaker.

  - After 6 hours, wash the bacteria 4 times over an interval of 30 minutes with fresh MgM (M-G-M) media without non-canonical amino acids or ncAA (N-C-A-A) [1-TXT].

    - Talent washing the bacteria with fresh MgM media without ncAA. TXT: MgM: Modified N-minimal medium, pH 5.6 ; Use 972 × g rpm for 15 min at RT

  - Centrifuge the bacteria [1], resuspend in 1x (one-X) PBS buffer [2], and incubate for 1 hour at 4 degrees Celsius in the dark to remove excess ncAAs [3].

    - Talent placing the tube in a centrifuge.

    - Talent suspending the pellet in PBS.

    - Talent placing the tube in an incubator.

  - After 1 hour, centrifuge the bacteria at 3,000 g for 15 minutes at 4 degrees Celsius and store them for further use. For a control experiment, repeat the same experiment by expressing ncAA-bearing proteins in the absence of ncAA [1].

    - Talent placing the tube in a centrifuge.

- In vitro Fluorescence Labeling of ncAA-Bearing Proteins in Salmonella Typhimurium

  - Resuspend Salmonella cells expressing SseJ-F10TCO-HA (S-S-E-J incorporated with T-C-O) in the absence or presence of TCO in 1x PBS [1]. Adjust the optical density at 600 nanometers to 4 in PBS [2] and incubate the cells with 20 micromolar Janelia Fluor 646-tetrazine or 20 micromolar BDP-Fl-tetrazine (B-D-P F-L tetrazine) at 37 degrees Celsius in the dark and shake for 1 to 2 hours at 250 rpm [3]. Videographer: This step is important!

    - Talent suspending Salmonella cells expressing SseJ-F10TCO-HA.

    - Talent adjusting the OD600 t1o 4 in PBS.

    - Talent placing the cells in an incubator on a shaker and adding Janelia Fluor 646-tetrazine and BDP-FL-tetrazine.

  - Pellet the cells and wash it 3 to 4 times with PBS containing 5% DMSO (D-M-S-O) and 0.2% Pluronic F-127 [1]. Resuspend the pellet in PBS containing 5% DMSO [2]. After incubating overnight at 4 degrees Celsius in the dark, wash twice again with 1x PBS [4-TXT].

    - Talent washing the cell pellet with PBS containing DMSO and Pluronic F-127.

    - Talent suspending the cells in PBS containing DMSO.

    - Talent washing the cells with PBS. TXT: Use 972 × g rpm for 15 min at RT

  - Image the cells immediately using a confocal microscope or fix them with 1.5% paraformaldehyde in PBS for 30 to 45 minutes at room temperature in the dark [1].

    - SCREEN: To be provided by authors: Talent imaging the cells using a confocal microscope.

Authors: Please record screen capture videos for all SCREEN shots and upload them to your project page: https://review.jove.com/account/file-uploader?src=19636558

- Bio-Orthogonal Labeling of Salmonella Secreted Effector SseJ-F10TCO-HA in HeLa Cells

  - Culture and maintain HeLa (He-La) cells at 37 degrees Celsius, 5% carbon-di-oxide, and 95% humidity in high-glucose DMEM (D-M-E-M), supplemented with 10% FBS in addition to Penicillin-Streptomycin [1-TXT].

    - Talent placing the HeLa cells in an incubator. TXT: DMEM: Dulbecco’s modified eagle medium

  - Culture bacteria 1 day before infection and inoculate a single colony of wild type Salmonella harboring pEVOL (Pe-Vol) plasmid containing orthogonal tRNA-synthetase pair and pWSK29 (P-W-S-K-twenty-nine) plasmid containing sseJ (S-S-E-J) gene in 5 milliliters of antibiotic-containing standard LB broth overnight at 37 degrees Celsius with shaking at 250 rpm [1-TXT].

    - Talent inoculating bacteria colony in antibiotic-containing LB broth inside an incubator. TXT: pWSK29 plasmid contain sseJ gene with amber stop codon at position 10

  - Prepare a diluted cell stock at hundred-thousand cells per milliliter [1] and seed fifty thousand HeLa cells per well in 500 microliters of DMEM containing 10% FBS growth medium in an eight-well chamber slide [2]. Keep the chamber slide in an incubator for 24 hours [3-TXT].

    - The cell stock.

    - Talent seeding HeLa cells in DMEM plus FBS growth medium in an eight-well chamber slide.

    - Talent placing the chamber slide in an incubator. TXT: 37 °C, 5% CO2, 95% humidity, 24 hours

  - For the bacterial infection, subculture wild type Salmonella harboring pEVOL plasmid and pWSK29 plasmid containing sseJ gene, by diluting 100 microliters of overnight bacterial culture into 3 milliliters of LB medium containing 35 micrograms per milliliter chloramphenicol and 100 micrograms per milliliter ampicillin [1].

    - Talent diluting bacterial culture into LB medium containing chloramphenicol and ampicillin. TXT: pEVOL plasmid contains orthogonal tRNA/synthetase pair; pWSK29 plasmid contains sseJ gene with amber stop codon at position 10

  - Incubate at 37 degrees Celsius with shaking at 250 rpm for 5 to 7 hours [1]. To initiate the HeLa cell infection, after taking out the HeLa cells from the incubator, wash the cells with prewarmed DPBS (D-P-B-S) [2] and add 500 microliters of fresh DMEM containing 10% FBS to each well. Place the chamber slide back in the carbon-di-oxide incubator until the infection begins [3].

    - Talent placing the culture in an incubator.

    - Talent washing the cells with DPBS.

    - Talent adding DMEM to the well.

  - After 5 to 7 hours of incubation, dilute the Salmonella culture so that the optical density at 600 nanometers is 0.2 in 1 milliliter of DMEM growth medium [1] and add the requisite amounts of the Salmonella inoculum in each well of the chamber slide so that the multiplicity of infection is 100 [2]. Videographer: This step is important!

    - Talent diluting the Salmonella culture in DMEM growth medium.

    - Talent adding the Salmonella inoculum in the well of the chamber slide.

  - After incubating the infected cells in a carbon dioxide incubator for 30 minutes, wash the cells three times with prewarmed DPBS to remove extracellular Salmonella [1]. Set this time point to 0 hours post-infection and add 500 microliters of complete medium containing 100 micrograms per milliliter of gentamicin for 1 hour [2].

    - Talent washing the cells with DPBS.

    - Talent adding complete medium containing gentamicin.

  - After incubation, again, wash the cells three times with DPBS as shown earlier and add 500 microliters of the complete medium supplemented with 0.2% arabinose, 10 micrograms per milliliter of gentamicin to each well of the chamber slide. In a control experiment, perform similar infections of HeLa cells without TCO [2].

    - Talent adding the complete medium to the wells of the chamber slide.

  - After Incubating the chamber slide for 10 hours in the carbon-di-oxide incubator, replace the complete medium with fresh complete medium without TCO [1] and wash the HeLa cells 4 times over an interval of 30 minutes each with prewarmed DPBS [2].

    - Talent replacing the complete medium with fresh complete medium without TCO*A.

    - Talent washing the HeLa cells with DPBS.

  - Then, wash the cells with fresh complete medium without TCO [1]. After 12 hours post-infection, aspirate off the medium from the cells [2] and wash the cell with prewarmed DPBS twice or three times [3].

    - Talent washing the cells with fresh complete medium without TCO*A.

    - Talent aspirating off the medium from the cells.

    - Talent washing the cell with DPBS.

  - In one group of wells, add 500 microliters of the dye solution mixture one [1-TXT], and in another group of wells of the same chamber slide, add 500 microliters of the dye solution mixture two [2-TXT]. Place the chamber slides back into the carbon-di-oxide incubator for 1.5 to 2 hours [3]. Videographer: This step is important!

    - Talent adding the dye solution mixture one to the well. TXT: See the text for dye solution mixture 1

    - Talent adding the dye solution mixture two to the well. TXT: See the text for dye solution mixture 2

    - Talent placing the chamber slides into the incubator.

  - After 13.5 to 14 hours post-infection, rinse the HeLa cells twice with prewarmed DPBS [1] and add 500 microliters of fresh DMEM supplemented with FBS [2]. After incubating for 30 minutes, wash the cells again with prewarmed DPBS, as shown earlier, and then wash with fresh DMEM 4 times over an interval of 30 minutes [3]. Videographer: This step is important!

    - Talent rinsing the HeLa cells with DPBS.

    - Talent adding fresh DMEM supplemented with FBS.

    - Talent washing the cells with DMEM.

  - At 16 hours post-infection, fix the HeLa cells with paraformaldehyde by adding 200 microliters of 4% paraformaldehyde to each well and incubating for 10 minutes at room temperature in the dark [1]. Aspirate off the paraformaldehyde [2], rinse 3 times with PBS, and store the cells in PBS at 4 degrees Celsius in the dark [3].

    - Talent adding paraformaldehyde to each well.

    - Talent aspirating off the paraformaldehyde.

    - Talent rinsing the cells with PBS.

- Super-Resolution (dSTORM) Imaging

  - Bring the cells to the microscope [1-TXT] and place the imaging chamber on the microscope stage in the sample holder [2-TXT]. Then, change the medium in the well with 0.4 milliliters of the freshly made GLOX-BME (Glox-B-M-E) imaging buffer [3-TXT].

    - Talent placing the cells in the microscope. TXT: Turn on the microscope 3 h before imaging ; Cool the camera to -70 °C

    - Talent placing the imaging chamber on the microscope stage in the sample holder. TXT: Make sure the sample is flat and secure

    - Talent changing the medium in the well with GLOX-BME imaging buffer. TXT: Set the correct laser line and filter sets

  - Decrease the laser power to around 1 milliwatt to identify a HeLa cell of interest and adjust the focal plane and laser beam angle while illuminating the sample with low 647 nanometers laser densities. Adjust the HILO (H-I-L-O) illumination angle [1].

    - SCREEN: To be provided by authors: The laser power being decreased, the HeLa cell of interest being identified, and the focal plane, laser beam angle, and the HILO illumination angle being adjusted.

  - Capture a reference diffraction-limited image of the target structure and switch the fluorophores to the dark state by turning the laser to its maximum power [1]. Set the preamplifier gain to 3 and activate the frame transfer. Then, set EM-gain to 200 for higher sensitivity in dSTORM (D-storm) measurements [2].

    - SCREEN: To be provided by authors: A reference diffraction-limited image of the target structure being captured.

The preamplifier gain being set to 3 and the frame transfer being activated. Then, EM-gain being set to 200.

  - Adjust the laser strength to a suitable level where blinking events are separated in space and time, set the exposure time to 30 milliseconds, and begin the acquisition. Acquire ten-thousand to thirty-thousand frames [1].

    - SCREEN: To be provided by authors: Laser power turned on to its maximum strength. The laser strength being adjusted. The exposure time being set to 30 milliseconds. The acquisition begins. TXT: For demonstration purpose, we acquired 7000 – 8000 frames only. Repeat similar acquisition at different ROIs.

  - For the image reconstruction of dSTORM, open ImageJ and import the raw data. Open the ThunderSTORM (Thunderstorm) plugin and configure the camera setting corresponding to the device [1].

    - SCREEN: To be provided by authors: ImageJ being opened and the raw data being imported. The ThunderSTORM plugin being opened, and the camera setting being configured.

  - Go to Run Analysis and set the appropriate settings, such as image filtering, localization methods, and sub-pixel localization of molecules. Finally, click OK to start the image reconstruction [1-TXT].

    - SCREEN: To be provided by authors: In Run Analysis the appropriate settings being set. Then, OK being clicked. The image reconstruction begins. TXT: See the text for detailed instruction for setting the parameter

# Results

- Results: Incorporation of TCO*A into SseJ-F10TCO-HA Expressed in Escherichia coli and Salmonella, and Super-Resolution Imaging of GCE-Labeled Secreted SseJ-J10TCO-HA in HeLa Cells

  - Salmonella expressing SseJ-F10TCO-HA (S-S-E-J incorporated with T-C-O) are treated with JF646-Tz (Janelia Fluor 646-tetrazine) and imaged for JF646 fluorescence [1], in the absence [2] or presence of TCO [3]. The fluorescence of SseJ (S-S-E-J) is detected only when TCO is present [4].

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the top two images.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the bottom two images.

    - LAB MEDIA: Figure 3. Video Editor: Highlight the magenta part in the bottom image.

  - HeLa cells are infected with Salmonella harboring psseJ-HA (P-S-S-E-J H-A) for 16 hours, fixed, and immunostained [1] with anti-HA (H-A) antibody [2], LPS [3], and DAPI (Dapi) [4]. As expected, SseJ-dependent Salmonella-induced filaments or SIFs (S-I-Fs) are formed in the infected cells [5].

    - LAB MEDIA: Figure 4A.

    - LAB MEDIA: Figure 4A. Video Editor: Emphasize the red parts in the first image from the left.

    - LAB MEDIA: Figure 4A. Video Editor: Emphasize the green parts in the middle image.

    - LAB MEDIA: Figure 4A. Video Editor: Emphasize the blue parts in the third image from the left.

    - LAB MEDIA: Figure 4A.

  - In the absence of TCO, the amber codon is not suppressed, and SseJ-dependent SIFs are absent in infected HeLa cells [1]. SseJ-dependent SIFs are observed in the presence of TCO, which clearly indicates that SseJ was rescued by the expression of sseJ-F10TCO-HA (S-S-E-J incorporated with T-C-O) using genetic code expansion or GCE [2].

    - LAB MEDIA: Figure 4B.

    - LAB MEDIA: Figure 4C.

  - Labeling specificity of secreted SseJ-F10TCO-HA in HeLa cells through SPIEDAC (S-P-I-E-D-A-C) click reactions using two alternate [1] dye mixture 1 [2] and dye mixture 2 [3] are shown here [4].

    - LAB MEDIA: Figure 5.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize A.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize B.

    - LAB MEDIA: Figure 5.

  - Click dye JF646-Tz, was further used to observe whether there was any background labeling in HeLa cells infected with wild-type Salmonella carrying sseJ-HA (S-S-E-J H-A), in the presence of TCO and pEVOL plasmid [1].

    - LAB MEDIA: Figure 5C.

  - SseJ was released into the cytoplasm of the host cell with no intracellular or non-specific fluorescent signals, demonstrating that the fluorescence signal was specific to SseJ [1].

    - LAB MEDIA: Figure 5C.

  - Super-resolution imaging of GCE-labeled SseJ in HeLa cells is presented in this figure [1]. A brightfield image of a HeLa cell under observation is shown here [2]. The diffraction-limited, widefield image of secreted SseJ, labeled with TCO and JF-646 (Janelia Fluor 646) [3], and the corresponding dSTORM image of the SseJ-decorated SIFs are presented here [4].

    - LAB MEDIA: Figure 6.

    - LAB MEDIA: Figure 6. Video Editor: Emphasize A.

    - LAB MEDIA: Figure 6. Video Editor: Emphasize B.

    - LAB MEDIA: Figure 6. Video Editor: Emphasize C.

  - The Inset shows a magnified view of super-resolved SseJ in the boxed region [1].

    - LAB MEDIA: Figure 6C. Video Editor: Highlight the two white squares.

# Conclusion

- Conclusion Interview Statements

  - Moirangthem Kiran Singh: Prepare the media exactly as shown here and check the pH. Adjust the pH if required. Wash the cell extensively; otherwise, one may encounter high background signal.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.2.1., 3.2.2., 4.6.1., 4.6.2., 4.13.2., 4.13.3.

  - Linda Kenney: Following our procedure, one can study the role of each and every individual effector protein in bacterial pathogenesis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.