JoVE64413 Video Script

Screenshot Summary

64413_screenshot_1

- 3.2.2 Open MB_service software and click connect. Adjust timing to 4000 ms. Click “write” to save the new timing and click disconnect. 00:00-00:17

64413_screenshot_2

- 5.2.1 Open MB_Lab software to save raw data from the device.  Click connect, select read. Wait for the device to finish reading and then rename the data in a preselected folder. Click save. 00:00-00:54

64413_screenshot_3

- 5.3.1 Open MB_studio software. Click load to import the previously saved data. Adjust offset, start and end/stop positions. 00:00-00:36

64413_screenshot_4

- 5.3.2 On the previously opened data set with adjusted parameters, if necessary, click remove artifacts, select 3C fitting model and click fit. 00:00-00:23

64413_screenshot_3-4

- 5.3.1 Open MB_studio software. Click load to import the previously saved data. Adjust offset, start and end/stop positions. 00:00-00:28

- 5.3.2 On the previously opened data set with adjusted parameters, if necessary, click remove artifacts, select 3C fitting model and click fit. 00:29-00:49