64449_screenshot_1

For 5.3.1

In the CONFIGURATION panel:

00:00:00 – 00:00:10: Set imaging resolution to 512 × 512, set Pixel Dwell Time to 4800 ns, and set Pixel Bin Factor to 20.

In the MAIN CONTROL panel:

00:00:10 – 00:00:21: Click FOCUS to adjust sample focusing for clear imaging.

00:00:21 – end: After focusing is completed, click the ABORT button to stop scanning.

64449_screenshot_2

For 5.3 and 5.4:

In the CONFIGURATION panel:

00:00:00 – 00:00:03: set imaging resolution to 2048 × 2048.

In the MAIN CONTROL panel:

00:00:04 – 00:00:10: Enable the SAVE function to allow automatic saving of images.

00:00:11 – end: Click the LOOP button to start time-lapse data acquisition.