Screenshot Summary

64505_screenshot_1.mp4

- 2.13.1 Open the software for plate reader, Click “manage protocols” then select the endpoint fluorescent intensity protocol. Select fluoforte pre-read. Click “start measurement”.   00:03-00:30

64505_screenshot_2.mp4

- 2.14.1 In the instrument panel, click on a random well on the plate, then click on “new focus height”, click on “focus adjustment”, click on “gain adjustment”, assign it as 5% to 10% of the maximum measurable fluorescence value, Click “Start Adjustment”.  00:05-00:22

64505_screenshot_3.mp4

- 2.15.1 Click “start measurement” The plate being read in a plate reader. While the plate is reading, click “Current State” to see the real-time reading value (in RFU) 00:03-01:00

64505_screenshot_4.mp4

- 2.18.2 Click the preset reading program on the homepage. The plate being read in a plate reader for forward and reverse directions. 00:03-01:52

64505_screenshot_5.mp4

- 2.22.2 Click the preset reading program on the homepage. The plate being read in a plate reader for forward and reverse directions.  00:04-01:52

Add 64505_screenshot_6.mp4

- 2.24.1. Manually select the hit molecules from the heat maps on the “online HTS data platform. 00:03-00:29

Add 64505_screenshot_7.mp4

- 2.24.4. Through this screening, two agonist hits highlighted in green and antagonist hits highlighted in orange were obtained. 00:01-00:10.