# Submission ID #:  64546

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=19686578

# Title:   Performing Microscope-Mounted Y-Shaped Cutting Tests

# Authors and Affiliations:

Matthew Guerena1*, Jing-Chen Peng1*, Marcus Schmid1*, Cecilia Walsh1*, Shaobo Zhan1*, Shelby B. Hutchens1

1Mechanical Science and Engineering, University of Illinois at Urbana-Champaign

*These authors contributed equally

# Corresponding Authors:

# Shelby B. Hutchens	(hutchs@illinois.edu)

# Email Addresses for All Authors:

Matthew Guerena	(guerena2@illinois.edu)

Jing-Chen Peng	(jcpeng2@illinois.edu)

Marcus Schmid	(marcuss3@illinois.edu)

Cecilia Walsh		(crwalsh4@illinois.edu)

Shaobo Zhan		(shaobo3@illinois.edu)

# Shelby B. Hutchens	(hutchs@illinois.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes

We will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://www.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

Please upload all screen captured video files to your project page https://review.jove.com/account/file-uploader?src=19686578 as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  20

Number of Shots:  38

# Introduction

- Introductory Interview Statements

Videographer: Obtain headshots for all authors.

REQUIRED:

  - Shelby B. Hutchens: Y-shaped cutting measures failure energy and a critical, surface-creation length-scale in soft solids. Incorporating this technique into a microscope facilitates unraveling the microstructural mechanisms that govern these quantities.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: LAB MEDIA: Figure 3.

  - Shaobo Zhan: In contrast to the large, blunted cracks typical of far-field loading, this protocol uses blade-induced stress localization to reduce the field-of-view needed to image the entire failure process.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 5.4.1.

OPTIONAL:

  - Shelby B. Hutchens: This approach may aid in understanding failure in both soft synthetic materials and soft biological materials.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Authors: Shaobo Zhan will be introduced with a text overlay while delivering the interview statement. So, we have removed the “Introduction of Demonstrator on Camera” section from here.

# Protocol

- Apparatus Mounting

  - To begin, replace the original stage-mounted slide holder with the custom sample holder [1-TXT] and attach the assembly to the microscope [2-TXT]. Set the angle of the cut by loosening the angle-adjust-thumb screw [3] and then moving the linear slide [4].

    - Talent replacing the slide holder with the custom sample holder. TXT: See Supplemental Coding files for the custom sample holder

    - Talent attaching the assembly to the microscope. TXT: Use mounting holes on the top surface of the microscope if available

    - Talent loosening the angle-adjust-thumb screw.

    - Talent moving the linear slide.

  - Set the angle after measuring it with a protractor [1] and tighten the angle-adjust-thumb screw. The angle between a leg and the sample midplane  (theta) can be adjusted from 8 to 45 degrees [2]. Set up the two vertical pulleys behind the apparatus [3].

    - Talent setting the angle.

    - Talent tightening the angle-adjust-thumb screw.

    - Talent setting up two vertical pulleys behind the apparatus.

- Sample Preparation

  - Prepare a thin rectangular sample of polydimethylsiloxane or PDMS by either cutting it from a larger sheet or using a mold of the correct dimensions. The dimensions may vary, but a width of 1.5 centimeters or less for a sample with a thickness of 3 millimeters or less is recommended to start [1-TXT].

    - A close-up shot of the sample. TXT: 1.5 cm x 7 cm x 3 mm sample is used here

  - To cut the legs, use a razor blade and cut the sample 3 centimeters lengthwise along the centerline [1] to create the Y-shaped sample. This length may vary, but the legs should be long enough to accommodate the tabs yet short enough to leave an uncut sample for measurement [2].

    - Talent cutting the sample lengthwise along the centerline using a razor blade.

    - CU: The Y-shaped sample.

  - Using a marker or ink, place two marks, centered and separated by approximately 1 centimeter, on each of the thin legs [1] and the body of the sample to measure the applied stretch in each of the three sample legs under load [2].

    - Talent placing two marks on the thin leg using a marker or ink.

    - Talent placing two marks on the body of the sample.

  - Use adhesive-like cyanoacrylate glue to attach a 3D-printed or laser-cut tab to the end of each leg [1]. Measure and cut two lengths of thin fishing line. Approximately 30-centimeters of line is needed for internal routing through the mechanism to the external set of pulleys [2].

    - Talent attaching a tab to the end of a leg with glue.

    - Talent measuring and cutting thin fishing line.

  - Attach 5-gram weighing plates to the end of the lines passing through the external pulleys [1] and tie the other end to the tab on each leg [2].

    - Talent attaching weighing plates to the end of the lines passing through the external pulleys.

    - Talent tying the other end of the line to the tab on the leg.

- Sample Mounting

  - Clamp the base of the sample using the sample holder thumb screw [1] and route the line for each leg through each side of the pulley system [2].

    - Talent clamping the base of the sample using the sample holder thumb screw.

    - Talent routing the line for each leg through each side of the pulley system.

  - Take a picture of the sample from the top while the sample is under negligible weight by holding a camera against the underside of the angle adjustment mechanism. Make sure the camera is parallel to the sample plane to minimize off angle effects [1].

    - Talent taking a picture of the sample from the top, holding a camera against the underside of the angle adjustment mechanism.

  - Add the desired preload weight of 75 grams to both ends of the fishing line near the external pulleys. Increase this quantity to 150 grams or decrease it to 50 grams to change the tearing contribution if desired for this PDMS material and sample geometry [1].

    - Talent adding the preload weight to the end of the fishing line near the external pulleys.

  - Align the fishing line from the lowest pulley with the Z plane of the sample legs using the Z-component of the three-way micro-adjustment stage [2]. Take a second picture of the sample after the weight is added [1-TXT].

    - Talent aligning the fishing line from the lowest pulley with the Z plane of the sample legs.

    - Talent taking a picture of the sample after the weight is added. TXT: The camera must be parallel to the sample plane

  - Approximately position the anticipated blade tip close to the objective’s field of view [1].

    - Talent positioning the apparatus with X & Y motion near the objective’s field of view.

- Blade Mounting and Apparatus Alignment

  - Place the razor blade into its corresponding blade clip [1] and secure the blade in place with a set screw [2-TXT]. Slide this clipped razor blade into the blade clip mount attached to the load cell [3].

    - Talent placing the razor blade into its corresponding blade clip.

    - Talent securing the blade in place with a set screw. TXT: Seat the blade firmly into the blade clip to ensure it is square

    - Talent Sliding the clipped razor blade into the blade clip mount attached to the load cell.

  - Select the 2.5x (two-point-five-X) microscope objective, or as high as 20x (twenty-X) if closer images are desired [1], and use the transmitted light setting, augmenting the light behind the sample if needed [2].

    - Talent selecting 2.5x or 20x microscope objective.

    - The light being augmented behind the sample.

  - With the blade in place, focus the microscope on the nearest surface of the blade, using the vertical adjust system if necessary [1] to bring the tip to the appropriate working distance for the objective [2].

    - Talent focusing the microscope on the nearest surface of the blade with the blade in place.

    - CU: The tip to the working distance for the objective.

  - Carefully align the razor blade within the microscope’s field of view using only the X and Y directions of the three-way micro-adjustment stage [1].

    - Talent aligning the razor blade within the microscope’s field of view.

  - Focus the microscope on the sample [1] and align the crack tip with the razor blade by translating the microscope XY stage. Ensure that the midplane of the sample aligns with the midplane of the angle adjustment mechanism [2]. Videographer: This step is important!

    - Talent focusing the microscope on the sample.

    - Talent aligning the crack tip with the razor blade by translating the microscope XY stage.

- Testing

  - Open the code used for the load cell data collection [1-TXT] and start recording the load cell data by clicking the Start Recording button [2].

    - WIDE: Talent opening the code with the monitor clearly visible in the frame. TXT: See collect_data.mlapp in Supplemental Coding File 21 for the code

    - SCREEN: To be provided by authors: The Start Recording button being clicked.

Authors: Please record screen capture videos for all SCREEN shots and upload them to your project page: https://review.jove.com/account/file-uploader?src=19686578

  - Translate the sample through the razor blade for 1 centimeter or more at a constant velocity using microscope stage control [1]. Simultaneously gather images using the microscope’s imaging interface [2]. Videographer: This step is important!

    - Talent translating the sample through the razor blade using microscope stage control.

    - Talent gathering images using the microscope’s imaging interface.

  - When the microscope XY stage stops, click the Stop Recording button to stop recording the data and automatically save a .txt (text) file of the load and time response [1].

    - SCREEN: To be provided by authors: Talent clicking the Stop Recording button, and a .txt file starts downloading. Videographer: Make sure the monitor is clearly visible in the frame.

# Results

- Results: The Force-Time Curve for Polydimethylsiloxane and the Viability of the Setup for Simultaneously Gathered Microscope Images

  - The force-time curve for polydimethylsiloxane using an ultrasharp blade is shown here [1-TXT]. The elastic loading, cut initiation, steady state cutting, and unloading regions of the curve are labeled in the graph [2].

    - LAB MEDIA: Figure 3A. TXT: Blade: Radius 129 nm, Leg angle 32°, Preload 75 g (λ = 1.04)

    - LAB MEDIA: Figure 3A.

  - This data illustrates a high initial force, as is typically required for cut initiation, followed by a constant force, indicating steady state cutting [1]. The cutting force is the maximum value of the force within this steady state regime [2].

    - LAB MEDIA: Figure 3A.

    - LAB MEDIA: Figure 3A.

  - Red circles that correspond to the images obtained by the microscope are shown here [1]. A yellow circle has been added to facilitate the observation of the speckle-pattern motion [2], and these numbers indicate the timestamps in seconds [3].

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the red circles in A and the four images in B.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the yellow circles.

    - LAB MEDIA: Figure 3. Video Editor: Highlight the red numbers in the upper left-hand corner of the images in B.

  - The measured steady-state cutting force, combined with the experimental testing parameters of leg angle θ (theta), sample thickness t, pre-load, and blade radius, yield the steady state cutting energy according to the equation shown [1]. In this example, we replicate the cutting energy for these conditions reported previously in the literature [2].

T

CT

BLACK TEXT ON WHITE BACKGROUND:

Gcut=2fpreλt1-cosθ+fcutλt,

Video Editor: Highlight fcut when the VO says “The measured steady-state cutting force”, θ when the VO says “leg angle θ”, t when the VO says “sample thickness”, fpre when the VO says “pre-load”, and Gcut when the VO says “the steady state cutting energy”.

    - 7.4.1.

# Conclusion

- Conclusion Interview Statements

  - Shelby B. Hutchens: By incorporating Y-shaped cutting into a microscope, we enable the quantification of microstructural contributions to soft solid or soft tissue failure via fluorescent probes, autofluorescence, and full-field strain techniques.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 3.2.1., 3.2.2.