Screenshot Abstract

- 64677_Screenshot_1:

- 3.2.1 (Open Zetasizer, open measurement file ‘IR783/BC NPs’ and click measure | manual.) 0:00-0:11

- 3.2.2 (Click Measurement type | Size. Click Sample | Type ‘IR783/BC NPs’ as name. Click Temperature | Type ‘25’) 0:12-0:34

- 3.2.3 (Click Measurement | Set Run duration as 20 seconds and set Number of measurements as 3. Click OK) 0:35-0:49

- 3.2.4 (Click Start and check the measurement) 0:55-1:09

- 3.2.5 (Check measurement result in result page) 1:30-1:35

- 64677_Screenshot_2:

- 3.4.1 (Click measure | manual) 0:01-0:04

- 3.4.2 (Click Measurement type | set type as zeta potential. Click Sample | Type ‘IR783/BC NPs’ as name. Click Temperature | Type ‘25’) 0:05-0:25

- 3.4.3 (Click Measurement | Set number of runs as 10. Click OK) 0:26-0:35

- 3.4.4 (Click Start and check the measurement) 0:36-0:55

- 3.4.5 (Check measurement result in result page) 1:12-1:19

- 64677_Screenshot_3:

- 4.2.3.1 (Open LED Driver Control Panel Software and enable parameter settings and channels) 0:01-0:13

- 4.2.3.2 (Open Optical Power Monitor Software and set detected wavelength as 530 nm) 0:14-0:31

- 4.2.3.3 (Set current and monitor the irradiance detected) 0:32-1:02