|  | Absorbance (OD) | Interpolated concentration (pg/ml) | Percent yield |
| --- | --- | --- | --- |
| Un-spiked control | -0.0434 | Does not fall on curve |  |
| Spiked at 200 pg/ml | 0.2712 | 214.7±23.4 | 107.4% |
| Spiked at 100 pg/ml | 0.0966 | 102.7±2.35 | 102.7% |
| Spiked at 50 pg/ml | 0.0205 | 55.1±12.65 | 110.2% |

Table 2. Results of a successful spike and recovery experiment of 3 control participants. Percent yield for spiked samples all fell within 25% of the ideal 100% yield, indicating that CGRP detection is not affected by the experimental sample matrix of plasma.