Screenshot Summary

64810_screenshot_1.mp4

- This is the full video for how to initialize the in vivo imaging system using the imaging software.

- Moving to Living Image software. 00:00-00:05

- 6.3.2 Press Initialize to prepare the instrument for data acquisition. 00:06-00:13

- Initializing. 00:14-01:11

- Temperature reaching set points. 01:12-07:57

64810_screenshot_2.mp4

- This is an edited video to show how to initialize the in vivo imaging system using the imaging software. This edited version cuts out unnecessary information and waits.

- 6.3.2 Press Initialize to prepare the instrument for data acquisition. 00:00-00:09

- Initializing. 00:10-00:14

- Ready for Acquisition. 00:15-00:28

64810_screenshot_3.mp4

- This is the full video for how to acquire an image in the in vivo imaging system using the imaging software.

- 6.3.3. Check the box next to luminescence, and set the exposure time to auto. Ensure that the correct field of view is selected for the number of mice being imaged. 00:00-00:12

- 6.3.9. …click the Acquire button in the software to obtain bioluminescence images. 00:13-00:16

- Image acquisition in progress. 00:16-01:56

- Bioluminescence image seen. 01:57-02:05

64810_screenshot_4.mp4

- This is an edited video to show how to acquire an image in the in vivo imaging system using the imaging software. This edited version cuts out unnecessary information and waits.

- 6.3.3. Check the box next to luminescence, and set the exposure time to auto. Ensure that the correct field of view is selected for the number of mice being imaged. 00:00-00:10

- 6.3.9. …click the Acquire button in the software to obtain bioluminescence images. 00:11-00:12

- Bioluminescence image seen. 00:13-00:17