Screenshot summary

64961_screenshot_1.mp4

3.1.2. (Click File| New file | Create a new file) 00:00 - 00:24

3.2.1. (Click Analysis | Turbiscan Lab Temperature| Set temperature to 25 degrees Celsius) 00:24 - 00:37

3.2.2. (Click Analysis | Programmed Analysis | Enter setup analysis) 00:37 - 00:50

3.3.1. (Click Add | Enter 10 minutes, 30 seconds, and 21 scans to the analysis sequence) 00:50 - 01:20

64961_screenshot_2.mp4

3.4.1. (Click Start to begin measurement) 00:00 - 00:06

3.4.2.(Click TSI to view the data) 00:06-00:40