JoVE66304R2 Submission – Nernekli, Mangarova et al.

3.5.1 SCREEN:  not screen, captured on camera. The desired imaging field is located using the RFP filter.

    - SCREEN: not screen, captured on camera. LSM mode is being started.

    - Open Prairie view 2:17-2:50, The Ti-Sapphire laser settings are being checked, and all the shutters are being opened 3.10-3:25

    - The PMT voltage is being adjusted PMT voltages to 500–600 V 3:36 -3:45. The PMT filter set is being set to 595/50 (RFP) and 525/50. DELETED

    - The 'Live Image' button is being pressed on the software 6:18-6:22, and the pockel cell is being modified to enhance laser power. DELETED because included in 3.10.1

3.9.1. ADDED TO SCREEN SHOTS Talent sets the top and bottom of an image stack using the software and the motorized stage. 8:50-9:10

    - The pockels/PMT gain is being increased. TXT: Avoid excessive power to prevent phototoxicity and tissue damage 6:35-6:45

    - The save path is being set 7:23– 7:36  and the Z series is being started 9:25-9:45

    - The stack quality is being checked. 22:16-22:30

3.10.4 The Ti-Saphire laser is being turned off DELETED
3.11.2 Prairie View is being closed 2:04-2:15 , data saved is being checked, and the computer and all hardware are being turned off. Added 3 shots of shutting down the hardware. ADDED 3 CAMERA SHOTS OF SHUTTING DOWN HARDWARE