# Screenshot summary for Yang et al., MS # 65428

- 65428_screenshot_1

  - 2.4.1. (In the OC panel, the optical configuration for the acquisition is being activated.) 00:00-00:02

  - 2.4.2. (In the Zyla Pad and Triggered Acquisition panels, the acquisition conditions are being set to 2 x 2 binning, 20-40 % laser power and 600 ms exposure.) 00:03-00:21

  - 2.4.3. (The acquisition conditions are being assigned to the optical configuration.) 00:22-00:26

- 65428_screenshot_2

  - 2.5.1. (The Histogram panel is being opened.) 00:00-00:04

  - 2.5.2. (The dynamic range of pixel values is being checked for 405-nm excitation.) 00:05-00:10

  - 2.5.3. (The dynamic range of pixel values is being checked for 488-nm excitation.) 00:11-00:16

- 65428_screenshot_3

  - 2.6.1. (An ROI is being drawn in a cell-free area.) 00:00-00:10

  - 2.6.2. (The ROI Statistics panel is being opened.) 00:11-00:15

  - 2.6.3. (The standard deviation of pixel values is shown for the ROI in the images acquired at 405 nm and 488 nm excitations.) 00:16-00:28

- 65428_screenshot_4

  - 2.7.1. (In the ND Acquisition panel, the Time tab is being activated for setting up the parameters for time-lapse imaging.) 00:00-00:02

  - 2.7.2. (The time-lapse parameters are being entered: Phase1, No Delay, 5-min Duration.) 00:03-00:15

  - 2.7.3. (The Run Now button is being clicked to start the acquisition.) 00:16-00:19

- 65428_screenshot_5

  - 2.8.1. (The Time Measurement panel is being opened.) 00:00-00:04

  - 2.8.2. (The 405- and 488-nm channels are being selected and the Display is being set to Mean Intensity.) 00:05-00:14

  - 2.8.3. (The Measure All button is being clicked.) 00:15-00:16

  - 2.8.4. (The steadiness of average pixel values for both channels for the 5-min interval is being checked.)00:17-00:22

- 65428_screenshot_6

  - 2.9.1. (In ND Acquisition panel, the Lambda tab is being activated.) 00:00-00:02

  - 2.9.2 (The 405/488-nm and brightfield channels are being selected.) 00:03-00:14

  - 2.9.3. (The Z tab is being activated.) 00:15-00:16

  - 2.9.4. The Z interval is being set to 0.5 µm and the total stack depth is being set to 6 µm.) 00:17-00:28

  - 2.9.5. (The Run Now button is being clicked to start the acquisition.) 00:29-00:33

- 65428_screenshot_7

  - 3.1.1. (A multi-channel Z stack image is being opened in Fiji.) 00:00-00:24

  - 3.1.1. (the biosensor analysis script file is being opened.) 00:25-00:35

  - 3.1.1. (Run is being clicked in the script editor window.) 00:36-00:38

  - 3.2.1. The channel number for the numerator and denominator is being selected to 488 nm and 405 nm.) 00:39-00:48

  - 3.2.2. (The channel number of the transmitted-light image is being selected.) 00:49-00:52

  - 3.3.1. (An image with a uniform background is being shown. Select an image area is being selected and the background is being measured) 00:53-00:58

  - 3.5.1. (The desired noise subtraction method is being chosen. Select an image area is being chosen.) 00:59-01:03

  - 3.6.1. (The thresholding algorithm is being chosen.) 01:04-01:07

  - 3.7.1. (The number of ROIs is being selected. The output folder is being selected.) 01:08-01:20

  - 3.8.1. (Select an image area is being chosen, rectangle ROI tool is being drawn and OK is being clicked.) 01:21-01:29

  - 3.9.1. (The ROIs are being drawn.) 01:36-01:49

  - 3.10.1. (T is being pressed and the selected ROI is being added to the ROI manager.) 01:50-02:24

  - 3.10.1. (Show all is being checked in the ROI Manager. Added regions are being shown in the ROI manager.) 02:25-02:26

  - 3.11.1. (OK is being clicked in the Mark cells dialog window) 02:27-02:29

  - 3.12.1. (The measurement table format is being selected. The MultiMeasure dialog window is being shown, Measure all slices option and  One row per slice are being checked.) 2:30-2:38

  - 3.12.2. (Append results is being unchecked.) 2:39-2:41

  - 3.13.1. (The output files are being saved to the selected folder.) 2:55-3:03

- 65428_screenshot_8

  - 3.14.1. (The ratio Z stack image is being opened in Fiji.) 00:00-00:10

  - 3.14.1. (The colorize_ratio_image.ijm script file is being opened, and Run is being clicked.) 00:13-00:25

  - 3.14.1. (A dialog box prompting to enter the requested information is being shown.) 00:26-00:28

  - 3.15.1. (The unmodulated option is being selected.) 00:29-00:32

  - 3.16.1. (The minimum and maximum displayed values are being chosen.)00:33-00:39

  - 3.17.1. (The projection mode is being selected. Average is being selected and a maximum-intensity projection is being generated.) 00:40-00:42

  - 3.17.1. (The images are being saved in the selected folder.) 00:43-00:48

  - 3.18.1. (The Fire color scheme is being chosen.) 00:50-00:58

  - 3.18.2. (The images are being saved in the selected folder.) 00:59-01:12