Submission ID #: 65447

Micro-Colony Forming Unit Assay for Efficacy Evaluation of Vaccines against Tuberculosis

Screenshot Summary:

65447_4.1.2 - 4.3.2 – Complete procedure for manual colony-counting method using Fiji software

65447_4.4.1 - 4.5.1 – Procedure for automated colony-counting using Fiji software starts here. User opens the image, converts it to the appropriate image format and removes the background.

65447_4.6.1-4.6.3 – 2nd screenshot for the automated procedure. Image is adjusted to identify the bacterial colonies.

65447_4.7.1 - 4.9.2 – 3rd and final screenshot for the automated procedure. Algorithm for automated colony counting is configured and initiated. The final results are shown.