- 65524_screenshot_1.mp4

  - 3.5.1 (New Measurement is being clicked, and the spectral acquisition is being started) 00:00-00:24

  - 3.5.2 (Image of cells at 20X) 00:25-00:33

  - 3.5.3 (Image of the cells at 50x) 00:34-00:44

  - 3.5.4 This part can be deleted. 00:45-01:42

- 65524_screenshot_2.mp4

  - 3.6.1 (A point is being selected on the cells, and Run is being clicked and the spectra is being saved) 00:00-00:50

  - After timeline of 00:50, This part can be deleted.

- 65524_screenshot_3.mp4

  - 3.7.1 (New Streamline image acquisition is being clicked, and Video review is being clicked. The range to be photographed is being selected, and OK is being clicked) 00:00-00:20

  - After timeline of 00:20, This part can be deleted.

- 65524_screenshot_4.mp4

  - 3.8.1 (The edge streamline is being set to 785 nm, center to 1,200 cm-1, exposure duration of 5 s, accumulations to 3 and laser power to 50%) 00:00-00:27

- 65524_screenshot_5.mp4

  - 3.9.1 (New of living things is being clicked, Signal to Baseline is being clicked. The range is being set from the first limit of 625 to the second limit of 1,700, and area set up is being clicked) 00:00-00:43

  - 3.9.2 (The proper steps are being set, apply and OK is being clicked and Run is being clicked) 00:44-01:10

  - After timeline of 01:10, This part can be deleted.