JoVE 65560

- 65560_Vid1.mp4

  - 3.4.1 Selecting Tumor Only well from the plate.

- 65560_Vid2.mp4

  - 3.4.2 Decreasing the well mask to 98%.

- 65560_Vid3.mp4

  - 3.5.1 Identifying CFSE-labeled tumor cells on the green fluorescent channel and then adjusting the fluorescence intensity threshold value.

- 65560_Vid4.mp4

  - 3.5.2 Setting the cell diameter to 25 µm. Then, activating Separate Touching Objects.

- 65560_Vid5.mp4

  - 3.7.1 Selecting Tumor Only well 00:00 – 00:12

  - 3.7.2 Generating histogram of counts on the y-axis vs. mean PI intensity on the x-axis. 00:13 – 00:20

  - 3.8.1 Creating/drawing a splitter for low and high PI-stained cells. 00:27 – 00:29

  - 3.8.2 Adjusting X-axis value 00:21 – 00:26

  - labeling the low PI-stained cells as Live cells. 00:30 – 00:35

- 65560_Vid6.mp4

  - 3.9.1 Setting the histogram with area on the x-axis and counts on the y-axis. 00:00 – 00:12

  - 3.9.2 Creating/drawing a splitter using the tumor-only well and capturing the cells 00:27 – 00:44

  - Labeling Big Live cells 00:13 – 00:26

- 65560_Vid7.mp4

  - 3.10.1 Exporting the spreadsheet with the analysis results.

- 65560_Vid8.mp4

  - 3.10.2 Plotting the counts of big cells and plot of showing number of live CFSE labeled tumor cells. 00:00 – 00:04

  - 3.10.3 Applying one-way ANOVA to results. 00:05 – 00:20