# Submission ID #: 65650

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20023298

# Title: Preparation of Hard Palm Seeds for Matrix-Assisted Laser Desorption/Ionization-Imaging Mass Spectrometry Analysis

Short Title: Preparation of Hard Palm Seeds for MALDI-IMS Analysis

- ☐   The Short Title is correct. (Character limit with spaces: 80)

# Authors and Affiliations:

Gabriel R. Martins1,2,*, Felipe L. Brum1,2,3,*, Davi Marconi Miranda Carvalho da Silva1,2,*, Livia C. Barbosa3, Ronaldo Mohana-Borges3, Ayla Sant'Ana da Silva1,2

1Laboratório de Biocatálise (LABIC), Instituto Nacional de Tecnologia

2Departamento de Bioquímica, Instituto de Química, Universidade Federal do Rio de Janeiro

3Centro de Espectrometria de Massas de Biomoléculas, Instituto de Biofísica Carlos Chagas Filho, Universidade Federal do Rio de Janeiro

# *These authors contributed equally

- ☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Ayla Sant'Ana da Silva					(ayla.santana@int.gov.br)

# Email Addresses for All Authors:

Gabriel R. Martins					(gabriel.rocha@int.gov.br)

Felipe L. Brum						(lobrumfe@gmail.com)

Davi Marconi Miranda Carvalho da Silva		(davi.marconi@int.gov.br)

Livia C. Barbosa					(lbarbosa@biof.ufrj.br)

# Ronaldo Mohana-Borges				(mohana@biof.ufrj.br)

# Ayla Sant'Ana da Silva					(ayla.santana@int.gov.br)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? No

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://www.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

3. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: 08/04/2023

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Engineer, Devon Halley.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  14

Number of Shots:  43

# Interviews

- Video 1: Author Interviews

Answers to these questions will become interview statements that you will deliver on camera.

- Answer at least 3 of the questions below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 50 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

What is the scope of your research? What questions are you trying to answer?

  - Enter author name.:

What are the most recent developments in your field of research?

  - Ayla Sant’Ana da Silva: Our research focuses on the recent advancements in valorizing residues from tropical biodiversity. Characterizing these unexplored resources is crucial for enhancing their value. We employ MALDI-IMS, a powerful technique enabling rapid and precise molecule-specific imaging of biological tissue. This method provides valuable insights into the material and guides our exploration of potential products and processes. To ensure meaningful biological discoveries, it's essential to enhance and standardize sample preparation techniques.

What technologies are currently used to advance research in your field?

  - Enter author name:

What are the current experimental challenges?

  - Gabriel R. Martins: as technology advances, many experimental challenges arise for a successful IMS. However, a pivotal step in this technique is the sample preparation, particularly in plant tissues, which are specialized and modified to widespread complex organs. If an inadequate sample preparation occurs, the target ion signals won't be detected, or artifacts will appear.

What significant findings have you established in your field?

  - Davi Marconi: This protocol allowed preparing thin slices of cut-resistant seeds as a proof of concept for molecular mapping of the analyzed seed tissues. The technique provided valuable insights into oligosaccharides found in these raw materials endosperms for the first time and could assist other researchers with similar obstacles.

What research gap are you addressing with your protocol?

  - Enter author name:

What advantage does your protocol offer compared to other techniques?

  - Enter author name:

How will your findings advance research in your field?

  - Enter author name:

What new scientific questions have your results paved the way for?

  - Ayla Sant’Ana da Silva: This protocol will enable a new approach to study cut-resistant seed development and germination, for example. This technique can help unravel the molecular processes associated with that kind of seed by revealing the distribution of metabolites in different biological stages.

What research questions will your laboratory focus on in the future?

# Protocol Videos

Each video will include a section of your protocol and accompanying results, if applicable. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration. Professional voiceover artists will narrate the video.

- Red and italics are pronunciation guides (how the word will be spoken).

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product from that step in advance.

Protocol:

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

Representative Results:

- The three-digit numbers (e.g., 2.3.1., 2.3.2.) are the figures/tables from your manuscript. These will not be recorded by the videographer.

- Please review the result section to make sure it logically follows the video.

- Please note that the video cannot include voiceover without an accompanying visual.

- Video 2: Matrix-Assisted Laser Desorption/Ionization-Imaging Mass Spectroscopy (MALDI-IMS)

Demonstrator: Livia Barbosa and Davi Marconi

Protocol

  - To begin, dip three Euterpe precatoria seeds and three Euterpe edulis seeds into deionized water for 24 hours [1]. After 24 hours, turn the cryostat on and let the temperature reach minus 20 degrees Celsius [2]. Take the wet seeds out of the water [3] and cut them in half using a microtome blade [4].

    - Talent dipping three Euterpe precatoria seeds and three Euterpe edulis seeds into deionized water.

    - Talent turning the cryostat on.

    - Talent taking the wet seeds out of the water and placing them on a plate or something similar.

    - Talent cutting the seeds in half using a microtome blade.

  - Prepare a fresh, warm 10% gelatin solution [1], place half of the seeds on a mold [2], and fill it with the gelatin solution [3]. Freeze at minus 80 degrees Celsius for 2 hours before taking it to the cryostat [4].

    - The gelatin solution.

    - Talent placing half of the seeds on a mold.

    - Talent filling the mold with the seed with gelatin.

    - Talent placing the mold filled with gelatin in a refrigerator.

  - Attach the embedded seed to the cryostat support using an optimal cutting temperature compound or OCT (O-C-T) [1], and leave it for 10 minutes inside the cryostat for OCT hardening [2].

    - Talent attaching the embedded seed to the cryostat support using OCT.

    - Talent placing the cryostat support (with the seed attached) inside the cryostat.

  - Next, add copper double-faced adhesive tape to an indium tin oxide-coated glass slide or ITO (I-T-O) slide [1]. Produce 20-micrometer thick sections from each species [2] and place them on the adhesive tape adhered to the ITO glass slide [3].

    - Talent adding copper double-faced adhesive tape to an ITO glass slide.

    - The sections.

    - Talent placing the sections on the adhesive tape adhered to the ITO glass slide.

  - For matrix deposition, place the slide containing slices in a vacuum desiccator until it reaches room temperature [1]. Make teaching marks using a correction pen in each slide corner [2] and scan the slide using a table scanner [3-TXT].

    - Talent placing the slide containing slices in a vacuum desiccator.

    - Talent making teaching marks using a correction pen in the slide corner.

    - Talent scanning the slide using a table scanner. TXT: Resolution: 4,800 ppi

  - Use an analytical balance to weigh 30 milligrams of DHB (D-H-B) [1-TXT]. Then, prepare a 1-milliliter solution containing equal parts of methanol and 0.1% trifluoroacetic acid [2] and dissolve the weighed DHB in the prepared solution [3].

    - Talent weighing DHB. TXT: DHB: 2,5-dihydroxybenzoic acid

    - The solution containing equal parts of methanol and 0.1% trifluoroacetic acid.

    - Talent dissolving the weighed DHB in the solution.

  - Fill a 1-milliliter glass syringe with the DHB solution [1] and place it on a syringe pump with a flow rate of 0.8 milliliters per hour [2]. Using PEEK tubing, connect the syringe to an atmospheric pressure chemical ionization or APCI (A-P-C-I) needle [3] and then connect nitrogen to the needle [4]. Set the flow rate to 12.5 psi (P-S-I) [5]. Authors: How do you want to pronounce PEEK? “P-E-E-K” or “Pick”? “Pick”

    - Talent filling a 1-milliliter glass syringe with the DHB solution.

    - Talent placing the glass syringe on a syringe pump.

    - Talent connecting the syringe to an APCI needle using PEEK tubing.

    - Talent connect nitrogen to the needle.

    - Talent setting the flow rate to 12.5 psi.

  - Attach the APCI needle to the xy motion platform [1]. Ensure that the tip of the APCI needle is 4 centimeters above the slide [2]. Using the drawing software, set the xy motion platform to follow the template and wait for the platform to repeat the template 20 times [3-TXT].

    - Talent attaching the APCI needle to the xy motion platform.

    - The tip of the APCI needle is 4 centimeters above the slide.

    - Talent setting the xy motion platform to follow the template using the drawing software. TXT: The template has horizontal parallel lines spaced by 1 mm

  - Place the slide in the mass spectrometer [1] and use correction pen marks to set teaching points on the referenced software [2]. Set the laser power, laser focus, number of shots, and polarity in the software [3] and then set the 99% data reduction factor. Save the FID (F-I-D) file for the posterior data calibration [4] and save the method [5].

    - Talent placing the slide in the mass spectrometer.

    - Talent setting teaching points on the referenced software using correction pen marks. Videographer: Please make sure the computer screen is clearly visible in the frame.

    - SCREEN: To be provided by authors: The laser power, laser focus, number of shots, and polarity being saved in the software.

Authors: Please record screen capture videos for all SCREEN shots and upload them to your project page: https://review.jove.com/account/file-uploader?src=20023298

    - SCREEN: To be provided by authors: The 99% data reduction factor being set. Then, the FID file being saved for the posterior data calibration.

    - SCREEN: To be provided by authors: The method being saved.

  - Delimitate the area to be analyzed using the add polygon measurement region tool from the mass spectrometer software [1]. Edit the measurement region parameters indicating the saved method and set the raster width to 100 µm (hundred micrometers) [2]. Then, start the imaging acquisition [3].

    - SCREEN: To be provided by authors: The area to be analyzed being delimitated using the add polygon measurement region tool.

    - SCREEN: To be provided by authors: The measurement region parameters, followed by the raster width being edited.

    - SCREEN: To be provided by authors: The imaging acquisition being started.

  - Use matrix cluster and known contaminants to create a mass list in the software in the calibrant tab [1]. Then, open the data to be calibrated [2], and in the calibration tab, open the created mass list. Right-click to open a dialog box and choose the set lock masses option [3].

    - SCREEN: To be provided by authors: A mass list in the calibrant tab being created.

    - SCREEN: To be provided by authors: The data to be calibrated being opened.

    - SCREEN: To be provided by authors: In the calibration tab, the created mass list being opened, then a dialog box being opened and the set lock masses option being chosen.

  - Select Gaussian window mode with 0.5 Gaussian broadening and 3.5 Line broadening. Leave online calibration unchecked. Set mode to single, threshold to 1,000, and mass tolerance to 5 ppm (P-P-M) [1]. Calibrate the data with the process and save the 2D data tool [2].

    - SCREEN: To be provided by authors: Gaussian window mode being selected with 0.5 Gaussian broadening and 3.5 Line broadening. mode being set to single, threshold being set to 1,000, and mass tolerance being set to 5 ppm.

    - SCREEN: To be provided by authors: The data being calibrated with the process and the 2D data tool being saved.

  - After calibration, export the data to SCiLS lab or other a compatible software and set the desired m/z (m by z) value threshold [1-TXT]. Choose a normalization method between total ion count (T-I-C) or root mean square (R-M-S) [2]. Authors: How do you want to pronounce SCiLS? “Sci-L-S”? Unfortunately, we lost access to Scils, and the video was recorded using another compatible software for the analysis. We suggest avoiding mentioning SCiLS during the video recording. The flexImaging 5.0 (Bruker) software processed the data using a .mis file extension. Therefore, adaptations were needed to the script in the following items:

    - After opening the .mis file, alter the normalization from no Norm to RMS or TIC. TIC was chosen for this exemplification. Click on the Edit tab, and select “Automatic Mass Filtering…”. Fill “Start Mass” and “End Mass” with the minimum and maximum number of Da at your interest threshold, respectively, and click on the OK icon.

    - Select the highlighted peak of interest at the Filter List generated with the number corresponding to the mass value of interest in Da. Change the percentage to better view the interested area. Click on the “intensity scale bar” and the " colormap” icons. Click on the image area and drag sliding the mouse to position the area of interest. Change the transparency percentage to produce a merged signal image with the scanned section image as the background.

    - SCREEN: To be provided by authors: The data being exported to SCiLS lab a processing software and the desired m/z value threshold being set. TXT: Range chosen: 380 to 2,200

    - SCREEN: To be provided by authors: A normalization method being chosen between total ion count or root mean square. TXT: Generate the peaks by filtering them and selecting the desired m/z to create the image. To plot signals from more than one analyte together, deselect the “colormap” icon and click at another Da value of interest at the Filter List.

  - If the analytes to be mapped are known, plot each m/z value for each analyte [1] and save the generated images and the spectral average plot [2].

    - SCREEN: To be provided by authors: m/z value being plotted for the analyte.

    - SCREEN: To be provided by authors: The generated images and the spectral average plot being saved.

Representative Results

  - The mass spectrum of Euterpe precatoria [1] and Euterpe edulis seeds tissue [2]  obtained by MALDI-IMS in positive mode is shown here [3]. Authors: How do you want to pronounce MALDI-IMS? “Maldi I-M-S”? Yes, I-M-S is fine

    - LAB MEDIA: Figure 1A and 2A. Video Editor: Emphasize 1A when the VO says “Euterpe precatoria”.

    - LAB MEDIA: Figure 1A and 2A. Video Editor: Emphasize 2A.

    - LAB MEDIA: Figure 1A and 2A.

  - This MALDI-IMS analysis of E. precatoria seeds exhibited peaks representing [M+K]+ adducts of hexose oligomers without adding salt to the matrix [1]. Hexose dimers [2], trimers [3], tetramers [4], pentamers [5], hexamers [6], and up to 14-unit oligomers were identified [7]. Authors: How do you pronounce [M+K]+? We believe that it is not necessary to pronounce this part. We prefer to speak: exhibited peaks representing adducts of hexose oligomers.

    - LAB MEDIA: Figure 1C to 1O.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1C.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1D.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1E.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1F.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1G.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1H to 1O.

  - The same results were also obtained for E. edulis seed tissue [1]. The box plots for both samples [2] indicate the peak intensity of each hexose oligomer found in the seed endosperm [3], demonstrating their distributions and a slightly higher content of a high degree of polymerization of oligomers [4].

    - LAB MEDIA: Figure 2C to 2O.

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3. Video Editor: Highlight the blue bars.

    - LAB MEDIA: Figure 3.