# Submission ID #: 65650

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link:https://review.jove.com/account/file-uploader?src=20023298

# Title:Preparation of Hard Palm Seeds for Matrix-Assisted Laser Desorption/Ionization-Imaging Mass Spectrometry Analysis

Landing Page Title (not for video use): A Detailed Guide for Preparing Hard Palm Seeds for MALDI-IMS Analysis

# Authors and Affiliations:

Gabriel R. Martins1,2,*, Felipe L. Brum1,2,3,*, Davi Marconi Miranda Carvalho da Silva1,2,*, Livia C. Barbosa3, Ronaldo Mohana-Borges3, Ayla Sant'Ana da Silva1,2

1Laboratório de Biocatálise (LABIC), Instituto Nacional de Tecnologia

2Departamento de Bioquímica, Instituto de Química, Universidade Federal do Rio de Janeiro

3Centro de Espectrometria de Massas de Biomoléculas, Instituto de Biofísica Carlos Chagas Filho,Universidade Federal do Rio de Janeiro

# *These authors contributed equally

# Corresponding Authors:

# Ayla Sant'Ana da Silva					(ayla.santana@int.gov.br)

# Email Addresses for All Authors:

Gabriel R. Martins					(gabriel.rocha@int.gov.br)

Felipe L. Brum						(lobrumfe@gmail.com)

Davi Marconi Miranda Carvalho da Silva		(davi.marconi@int.gov.br)

Livia C. Barbosa					(lbarbosa@biof.ufrj.br)

# Ronaldo Mohana-Borges				(mohana@biof.ufrj.br)

# Ayla Sant'Ana da Silva					(ayla.santana@int.gov.br)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?Yes

3. Filming location: Will the filming need to take place in multiple locations?

Current Protocol Length

Number of Steps:  16

Number of Shots: 48

# Interviews

- Video 1: Author Spotlight: A Tailor-Made Sample Preparation Approach for Enhanced MALDI-IMS Analysis of Hard Palm Seeds

Videographer: Obtain headshots for all authors.

What are the most recent developments in your field of research?

  - Ayla Sant’Ana da Silva: Our research has a focus on valorizing plant biomass from tropical biodiversity. For that, it is very important to characterize well these materials so we can propose a proper destination to them. In this work, particularly, we employ MALDI-imaging mass spectrometry as a characterizing technique. This method is very precise and can give us a molecule-specific imaging of the biological tissue. Then, the results can provides an overview of the materials composition and the localization of the main components in the plant tissue and this can guides our development potential products and processes. However, for a good maldi-imaging mass spectrometey analysis, it's essential to standardize sample preparation step to have meaningful results, that is what we describe in this work.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.B-roll: LAB MEDIA: Figure 3.

What are the current experimental challenges?

  - Gabriel R. Martins: Advancements in technology have led to many challenges for successful imaging mass spectrometry analysis. Plant tissues, in particular, present a complex challenge due to their specialized organs. The sample preparation is a crucial step in this technique. If the sample preparation is done inadequately, the target ion signals won't be detected or artifacts will appear, leading to inaccurate results.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.B-roll: 2.4.2, 2.4.3.

What significant findings have you established in your field?

  - Davi Marconi:This protocol allows the preparation of thin slices of cut-resistant palm seeds, serving as a proof of concept for molecular mapping of the analyzed seed tissues. This technique offers valuable insights into oligosaccharides present in these seeds endosperms. We believe this technique will be helpful for other researchers with similar challenges.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.B-roll: LAB MEDIA: Figure 3.

What new scientific questions have your results paved the way for?

  - Ayla Sant’Ana da Silva: This technique can help studies of other hard seeds and similar biological material that impose a challenge to be cut in thin slices. For example, this protocol can be a tool on the study of seed development and germination on other hard seeds.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors.

# Protocol Videos

- Video 2: Seed Sectioning Protocol and Matrix Deposition Technique for MALDI-IMS Analysis of Hard Palm Seeds

Demonstrators: Livia Barbosa and Davi Marconi

Protocol

  - To begin, dip three Euterpe precatoriaseeds and three Euterpe edulis seeds into deionized water for 24 hours[1]. After 24 hours, turn the cryostat on and let the temperature reach minus 20 degrees Celsius [2]. Take the wet seeds out of the water [3] and cut them in half using a microtome blade[4].

    - WIDE: Talent dipping three Euterpe precatoriaseeds and three Euterpe edulis seeds into deionized water.

    - Talent turning the cryostat on.

    - Talent taking the wet seeds out of the water and placing them on a plate or something similar.

    - Talent cutting the seeds in half using a microtome blade.

  - Prepare a fresh, warm 10% gelatin solution [1], place half of the seeds on a mold [2], and fill it with the gelatin solution [3]. Freeze at minus 80 degrees Celsius for 2 hours before taking it to the cryostat [4].

    - The gelatin solution.

    - Talent placing half of the seeds on a mold.

    - Talent filling the mold with the seed with gelatin.

    - Talent placing the mold filled with gelatin in a refrigerator.

  - Attach the embedded seed to the cryostat support using an optimal cutting temperature compound or OCT(O-C-T)[1], and leave it for 10 minutes inside the cryostat for OCT hardening[2].

    - Talent attaching the embedded seed to the cryostat support using OCT.

    - Talent placing the cryostat support (with the seed attached) inside the cryostat.

  - Next, add copper double-faced adhesive tape to an indium tin oxide-coated glass slide or ITO(I-T-O) slide [1]. Produce 20-micrometer thick sections from each species [2] and place them on the adhesive tape adhered to the ITO glass slide [3].

    - Talent adding copper double-faced adhesive tape to an ITO glass slide.

    - The sections being cut or a shot of the sections.

    - Talent placing the sections on the adhesive tape adhered to the ITO glass slide.

  - For matrix deposition, place the slide containing slices in a vacuum desiccator until it reaches room temperature [1]. Make teaching marks using a correction pen in each slide corner [2] and scan the slide using a table scanner [3-TXT].

    - Talent placing the slide containing slices in a vacuum desiccator.

    - Talent making teaching marks using a correction pen in the slide corner.

    - Talent scanning the slide using a table scanner. TXT: Resolution:4,800 ppi

  - Use an analytical balance to weigh 30 milligrams of DHB(D-H-B)[1-TXT]. Then, prepare a 1-milliliter solution containing equal parts of methanol and 0.1% trifluoroacetic acid[2] and dissolve the weighed DHB in the prepared solution [3].

    - Talent weighing DHB. TXT: DHB: 2,5-dihydroxybenzoic acid

    - The solution containing equal parts of methanol and 0.1% trifluoroacetic acid.

    - Talent dissolving the weighed DHB in the solution.

  - Fill a 1-milliliter glass syringe with the DHB solution [1] and place it on a syringe pump with a flow rate of 0.8 milliliters per hour[2]. Using PEEK(Pick) tubing, connect the syringe to an atmospheric pressure chemical ionization or APCI (A-P-C-I) needle [3] and then connect nitrogen to the needle [4]. Set the flow rate to 12.5 psi (P-S-I) [5].

    - Talent filling a 1-milliliter glass syringe with the DHB solution.

    - Talent placing the glass syringe on a syringe pump.

    - Talent connecting the syringe to an APCIneedle using PEEK tubing.

    - Talent connect nitrogen to the needle.

    - Talent setting the flow rate to 12.5 psi.

  - Attach the APCI needle to the xy motion platform [1]. Ensure that the tip of the APCI needle is 4 centimeters above the slide [2]. Using the drawing software, set the xy motion platform to follow the template and wait for the platform to repeat the template 20 times[3-TXT].

    - Talent attaching the APCI needle to the xy motion platform.

    - The tip of the APCI needle is 4 centimeters above the slide.

    - Talent setting the xy motion platform to follow the template using the drawing software. TXT: The template has horizontal parallel lines spaced by 1 mm

- Video 3: Image Acquisition and MALDI-IMS Analysis of Hard Palm Seeds

Demonstrators: Livia Barbosa and Davi Marconi

Protocol:

  - To begin, place the slide containing the matrix deposited seed slices in the mass spectrometer [1-TXT], load the sample image [2], and use correction pen marks to set teaching points on the referenced software [3]. Then, set the 99% data reduction factor,save the FID(F-I-D) file for the posterior data calibration [4], and save the method [5].

    - WIDE: Talent placing the slide in the mass spectrometer.TXT: Seeds: EuterpeprecatoriaandEuterpeedulis

    - SCREEN: 65650_2.9.2-2.9.3.mp4 00:01-00:03, 00:21-00:31.

    - SCREEN: 65650_2.9.2-2.9.3.mp4 01:14-01:18, 01:24-01:37, 01:55-01:57. Video Editor: Speed up the video.

    - SCREEN: 65650_2.9.4-2.9.5.mp4 00:02-00:08.

    - SCREEN: 65650_2.9.4-2.9.5.mp4 00:09-00:16.

  - Delimitate the area to be analyzed using the add polygon measurement region tool from the mass spectrometer software [1].Set the raster width to 100 µm (hundred micrometers),edit the measurement region parameters indicating the saved method, and save the imaging Run [2]. Then, start the imaging acquisition[3].

    - SCREEN: 65650_2.10.1-2.10.2.mp4 00:02-00:19. Video Editor: Speed up the video.

    - SCREEN: 65650_2.10.1-2.10.2.mp4 00:20-00:31, 00:36-00:40, 00:45-01:03. Video Editor: Speed up the video as needed.

    - SCREEN: 65650_2.10.3.mp4 00:04-00:18.

  - Use matrix cluster and known contaminants to create a mass list in the software in the calibrant tab [1]. Then, in the calibration tab, open the created mass list. Right-click to open a dialog box and choose the set lock masses option [2].

    - SCREEN: 65650_2.11.1-2.12.2.mp4 00:11-00:31.

    - SCREEN: 65650_2.11.1-2.12.2.mp4 00:32-00:41.

  - Select Gaussian window mode with 0.5 Gaussian broadening and 3.5 Line broadening. Leave online calibration unchecked. Set mode to single, threshold to 1,000, and mass tolerance to 5 ppm (P-P-M)[1]. Calibrate the data with the Process and save a 2D serial data set tool [2].

    - SCREEN: 65650_2.11.1-2.12.2.mp4 00:42-01:05.

    - SCREEN: 65650_2.11.1-2.12.2.mp4 01:06-01:09, 01:37-01:44.

  - After calibration, open the .mis (M-I-S) file to a compatible software[1] andalter the normalization from no Norm to RMS(R-M-S) or TIC(T-I-C)[2].Click on the Edit tab, and select “Automatic Mass Filtering” [3].

    - SCREEN: 65650_2.13-2.13.2.mp4 00:02-00:07, 01:15-01:18.

    - SCREEN: 65650_2.13-2.13.2.mp4 01:22-01:27.

    - SCREEN:65650_2.13-2.13.2.mp4 01:28-01:35.

  - Fill “Start Mass” and “End Mass” with the minimum and maximum number of Dalton at your interest threshold and click on the OK icon[1].Select the highlighted peak of interest at the Filter List generated with the number corresponding to the mass value of interest in Dalton [2].

    - SCREEN: 65650_2.13-2.13.2.mp4 01:36-01:50.

    - SCREEN:65650_2.13-2.13.2.mp4 01:51-02:01.

  - Change the percentage to better view the interested area [1]. Click on the “intensity scale bar” and the " colormap” icons [2]. Click on the image area and drag-slide the mouse to position the area of interest. Change the transparency percentage to produce a merged signal image with the scanned section image as the background [3].

    - SCREEN:65650_2.13-2.13.2.mp4 02:02-02:09.

    - SCREEN:65650_2.13-2.13.2.mp4 02:10-02:16.

    - SCREEN:65650_2.13-2.13.2.mp4 02:17-02:41.

  - If the analytes to be mapped are known, plot each m/z value for each analyte and save the generated images and the spectral average plot[1].

    - SCREEN: 65650_2.14-2.14.2.mp4 00:04-00:24, 00:34-00:41.

Representative Results

  - The mass spectrum of Euterpe precatoria[1] and Euterpe edulis seeds tissue [2] obtainedby MALDI-IMS(Maldi-I-M-S) in positive mode is shown here [3].

    - LAB MEDIA: Figure 1A and 2A. Video Editor: Emphasize 1A when the VO says “Euterpe precatoria”.

    - LAB MEDIA: Figure 1A and 2A. Video Editor: Emphasize 2A.

    - LAB MEDIA: Figure 1A and 2A.

  - This MALDI-IMS analysis of E. precatoriaseeds exhibited peaks representing adducts of hexose oligomers without adding salt to the matrix[1]. Hexose dimers [2], trimers [3], tetramers [4], pentamers[5], hexamers [6], and up to 14-unit oligomerswere identified[7].

    - LAB MEDIA: Figure 1C to 1O.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1C.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1D.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1E.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1F.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1G.

    - LAB MEDIA: Figure 1C to 1O. Video Editor: Emphasize 1H to 1O.

  - The same results were also obtained for E. edulis seed tissue [1]. The box plots for both samples[2] indicate the peak intensity of each hexose oligomer found in the seed endosperm[3], demonstrating their distributions and a slightly higher content of a high degree of polymerization of oligomers[4].

    - LAB MEDIA: Figure 2C to 2O.

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3. Video Editor: Highlight the blue bars.

    - LAB MEDIA: Figure 3.