Screenshot Summary:

- 65664_screenshot_1.mp4

- 2.2.2 (Enter a temperature of 25°C and click Connect to Oxygraph-2k.) 00:03-00:05

- 2.2.3 (Select the folder to save the calibration and click Save) 00:05-00:12

- 2.3.1 (Name the experiment and samples. Then click Save.) 00:22-00:37

- 2.3.2 (In the Layout menu, select 01 Calibration Exp. Gr.3 – Temp.) 00:40-00:44

- 65664_screenshot_2.mp4

- 2.4.2 (Select the points for camera A and camera B from the red straight line.) 00:05-00:09

- 2.5.1 (With the point marked, copy the temperature and barometric pressure values relative to the point.) 00:10-00:22

- 2.5.2 (Click Calibrate and Copy to Clipboard in the bottom right corner of the screen.) 00:23-00:24

- 2.6.1 (On the File menu, click Save and Disconnect.) 00:25-00:32

- 65664_screenshot_3.mp4

- 3.4.1 (Click on the Layout menu and select the Corrected Volume Flow option.) 00:50-00:52

- 3.5.1 (Opening a new window, in the Experimental Code space, name the experiment.) 00:30-00:34

- 3.5.2 (In the Sample field, name each sample in its respective chambers A and B and set the Unit field to unit and concentration of 1 per mL) 00:35-00:47