# Submission ID #: 65682

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/account/file-uploader?src=20033058

Title: Characterization of Vascular Morphology of Neovascular Age-Related Macular Degeneration by Indocyanine Green Angiography

Landing Page Title (not for video use): Characterizing Different Lesion Types of Laser-Induced CNV in Mouse

# Authors and Affiliations:

Anish Attarde1, Thomas S. Riad1, Zhao Zhang1, Manisha Ahir1, Yingbin Fu1*

1Cullen Eye Institute, Baylor College of Medicine

# Corresponding Authors:

Yingbin Fu		(yingbin.fu@bcm.edu)

# Email Addresses for All Authors:

(anish.attarde2@bcm.edu)

(thomas.riad@bcm.edu)

(zhaozhang1126@hotmail.com)

(Manisha.ahir@bcm.edu)

(yingbin.fu@bcm.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?

No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://www.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  12

Number of Shots:  28

# Interviews

- Video 1: Author Spotlight: Overcoming Anti-VEGF Resistance through Advanced Vascular Morphology Assessment in Choroidal Neovascularization

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee at Baylor College of Medicine.

Videographer: Obtain headshots for all authors.

What is the scope of your research? What questions are you trying to answer?

  - Anish Attarde: We are working on the mechanism and treatment strategies of age-related macular degeneration, a prevalent condition causing severe vision loss in older individuals. Particularly, we are developing new treatments to tackle the issue of drug resistance to the current treatment of choroidal neovascularization, which is the wet type of AMD.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What are the most recent developments in your field of research?

  - Anish Attarde: Our lab recently developed a new treatment to ameliorate anti-VEGF resistance in CNV. This is achieved by using a mouse CNV model. Our research has shown that old mice with laser-induced CNV develop arteriolar CNV, which is resistant to anti-VEGF treatment. In contrast, young mice with capillary CNV are responsive to the treatment.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: Figure 1

What research gap are you addressing with your protocol?

  - Thomas Riad: In AMD research, CNV is almost exclusively studied by fluorescein angiography to reveal leakage patterns in animal models. However, FA does not show CNV vascular morphology. Thus, it is not suitable to study anti-VEGF resistance in AMD.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 2.6.2, 2.6.3

What advantage does your protocol offer compared to other techniques?

  - Thomas Riad: The current FA method used for CNV imaging lacks vital information regarding the vascular morphology of CNV lesions, such as capillary or arteriolar CNV. However, by combining ICGA and FA, this protocol can evaluate both CNV leakage and vascular morphology.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 2.12.2

How will your findings advance research in your field?

  - Manisha Ahir: By assessing both leakage and CNV lesion morphology, it is possible to study the underlying molecular mechanisms leading to arteriolar CNV and therefore provide opportunities to find new targets to treat anti-VEGF resistance for AMD patients.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors.

# Protocol Videos

- Video 2: Preparation of CNV Mouse Model for Indocyanine Green Angiography (IGCA) and Fluorescein Angiography (FA)

Demonstrator: Anish Attarde, Thomas Riad, Manisha Ahir

Ethics Title Card

Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee at Baylor College of Medicine

Protocol

  - After anesthetizing the mouse [1-TXT], gently pinch one of the mouse’s paws to check whether the mouse is adequately anesthetized [2].

    - Establishing shot of an anesthetized mouse on the surgical platform. TXT: Anesthesia: Ketamine/Xylazine 70–100/2.5–10 mg/kg

    - Talent pinches the mouse’s paws.

  - Administer 1% tropicamide ophthalmic solution drops to dilate the mouse’s eyes and wait for 30 seconds [1]. Then to reduce eye movement and blinking, apply 0.5% proparacaine hydrochloride drops to both eyes [2], followed by lubricant eye gel drops [3], and position the mouse on a heating water pad [4].

    - Talent applies ophthalmic solution drops to the eyes.

    - Talent applies .5% proparacaine hydrochloride drops in both eyes.

    - Talent applies lubricant eye gel drops.

    - Talent positions the mouse on the heating pad.

  - Prepare a dye mix containing an equal volume of indocyanine green or ICG (I-C-G) and fluorescein dye [1-TXT].

    - Talent prepares the Indocyanine Green and Fluorescein dye mix. TXT: 2 mg/mL ICG and 20 mg/mL

  - Inject 250 microliters of the mixture through an intraperitoneal injection into the lower left quadrant near the hind legs of the mouse, positioning it parallel to the skin to prevent organ perforation [1]. Carefully retract the plunger, ensuring no blood has entered the syringe cap [2]. Proceed by gradually injecting the dye at a steady pace [3].

    - Talent inserts the needle near the hind leg.

    - Talent retracts the plunger.

    - Talent injects the dye.

Indocyanine Green Angiography and Fluorescein Angiography

  - Next, place the mouse on the heating pad of the imaging platform [1]. Adjust the positioning of the mouse's body at a 45-degree angle relative to the camera [2] and gently angle the head slightly downwards [3].

    - Talent places the mouse on the heating pad.

    - Talent positions the mouse's body at a 45-degree angle relative to the camera.

    - Talent angles the head downwards.

  - Delicately wipe the eye to be imaged using a cotton swab to remove the layer of lubricant eye drops or gels [1]. Transition the camera towards the mouse's eye [2] and select the FA (F-A) channel from the acquisition module [3].

    - Talent wipes the eye.

    - Talent adjusts the camera toward mouse’s eye.

    - The FA channel is being selected.

  - Arrange the mouse's head so the optic nerve is centered on the screen, avoiding the need to tilt the laser scanning ophthalmoscope [1].

    - SCREEN: Shot of the optic nerve centered on the screen.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20033058

  - Now switch to the ICGA (I-G-C-A) channel on the acquisition module [1]. Once the eye occupies the entire screen on the imaging software [2], rotate the round black button on the acquisition module for image sensitivity adjustments [3]. Use the ophthalmoscope's knob to fine-tune the focus [4].

    - ICGA channel is being selected.

    - SCREEN: Image of eye occupying the screen.

    - SCREEN: Image of the eye during image sensitivity adjustments.

    - SCREEN: Shot of the eyes while focusing.

  - Next, press the round black button on the acquisition module to normalize the image [1]. After normalization, click the acquire button on the touchscreen panel to save the image [2].

    - SCREEN: Shot of the normalized image.

    - Acquire button is being pressed.

  - Switch to the FA channel using the acquisition module [1] and adjust both the sensitivity and focus of each image, as shown earlier, to capture the leakage of the choroidal neovascularization or CNV (C-N-V) lesion [2].

    - FA channel is being selected.

    - SCREEN: The leakage of the CNV lesion is being captured.

  - Then capture images for the "early phase" of ICGA and FA 3 to 4 minutes after injection [1].

    - SCREEN: The images for the "early phase" of ICGA and FA are being captured.

  - Once all the necessary images are captured, apply a gel lubricant or ointment to the eye of the mouse [1]. Closely monitor the mouse on the heating pad while it recovers [2].

    - Talent applies a gel lubricant to the eye of the mouse.

    - Shot of the mouse recovering on the heating pad.

Representative Results

  - Capillary CNV dominates the CNV lesions in young mice [1]. In contrast, old mice exhibit arteriolar CNV characterized by large caliber vessels, vascular loops, and anastomotic connections [2]. Both young and old mice show clear visibility of the retinal vasculature in FA [3].

    - LAB MEDIA: Figure 1 Video editor: please highlight the images labeled as young

    - LAB MEDIA: Figure 1 Video editor: please highlight the images labeled as old

    - LAB MEDIA: Figure 1

  - In the ICGA images of young mice, the retinal vasculature is not visible, and the choroidal vessels appear faded [1]. In the ICGA images of old mice, partial retinal vasculature can be observed while the choroidal vessels appear faded [2].

    - LAB MEDIA: Figure 1 Video editor: please highlight the images labeled as IGCA in the young panel

    - LAB MEDIA: Figure 1 Video editor: please highlight the images labeled as IGCA in the young panel

  - Arteriolar CNV in old mice exhibits a larger CNV size and significantly more leakage compared to capillary CNV in young mice [1].

    - LAB MEDIA: Figure 2 Video editor: please highlight the old bar