Screenshot summary

65723_screenshot_1.mp4

    - 5.7.2. (Select Experiment from the toolbar on the instrument software) 00:01.35 – 00:06.00

    - 5.7.3. (Click Compensation setup | Create compensation controls | OK to select the experiment parameters) 00:06.01 – 00:14.25

    - 5.8.1 (Click on Unstained tube | Parameters in the Cytometer dialogue box | Adjust voltages by editing the values for each parameter| Load in the acquisition dashboard | acquire) 00:14.30 – 00:36.61

    - 5.8.2 (Drag P1 gate to the cell population) 0:59.5 – 01:19.40

    - 5.8.2 (Click Record in acquisition dashboard) 03:10.00 – 03:20.00

    - 5.9.1 (Program is being run) 03:21.00 – 03:26.00

65723_screenshot_2.mp4

- 5.9.2 (Click Experiment | Calculate compensation values | Link and Save) 00:04.20 – 00:32.55

65723_screenshot_5.mp4

- 5.10.1 (Select Mixed Tube | Record 10,000 cells) 00:16.00- 00:43.59

- 5.10.2 (Draw gates to select population of interest) 00:45.00 – 02:44.00

65723_screenshot_6.mp4

- 5.11.1 (Select Single Cell Precision in the sort layout dashboard | select the wells and populations | Set Target events to 2,500 | Sort)  00:00.02 – 01:30.00