# Screenshot summary for 65772

| Script Step # | Description | Filename | Timestamp |
| --- | --- | --- | --- |
| 2.10.1 | The observation area is being aligned with the objective using the software. | 65772_screenshot_1 | 0:01 - 0:31 |
| 2.11.2 | The Droplet-Dilution Find Focus option is being activated in the software. | 65772_screenshot_1 | 0:31 - 0:51 |
| 2.12.1 | The focus ring for gaps is being checked | 65772_screenshot_1 | 0:51 - 1:00 |
| 2.12.2 | The stage is being adjusted to remove air bubbles | 65772_screenshot_1 | 3:13 - 4:22 |
| 2.13 | Record is being clicked | 65772_screenshot_2 | 0:02 - 0:06 |
| 2.16.1 | The m-switch position is being switched to position 5. The sample line flow rate is being set to 8 ul/min, the pressure sample line is being set to below 350 mbar. | 65772_screenshot_3 | 0:05 - 0:27 |
| 2.17.1 | The fold difference in flow rates is being matched for the desired dilution. | 65772_screenshot_4 | 0:02 - 1:46 |
| 2.17.2 | The cleaning protocol is being executed post-experiment. | 65772_screenshot_5 | 0:02 - 0:33 |
| 3.1.3 | The data analysis software is being launched. | 65772_screenshot_6 | 0:02 - 0:15 |
| 3.2.1 | The plus button is being clicked, and the .mp calibrant file is being selected. | 65772_screenshot_7 | 0:01 - 0:10 |
| 3.2.2 | The software analyzing the file is being shown. | 65772_screenshot_7 | 0:10 - 1:03 |
| 3.3.1 | The Create mass calibration button is being pressed and the resulting dialog with the table of fitted peak values is being shown. | 65772_screenshot_8 | 0:02 - 0:19 |
| 3.4.1 | The table values are being changed, and the save button is being clicked. | 65772_screenshot_8 | 0:19 - 0:28 |
| 3.4.2 | The new calibration file displayed in the Mass Calibration panel is being shown. | 65772_screenshot_8 | 0:28 - 0:53 |
| 3.5.1 | The plus button is being clicked, and the .mp sample file is being selected. | 65772_screenshot_9 | 0:01 - 0:59 |
| 3.6.1 | The analysis tab is being selected, the histogram tab is being selected and the mass plot option is being chosen. The Bin width, Mass Limits, and other necessary parameters are being adjusted. | 65772_screenshot_10 | 0:01 - 0:44 |
| 3.7.1 | The plot is being customized, and the figures are being exported, or the workspace is being saved as a .dmp file. | 65772_screenshot_11 | 0:10 - 2:00 |