Screen Capture Summary_65788

- 65788_screenshot_1

- 2.4.1- 00:05-00:15- The 785 laser is being set to 5 mW

- 2.4.2- 00:15-00:25- The 60 x lens is being selected then high sensitivity is being clicked, and the speed is being set to low.

- 65788_screenshot_2

- 2.5.1- 00:04-00:47- The play button is being clicked and bead images are being seen.

- 2.6.1- 00:04-00:59- New scatterplot is being selected and a new scatterplot is being seen

- 2.6.2- 01:00-01:20 -The area in the brightfield channel corresponding to the SSC channel intensity is being selected.

- 2.6.3- 01:21-01:49- The calibration beads are being excluded from the selection.

2.6.4- 01:53-02:30-  The Load  button is being clicked.

- 65788_screenshot_3

- 2.7.1- 00:02-00:28-The sample name and location are being specified.

- 2.7.1- 00:29-00:33- The number of events is being specified.

- 65788_screenshot_4

- 2.8.1-00:05-00:10- The Record button is being clicked.

- 2.8.2- 02:50-03:04- The acquisition process stops.

- 65788_screenshot_5

- 2.9.1-00:02-00:23- The Return button is being pressed.

- 65788_screenshot_6

- 2.10.2- 00:00-00:14- File  is being clicked and the .rif file is being opened.

- 2.10.3- 00:15-00:20- Use acquisition analysis  is being selected and OK  is being pressed.

- 65788_screenshot_7

- 2.11.2-00:00-00:12- New Histogram is being selected and the population from acquisition is being selected.

- 2.11.3- 00:12-00:20- Gradient RMS  is being selected.

- 65788_screenshot_8

- 2.12.1-00:00-00:20- Create Line Region is being clicked to place a gate.

- 2.12.2- 00:21-00:28- A scatterplot of the area versus the aspect ratio is being created by clicking on New Scatterplot.

- 65788_screenshot_9

- 2.13.1- 00:00-00:12- Focused population is being selected then Area is being clicked.

- 2.13.2-00:13-00:26- Aspect Ratio is being selected.

- 65788_screenshot_10

- 2.14.1-00:00-00:34- Create Rectangle Region button is being selected an a gate is being drawn based on the area value for aggregate events population.

- 2.14.2- 00:35-01:14- Another rectangle is being drawn for the singles and small aggregates population.

- 65788_screenshot_11

- 2.15.1- 00:00-01:36- File is being clicked followed by Save as Template.ast and then the next sample file is being opened in the same template.

- 65788_screenshot_12

- 2.16.1- 00:00-00:15- A histogram of the area of the aggregation events population is being plotted.

- 2.16.2- 00:16-00:37- The data analysis is being saved by clicking on File and choosing Save as Template

- 2.16.3- 00:48-01:45- The next sample file is being opened under the same template.