# Submission ID #: 65981

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20124253

# Title: Establishment of an Ex Vivo Lung Perfusion Rat Model for Translational Insights in Lung Transplantation

# Authors and Affiliations:

Paolo Oliveira*1, Keiji Yamanashi*1, Aizhou Wang1, Marcelo Cypel1,2

1 Toronto General Hospital Research Institute, University Health Network

2 Department of Surgery, University of Toronto

*These authors contributed equally

# Corresponding Authors:

Marcelo Cypel					Marcelo.Cypel@uhn.ca

# Email Addresses for All Authors:

Paolo Oliveira					Paolo.Oliveira@uhn.ca

Keiji Yamanashi				 jiike6180@gmail.com

Aizhou Wang					aizhou.wang@uhn.ca

Marcelo Cypel					Marcelo.Cypel@uhn.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

Our microscope is equipped with a camera port. Microscope Leica M651 (Camera Hitachi HV-D30).

SCOPE: 2.6.2 and 2.7.
Videographer: Please film all shots labeled SCOPE using a SCOPE kit

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes.

# Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/account/file-uploader?src=20124253

3. Filming location: Will the filming need to take place in multiple locations?   No.

Current Protocol Length

Number of Steps:  15

Number of Shots:  40

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

  - Paolo Oliveira: This study establishes a reproducible rat EVLP model to investigate ischemia-reperfusion injury, inflammatory signaling, and donor graft function, aiming to evaluate, preserve, and repair lungs ex vivo for improved transplantation outcomes.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What are the most recent developments in your field of research?

  - Paolo Oliveira: The most recent developments include using EVLP to assess, recondition, and even treat donor lungs before transplantation.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:2.2

What research gap are you addressing with your protocol?

  - Paolo Oliveira: Our protocol addresses the need for cost-effective, reproducible models for translational lung transplant research.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:2.13

How will your findings advance research in your field?

  - Paolo Oliveira: Our findings provide a reliable small-animal EVLP model to test new therapies and improve donor lung evaluation and preservation.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:3.2

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Animal Care Committee at the University Health Network

# Protocol

- Ex Vivo Lung Perfusion System of Rat Lungs

Demonstrator: Paolo Oliveira

  - To begin, check that all transducers are connected to the isolated perfusion organ equipment and the data acquisition system [1]. Then launch the data acquisition software [2].

    - WIDE: Talent checking the connection of transducers to the isolated perfusion organ equipment and data acquisition system

    - SCREEN : The data acquisition software is being launched. NOTE: Add missing media title card

  - Prior to perfusion, fill the ex vivo lung perfusion or EVLP (E-V-L-P) circuit with 150 milliliters of supplemented Steen solution [1-TXT]. Set the warm water bath to 20 degrees Celsius [2] and circulate the water to warm up the EVLP system [3].

    - Talent fills the EVLP circuit with the supplemented Steen solution. TXT: Steen Solution: Sodium Heparin (1000 USP); Cefazolin (50 mg); Methylprednisolone (50 mg)

    - Talent sets the water bath to 20 °C.

    - Shot of water being circulated into the EVLP system.

  - Orotracheally intubate an anesthetized rat [1-TXT]. Next, connect the tracheal tube to the small-animal ventilation system to ventilate the rat [2].

    - Talent intubates an anesthetized rat orotracheally. TXT: Anesthesia: Ketamine (50 mg/kg) – Xylazine (5 mg/kg) Injection (i.p)

    - Shot of the tracheal tube being connected to the small animal ventilation system.  VIDEOGRAPHER’S NOTE:  2.3.2 – take 2 shows monitor 
AND
TEXT ON PLAIN BACKGROUND: 
Tidal Volume: 10 mL/kg
Rate: 60 breaths/min
FiO2: 0.5
PEEP: 2 cm H2O
Video Editor: Please place both shots side by side

  - Place the rat in a supine position [1]. With a pair of scissors and forceps, enter the peritoneal cavity [2] and carry the incision cranially to perform a median laparotomy [3].

    - Talent places the rat in a supine posture.

    - Shot of the peritoneal cavity being entered into. VIDEOGRAPHER’S NOTE:  2.4.2 – includes all shots until 2.5.1

    - Shot of the incision being increased cranially to perform a median laparotomy.

  - Now, inject sodium heparin into the portal vein [1]. Enter the thoracic cavity through the xyphoid process [2]. and cautiously open the diaphragm radially, without damaging the lung [3]. Then cranially resection the sternum [4].

    - Talent injects sodium heparin into the portal vein.

    - The thoracic cavity is being entered via the xyphoid process. VIDEOGRAPHER’S NOTE:   2.5.2 – slated as 2.5.3, include shots until 2.5.4

    - The diaphragm is being opened radially.

    - The sternum is being resectioned.

  - To retrieve the heart and lung block, make an incision on the inferior vena cava, along the apex of the left heart [1]. With a pair of micro-scissors, make an anterior incision in the right ventricular outflow tract [2].

    - Shot of an incision being made on the IVC, along the apex of the left heart. VIDEOGRAPHER’S NOTE:  2.6.1 – changed to scope shot, includes all scope shots until 2.7.2, look for shot in scope folder

    - SCOPE: Talent makes an incision on the right ventricular outflow tract with microscissors.
Videographer: Please film this shot using a SCOPE kit

  - Then insert an 18-gauge intravenous catheter into the pulmonary trunk [1] and flush the lungs with 20 milliliters of low potassium dextran or LPD (L-P-D) solution [2-TXT].

    - SCOPE: Talent inserts an 18 G intravenous catheter into the pulmonary trunk.

    - SCOPE: Shot of LPD being injected into the lungs. TXT: LPD solution with prostaglandin E1 (10 mg/mL) 
Videographer: Please film these shots using a SCOPE kit

  - Immediately after flushing, clamp the lower third of the trachea at the end of inspiration to preserve the lungs in an inflated state [1]. Then harvest the lung [2] and place it in LPD solution for storage [3].

    - Shot of the trachea being clamped for lung preservation. VIDEOGRAPHER’S NOTE:  2.8.1 – combined with 2.8.2

    - Shot of the lung being harvested.

    - Shot of the lung being placed in LPD solution.

  - To begin lung perfusion, first secure a pre-tied 0 (zero) silk ligature underneath the main pulmonary artery and around the ventricles [1]. Connect the pulmonary artery cannula to the inflow line of the EVLP system [2].

    - Talent places a pre-tied 0 silk ligature under the main PA and ventricles.

    - Shot of the PA cannula being connected to the inflow line of the EVLP system. VIDEOGRAPHER’S NOTE:  2.9.2 – combined with 2.10.1

  - Start the peristaltic pump at 10% of maintenance flow, ensuring the removal of any air in the cannula [1]. Secure the inflow cannula into the main pulmonary artery [2]. Then insert the drainage cannula from the apex of the heart into the left atrium [3].

    - Talent turns on the peristaltic pump to eliminate air in the cannula.

    - Talent places the inflow cannula into the main PA.

    - Shot of the drainage cannula being inserted from the heart apex into the left atrium.  VIDEOGRAPHER’S NOTE:  2.10.3 – shot in 4K, includes all shots until 2.12.3, 2.11.2 and 2.12.1 shot order switched

  - With a pair of forceps, gently dilate the mitral valve, to aid the cannulation [1]. Connect the left atrial cannula to the outflow line of the system [2].

    - Shot of the mitral valve being gently dilated with a pair of forceps.

    - Talent connects the LA cannula to the outflow line of the system.

  - Now make a small hole in the trachea [1] and insert the tracheal cannula [2]. Connect the tracheal cannula to the ventilation line of the system [3].

    - Shot of a small hole being made in the trachea.

    - Talent inserts the tracheal cannula into the tracheal hole.

    - Shot of the tracheal cannula being connected to the ventilation line of the EVLP system.

  - Gradually increase the perfusion flow rate to attain 20% of the cardiac output [1]. Release the tracheal clamp 20 minutes after perfusion initiation [2]. Then start lung ventilation followed by EVLP gas flow [3-TXT].

    - SCREEN: The perfusion flow rate is being increased to 20% CO VIDEOGRAPHER’S NOTE:  2.13.1B – added shot in 4K, take 1 shows closing chamber, take 2 shows lung in chamber

    - Shot of the tracheal clamp being released. VIDEOGRAPHER’S NOTE:  2.13.2 – shot in 4K

    - SCREEN: The lung ventilation and EVLP gas flow is being initiated. TXT: Maintain inflow perfusate PCO2 between 35 - 45 mmHg NOTE: Add missing media title card

  - Record the dynamic lung compliance and pulmonary vascular resistance every hour during EVLP [1]. Take perfusate samples from the sample port every hour [2]. Flash-freeze the samples in liquid nitrogen for further analysis [3].

    - SCREEN: The hourly dynamic lung compliance and pulmonary vascular resistance values are being seen, in a spreadsheet. NOTE: Add missing media title card

    - Talent extracts the perfusate samples from the sample port, using syringes.

    - Shot of the perfusate samples being placed in liquid nitrogen to flash freeze. VIDEOGRAPHER’S NOTE:  2.14.3 – take 1 and 2 transferring samples, take 3 placing in nitrogen

  - After ceasing perfusion, clamp the trachea to maintain the lungs in an inflated state [1]. Then isolate lung samples in tubes [2]. Flash freeze the samples in liquid nitrogen [3].

    - Shot of the trachea being clamped to keep lungs inflated.

    - Talent isolates the lung samples into cryotubes.

    - Shot of the lung samples being placed in liquid nitrogen.

# Results

- Results

  - All lungs with CIT (C-I-T) ranging from 20 minutes to 18 hours could be perfused for 4 hours [1-TXT]. Compliance gradually decreased in the 18-hour CIT group over the perfusion period [2].

    - LAB MEDIA: Figure 2 TXT: CIT: Cold Ischemic Time

    - LAB MEDIA: Figure 2A

  - No significant differences in vascular resistance, lung graft oxygenation, and glucose levels were observed for the groups [1]. Lactate values tended to increase over time with higher values observed at longer CIT [2].

    - LAB MEDIA: Figure 2B-D	Video Editor: Please sequentially highlight images from B to D

    - LAB MEDIA: Figure 2E	Video Editor: Please emphasize the black and dark blue curves

  - All groups showed similar values of perfusion electrolytes [1] and level of edema formation, with the 24-hour group showing severe edema [2].

    - LAB MEDIA: Figure 2F-H

    - LAB MEDIA: Figure 2J	Video Editor: Please emphasize the image labeled 24-h CIT

### 1. Transducer

Pronunciation link:
https://www.merriam-webster.com/dictionary/transducer
IPA (American): /trænˈdjuːsər/
Phonetic Spelling: tran-DYOO-sir

### 2. Perfusion

Pronunciation link:
https://www.merriam-webster.com/dictionary/perfusion
IPA (American): /pərˈfjuː ʒən/
Phonetic Spelling: per-FYOO-zhuhn

### 3. Acquisition (as in "data acquisition")

Pronunciation link:
https://www.merriam-webster.com/dictionary/acquisition
IPA (American): /ˌækwəˈzɪʃən/
Phonetic Spelling: ak-wuh-ZISH-uhn

### 4. Ex vivo

Pronunciation link:
https://www.howtopronounce.com/ex-vivo
IPA (American): /ˌɛks ˈvaɪ.oʊ/
Phonetic Spelling: eks-VY-oh

### 5. EVLP (abbreviation for Ex Vivo Lung Perfusion)

Pronunciation link:
No confirmed link found.
IPA (American): /i-i-vi-ɛl-pi/
Phonetic Spelling: ee-vee-el-pee

### 6. Steen (as in Steen solution)

Pronunciation link:
https://www.xvivogroup.com/products-services/steen-solution/
(company page with proper name usage) jhltonline.orgNICE+1lungbioengineering+6ScienceDirect+6NICE+6Biology Insights+5XVIVO+5xvivoperfusion.mkdev.nu+5
IPA (American): /stiːn/
Phonetic Spelling: steen

### 7. Orotracheally

Pronunciation link:
No confirmed link found.
IPA (American): /ˌɔː.roʊ-trəˈkiː.əl.i/
Phonetic Spelling: OR-oh-truh-KEE-uh-lee

### 8. Intubate

Pronunciation link:
https://www.merriam-webster.com/dictionary/intubate
IPA (American): /ɪnˈtuː.beɪt/
Phonetic Spelling: in-TOO-bayt

### 9. Laparotomy

Pronunciation link:
https://www.youtube.com/watch?v=nywApm14uzw Cambridge Dictionary+4XVIVO+4SpringerLink+4YouTube
IPA (American): /ˌlæp.əˈrɒt.ə.mi/
Phonetic Spelling: lap-uh-ROT-uh-mee

### 10. Xyphoid (as in xiphoid/xyphoid process)

Pronunciation link:
No confirmed link found.
IPA (American): /ˈzɪf.ɔɪd/
Phonetic Spelling: ZIF-oyd

### 11. Heparin

Pronunciation link:
https://dictionary.cambridge.org/us/pronunciation/english/heparin
IPA (American): /ˈhɛp.ə.rɪn/
Phonetic Spelling: HEP-uh-rin en.wikipedia.org+6Cambridge Dictionary+6YouTube+6

### 12. Apex (as in “apex of the heart”)

Pronunciation link:
https://www.merriam-webster.com/dictionary/apex
IPA (American): /ˈeɪ.peks/
Phonetic Spelling: AY-peks

### 13. Cannula

Pronunciation link:
https://www.merriam-webster.com/dictionary/cannula
IPA (American): /ˈkæn.jə.lə/
Phonetic Spelling: KAN-yuh-luh

### 14. Ventilate (as in ventilation)

Pronunciation link:
https://www.merriam-webster.com/dictionary/ventilate
IPA (American): /ˈvɛn.tə.leɪt/
Phonetic Spelling: VEN-tuh-layt

### 15. Prostaglandin (as in “prostaglandin E₁”)

Pronunciation link:
https://www.merriam-webster.com/dictionary/prostaglandin
IPA (American): /ˌproʊs.təˈglæn.dɪn/
Phonetic Spelling: pros-tuh-GLAN-din