Screenshot_1.mp4

4.2.2	SCREEN: The sampling rate is set at 2.00 kHz. The channels are being disabled. 00:00-00:10 and 00:23-00:35

Screenshot_2.mp4

4.3.1	SCREEN: The lower bandwidth is being set to 2Hz, and the upper bandwidth is being set to 100 Hz in the hardware window. 00:00-00:09

4.3.2 	SCREEN: The low-pass filter is being to 100 Hz filters, and the high-pass filter is being set to 2 Hz in the software. 00:09-00:18

Screenshot_3.mp4

    - SCREEN: Select File Name is being clicked and the storage path is being chosen, 00:00-00:08

    - SCREEN: The record button is being pressed. 00:08-00:14

Screenshot_4.mp4

    - SCREEN: The habituation and baseline recording sessions are being conducted. 00:00-00:10

4.5.3	SCREEN: The recording is being performed. 00:20-00:30