- 66117_screenshot_1.mp4

- 2.12.1.1 (Put water into the microscope) 0:00-0:05

- 2.12.1.2 (Click Record and Calibration | Measuring water signal) 0:06-0:29

- 2.12.1.3 (Put methanol into the microscope) 0:30-0:34

- 2.12.1.4 (Click Record and Calibration | Measuring methanol signal) 0:35-1:00

- 66117_screenshot_2.mp4

- 2.12.2.1 (adjust laser illumination point to the second pair of somites under bright-field imaging with 4x objective lens) 0:00-0:17

- 2.12.2.2 (Switch to 40x objective lens | Fine adjustment of the laser point to the middle of the neural tube) 0:18-0:54

- 2.12.2.3 (Unblock the laser beam |Adjust the focal plane) 0:55-1:18

- 2.12.2.4 (Click Acquisition | Scan the embryo and acquire a Brillouin image of the embryo | Adjust the scale bar) 1:19-6:50

- 66117_screenshot_3.mp4

- 2.14.1.1 (Set the file path | Load water and methanol signal) 0:00-0:10

- 2.14.1.2 (Click Set Region | Select the region with four dots for calculating calibration parameters | Save calibration results) 0:11-0:25

- 2.14.1.3 (Load embryo scanning data | Click auto to automatically get processing parameters) 0:26-0:37

- 2.14.1.4 (Click Process to reconstruct the Brillouin image | Save the image) 0:38-1:17