Screenshot Summary

- 66118_screenshot_1

  - 2.5.1. Selecting the Doppler Acquisition Mode and enabling the external trigger.

- 66118_screenshot_2

  - 2.7.1. In the sample monitor window, clicking Start and Endpoints of the Line of Interest and specifying the scan region.

- 66118_screenshot_3

  - 2.8.1. Setting scanning path to 1523 pixels, depth to 1024 pixels, and number of B-scans to 50.

- 66118_screenshot_4

  - 2.9.1. Clicking the Scan button and turning ON the switch.

(OCT and OCE images appear right after the Scan button is clicked)

- 66118_screenshot_5

  - 2.10.1. Checking/adjusting the reference intensity and adjusting the sample position for optimal focus.

- 66118_screenshot_6

  - 2.11.1. Increasing the higher value of the left-hand side color bar and decreasing the lower value of the right-hand side color bar.

- 66118_screenshot_7

  - 2.12.1 and 2.12.2 (This screenshot shows the OCE image when the function generator is configured to produce a single frequency sinusoidal voltage at 4 kHz and 10 V. The process of configuring the function generator cannot be captured with screenshots.)

- 66118_screenshot_8

  - 2.13.1. Clicking the Record button and capturing/recording OCT and OCE images. 00:00-00:17

  - 2.13.2. Changing the frequency values and capturing/recording cross-sectional images of the elastic wave field. 00:17-00:37