66154_screenshot_1_new

    - SCREEN: The Main Interface program is being opened. (00:00 – 00:10)

    - SCREEN: Pressurize all control channels is being clicked.(00:11-00:21)

66154_screenshot_2_new

    - SCREEN: The software is being programmed to apply 400 mbar pressure to each of the inlet aqueous reagents. (00:00 – 00:16)

    - SCREEN: The control channels are being depressurized individually. (00:17 – 00:31)

66154_screenshot_3_new

    - SCREEN: The corresponding buttons on the program in the box labeled Control Channels Manual Pressurization are being pressed, to actuate individual valves. (00:00 – 00:12)

    - SCREEN: Depressurize All Control Channels is being clicked to simultaneously depressurize the channels. (00:13 – 00:23)

66154_screenshot_4_new

    - SCREEN: Pressurize All Control Channels is being clicked. TXT: The device is now ready for use. (00:00 – 00:11)

66154_screenshot_5_new

    - SCREEN: The composition, sequence and replicates of each plug population is being encoded into a .csv file with control channels being marked with 0 or 1. (00:00 – 00:20)

    - SCREEN: The Automatic Experiment is being seen in the Main interface program. (00:21 – 00:32)

    - SCREEN: Folder icon is being clicked on the Experiment File tab to load the .csv file. (00:33 – 00:43)

66154_screenshot_6_new

    - SCREEN: Iterations of experiment, Time of depressurization, and Time of pressurization are being input. (00:00 – 00:11)

    - SCREEN: The inlet channels corresponding to barcode production are being selected in the Barcode Inlets section and the duration for which they need to be opened is being entered. (00:12 – 00:22)

    - SCREEN: The barcodes input in the .csv file is being seen. (00:23 – 00:42)

66154_screenshot_7_new

    - SCREEN: The pressure of the inlet oil reagents is being reduced to 200 mbar. (00:00 – 00:11)

66154_screenshot_8_new

    - SCREEN: Run Experiment is being pressed. (00:00 – 00:11)