- 66470_screenshot_1

  - 2.2.1 (turning on the heating system) 00:00-00:15

  - 2.2.2 (Showing settings for Purging gas injection line) 00:15-00:45

- 66470_screenshot_2

  - 2.3.1 (Showing the end of the cantilever) 00:00-00:19

  - 2.3.2 (Holder being tilted to an angle 11 degrees) 00:19-00:35

- 66470_screenshot_3

  - 2.4.1 (adjusting the SEM to locate and focus on the cantilever's tip) 00:00-00:15

- 66470_screenshot_4

  - 2.6.1 (Software showing Initiating the tip growth process, Gas injection stopped, deposition is complete) 00:00-00:19

- 66470_screenshot_5

  - 2.7.1 (SEM image acquired post growth) 00:00-00:16

- 66470_screenshot_6

  - 3.4.1 (Checking Excitation Enable) 00:00-00:10

- 66470_screenshot_7

  - 3.6.1 (Entering DC voltage in the configuration box in Excitation VI) 00:00-00:12

  - 3.6.2 (Input peak-to-peak AC input in Excitation VI) 00:12-00:23

- 66470_screenshot_8

  - 3.7.1 (Setting Z-controller VI to Contact Mode, clicking Start) 00:00-00:18

  - 3.7.2 (Generating force versus distance curve in Ramp VI) 00:18-00:32

- 66470_screenshot_9

  - 3.8.1 (Clicking Withdraw, Z-piezo being retracted) 00:00-00:10

  - 3.8.2 (Switching to PORT mode, turning on laser) 00:10-00:33

  - 3.8.2 (Setting frequency in PORT mode 9) 00:33-00:45

- 66470_screenshot_10

  - 4.2.1 (Setting Scan Size, Line Rate, Clicking Frame arrow) 00:00-00:22

- 66470_screenshot_11

  - 4.3.1 (Clicking Withdraw, cantilever being retracted) 00:00-00:10

- 66470_screenshot_12

  - 4.5.1 (Setting imaging parameters, starting imaging) 00:00-00:11

  - 4.5.2 (Adjusting imaging size and speed) 00:11-00:36

- 66470_screenshot_13

  - 4.6.1 (Setting input force setpoint) 00:00-00:25

  - 4.6.2 (Imaging being performed) 00:25-00:43