# Submission ID #: 66530

# Scriptwriter Name: Pallavi Sharma

# Project Page Link: https://review.jove.com/files_upload.php?src=20291698

Title: Disentangling Glycan-Protein Interactions: Nuclear Magnetic Resonance (NMR) to the Rescue

Landing Page Title (not for video use): Advanced NMR Techniques for Glycan-Protein Interaction Analysis

# Authors and Affiliations:

Sara Bertuzzi1, Ana Poveda1, Ana Ardá1,2, Ana Gimeno1,2*, Jesús Jiménez-Barbero1,2,3*

### 1CIC bioGUNE, Basque Research and Technology Alliance (BRTA), Derio, Spain

### 2lkerbasque, Basque Foundation for Science

### 3Centro de Investigacion Biomedica En Red de Enfermedades Respiratorias

# Corresponding Authors:

Jesús Jiménez-Barbero	(jjbarbero@cicbiogune.es)

Ana Gimeno 			(agimeno@cicbiogune.es)

# Email Addresses for All Authors:

(sbertuzzi@cicbiogune.es)

(apoveda@cicbiogune.es)

(aarda@cicbiogune.es)

(agimeno@cicbiogune.es)

(jjbarbero@cicbiogune.es)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/files_upload.php?src=20291698

3. Filming location: Will the filming need to take place in multiple locations?   Yes

Current Protocol Length

Number of Steps:  24

Number of Shots:  49

# Interviews

- Video 1: Author Spotlight: Unveiling the Structural and Dynamic Aspects of Glycan Molecular Recognition

Videographer: Obtain headshots for all authors.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Jesús Jiménez-Barbero: Our research delves into the study of diverse glycan-lectin systems, exploring their connections to health and disease. We merge methodologies from chemistry, biology, and biomedicine to deeply investigate their roles in immune responses to cancer, bacterial and viral infections.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: Figure 3

What are the most recent developments in your field of research?

  - Jesús Jiménez-Barbero: Recently, glycosciences marked groundbreaking milestones by transforming glycan design, synthesis, and the analysis of structural and molecular recognition aspects, from the atomic to the cellular level. These advances collectively set the stage for the flourishing of advanced glycan-based therapies.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What research gap are you addressing with your protocol?

  - Jesús Jiménez-Barbero: This protocol outlines the procedures for acquiring, processing, and analyzing two of the most powerful NMR methodologies employed in the NMR-glycobiology field. These methodologies complementarily offer precise information on the structural and dynamic aspects of molecular recognition of glycans.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 2.3

Videographer: Obtain headshots for all authors.

# Protocol Videos

- Video 2: Acquisition, Processing, and Analysis of 1H-Saturation Transfer Difference (STD) NMR to Characterize Protein-Glycan Interactions

Demonstrator: Ana Gimeno

Protocol

  - Begin by preparing a sample with a protein-ligand complex [1-TXT]. Then, using a pipette, carefully transfer 0.6 milliliters of the prepared solution into a 5-millimeter NMR (N-M-R) tube [2].

    - WIDE: Talent mixing the protein-ligand complex with all the required reagents in the frame. TXT: Glycan: Lectin molar ratios: 10:1-100:1; Protein concentrations: 0.01-0.2 mM Videographer: Please take a still image of talent performing this action. Make sure that it is at least a half-body shot with the talent's face visible and zoom out so we have room for cropping.

    - Talent transferring the solution into the NMR tube using a pipette.

  - To set up the NMR instrument to the required temperature, use the edte (E-D-T-E) command to open the temperature control monitor and adjust the desired temperature [1].

    - SCREEN: The temperature control monitor using the 'edte' command is being opened and the temperature is being set.

Authors: Please create screen capture videos of the shots labeled as SCREEN, create a screenshot summary, and upload the files to your project page as soon as possible: https://review.jove.com/files_upload.php?src=20291698

  - Then, Then, inject your sample into the magnet. To do that using an autosampler, use the command sx followed by the position number, n, corresponding to the position of the NMR tube in the autosampler tray.

    - SCREEN: The sx n command is being executed.

  - To lock on the solvent signal, type the lock command and select the appropriate solvent from the menu [1]. Use either the automatic module atma (A-T-M-A) or the manual module atmm (A-T-M-M) to complete the tuning and matching process [2].

    - SCREEN: Lock is being typed. The appropriate solvent is being selected from the menu.

    - SCREEN: The automatic module 'atma'/ the manual module 'atmm' is being started.

  - Now, using the topshim (Top-Shim) command, start the automatic shimming [1]. Then, execute the pulsecal (Pulse-cal) command to determine the proton 90-degree pulse [2].

    - SCREEN: The 'topshim' command is being used to start the automatic shimming process.

    - SCREEN: The 'pulsecal' command is being executed into the NMR system.

  - After that, create a new dataset and upload the STD (S-T-D) NMR pulse sequence [1]. Define the off- and on-resonance frequencies for the STD NMR experiment [2]. Check the AcquPars (Acqu-Pars) parameters in the ased (A-S-E-D) window to find the frequency list under the FQLIST (F-Q-List) entry [3].

    - SCREEN: A new dataset is being created, and the STD NMR pulse sequence is being uploaded.

    - SCREEN: The off- and on-resonance frequencies are being defined for the STD NMR experiment under under the FQ2list entry in the acqupars window.

  - Then, choose an on-resonance frequency in a spectral region devoid of glycan signals [1]. Set the off-resonance frequency in a region without any ligand or protein proton signals [2]. Define the shaped pulse to be used during the saturation time in the AcquPars parameters of the ased window [3].

    - SCREEN: An on-resonance frequency is being chosen in a spectral region devoid of glycan signals

    - SCREEN: The off-resonance frequencies is being selected in a region without any ligand or protein proton signals

    - SCREEN: The shaped pulse is being defined in the AcquPars parameters of the 'ased' window.

  - Afterwards, set the proton 90-degree pulse length [1]. Adjust the total saturation time and the relaxation delay to 3 seconds [2]. Set the number of scans to a multiple of 8 and dummy scans to 8 [3]. Then, set the number of points in F2 to 16k, 32k, or 64k and in F1 to 2 [4].

    - SCREEN: The 1H 90° pulse length is being set.

    - SCREEN: The total saturation time is being set to 2s. The relaxation delay is being set to 3.

    - SCREEN: The number of scans is set to a multiple of 8 and dummy scans set to 8.

    - SCREEN: The number of points in F2 is being set to 16k, 32k, or 64k and F1 is being set to 2.

  - Now, using the automatic command rga (R-G-A), set the receiver gain to avoid overflow [1]. Calculate the total experiment time using the expt (Experiment) command [2]. Finally, use the zg (Z-G) command to send the experiment for acquisition [3].

    - SCREEN: The receiver gain is being adjusted using rga command.

    - SCREEN: The total experiment time is being calculated using the 'expt' command.

    - SCREEN: The 'zg' command is being executed to start data acquisition.

  - After the experiment, perform the Fourier transform of the first fid [1] and select the destination of the processed spectra [2-TXT].

    - SCREEN: The Fourier transform of the first fid is being performed.

    - SCREEN: The destination of the processed spectra is being selected. TXT: Alternatively, use the rser 1 command to read the first fid

  - Then, using the lb (L-B) command, adjust the line broadening factor [1]. To manually phase the spectrum, access the Process tab and then the adjust phase submenu [2]. Click and drag on the corresponding button to perform zero and first-order corrections and save the phasing results [3].

    - SCREEN: The line broadening factor is being adjusted.

    - SCREEN: The Process tab is being clicked and adjust phase submenu is being selected.

    - SCREEN: The zero and first-order corrections are being performed and the phasing results are being saved.

  - After performing the Fourier transform for the second experiment, save the processed spectrum with a different code [1]. Load the two processed spectra with the multiple functions and, using the subtraction button available in the multiple visualization, subtract them [1].

    - SCREEN: The second spectrum is being saved with a different code.

    - SCREEN: The two processed spectra with the multiple function are being loaded and subtracted using the subtraction button.

  - Then, open the off-resonance spectrum and execute the .md (M-D) command to initiate the multiple display window [1]. Subsequently, upload the STD spectrum [2].

    - SCREEN: The off-resonance spectrum is being opened. The .md command is being executed.

    - SCREEN: The STD spectrum is being uploaded.

  - Next, conduct a comparative analysis of the frequencies and intensities of the signals present in the STD NMR spectrum [1].

    - SCREEN: The frequencies and intensities of the signals in the STD NMR spectrum are being compared.

  - In the off-resonance experiment, measure the signal intensities [1]. Navigate through the menu to select Process and then Integrate. Carefully define the regions of interest and record the integrals in a file [2].

    - SCREEN: The signal intensities are being measured in the off-resonance experiment.

    - SCREEN: The process is being selected, followed by Integrate. The regions of interest are being defined, and the integrals are being recorded in a file.

  - Similarly, measure the intensities in the STD NMR experiment, ensuring that identical parameters are used, and document these integrals in a separate file [1].

    - SCREEN: The intensities in the STD NMR experiment are being measured using identical parameters. The integrals are being documented in a file.

  - Alternatively, STD values can be determined by comparing signal intensities between the STD and off-resonance spectra.

  - 2.17.1. SCREEN: The intensities in the Off-resonance and STD spectra are being compared.

  - To calculate the relative STD as a percentage, assign a 100% value to the proton exhibiting the maximum STD intensity [1].

    - SCREEN: A 100% value is being assigned to the proton exhibiting the maximum STD intensity.

Representative Results

  - The proton-STD NMR spectrum for the interaction of N-Acetyllactosamine with human Galectin-7 [1] showed STD NMR signals indicating binding [2]. Moreover, signals belonging to protons in close contact with the protein showed up, allowing the delineation of the binding epitope [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video editor: Please highlight figure 3A

    - LAB MEDIA: Figure 3 Video editor: Please highlight figure 3B

- Video 3: 15N-Heteronuclear Single Quantum Coherence (HSQC) Titration Experiments to Monitor the Chemical Shifts of the 1H and 15N NMR Resonances

Demonstrator: Ana Poveda

Protocol

  - Begin by preparing the sample using the lectin of interest [1-TXT]. To create the buffered solution, use a mixture comprising 90% water and 10% deuterium oxide [2].

    - WIDE: Talent at the bench with the lectin sample and all the required reagents in the frame TXT: Ensure complete 15N labeling of receptor amino acids

    - Talent mixing H2O and D2O to prepare the buffered solution.

  - After acquiring the proton NMR spectrum, create a new dataset and select the pulse program hsqcetfpf3gp (H-S-Q-C-E-T-F-P-F-Three-G-P) [1]. Then, define the required experimental parameters [2].

    - SCREEN: A new dataset is being created and the 'hsqcetfpf3gp' pulse program is being selected.

    - SCREEN: The required experimental parameters are being defined.

  - Send the experiment for acquisition [1] and process the FID using the command xfb (X-F-B) [2].

    - SCREEN: The experiment is being sent for acquisition.

    - SCREEN: The FID is being processed using the command xfb.

  - Now, from the highly concentrated stock solution of the glycan, transfer an appropriate volume to the NMR tube containing the receptor [1]. Subsequently, record the spectra [2].

    - Talent transferring glycan solution to the NMR tube containing the receptor.

    - SCREEN: The spectra are being recorded.

  - Then, using supplementary software, generate a comprehensive list of protons and nitrogen-15 frequencies for all cross-peaks observed [1].

    - SCREEN: A list of 1H and 15N frequencies for all cross-peaks are being generated.

  - After that, calculate the maximum chemical shift perturbations [1]. Construct a 2D plot with the maximum chemical shift perturbations plotted on the vertical y-axis against the corresponding amino acid residue on the horizontal x-axis [2].

    - SCREEN: The maximum chemical shift perturbations are being determined.

    - SCREEN: The maxCSP is being plotted against amino acid residues on a 2D graph.

  - If the protein's 3D structure is available, open the corresponding PDB (P-D-B) file using the appropriate software [1]. Highlight the residues showing the highest maximum chemical shift perturbations in a distinct color to identify the probable binding site [2].

    - SCREEN: The PDB file is being opened in specialized software.

    - SCREEN: The residues with significant maxCSP are being colored to indicate the binding site.

Representative Results

  - Superimposition of the proton-Nitrogen-15 HSQC (H-S-Q-C) spectra recorded for the titration of N-Acetyllactosamine into human Galectin-7 solution [1] depicted several cross-peaks experiencing chemical shift changes, indicating interaction [2].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5 Video editor: Please highlight figure 5A

  - The most perturbed amino acids of hGalectin-7 are mapped into the 5gal (Five-Gal) PDB structure. The colored region likely represents the binding site [1].

    - LAB MEDIA: Figure 5 Video editor: Please highlight figure 5C