- 3.9.1_screenshot_1

  - Microscope software icon being clicked 00.00-00.40

  - Stage calibration is initiated 00.40-02.10

  - Objective is selected 02.20-02.43

- 3.10.1_screenshot_2

  - Choosing the Open Project window option and clicking the Create a New Project icon 00.00-00.06

  - Right click on the newly created project, select the Rename option in the dropdown menu and enter the name of the project file 00.06-00.29

- 3.10.2_screenshot_3

  - Acquisition window being opened 00.00-00.08

  - Turn on the pulsed white light laser 00.08-00.19

  - Excitation wavelength and the range of hybrid or resonance scanning detectors being set 00.19-01.33

  - Scan type is chosen 01.33 -01.47

- 3.11.1_screenshot_4

  - From the Acquisition window, FLIM mode is selected 00.00-00.12

  - White light laser pulse repetition rate is chosen 00.12-00.27

- 3.12.1_screenshot_5

  - Starting preview imaging in FAST LIVE mode 00.00-00.16

  - and adjusting the fine focus of the imaging object on a section of interest 00.16-00.28

- 3.12.2_screenshot_6

  - Adjusting the appropriate laser intensity 00.00-00.15

  - per pinhole size 00.15-00.35

  - and resolution 00.35-00.47

- 3.13.1_screenshot_7

  - Setting the coordinates, scan direction, and attributing them to Begin and End in the Z-stack window. Then, choosing Z-step size or the number of steps 00.00-00.51

- 3.14.1_screenshot_8

  - Images being captured 00.00-00.25

  - named 00.25-00.40

  - and imaging projects being saved 00.40 -00.55