Screenshot summary

- 66863_screenshot_1.mp4

  - 3.2.1. Air oxygen calibration for one chamber 0:00:03-00:00:14

  - 3.2.2. Close chamber 0:00:35-00:00:52

  - 3.3.2 Baseline TMRM being recorded prior to first TMRM injection 0:02:06-00:02:20

  - 3.4.2 Injecting TMRM 3 more times 0:03:18-00:06:57 and calibrating fluo-sensor 0:07:00-00:07:40

- 66863_screenshot_2.mp4

  - 3.5.2. Oxygen flux and TMRM stabilized, label signal as “pre-cell” 0:00:08-00:00:31

  - 3.5.3.  label signal “cell” when oxygen flux and TMRM stabilize after injecting cells 0:02:48-00:03:11

- 66863_screenshot_3.mp4

  - 3.8.1. Calculating background ratio for blank experiments 0:00:11-00:00:15

  - 3.8.2 Calculating average background ratio 0:00:16-00:00:19

  - 3.9.1 Calculating background for a sample 0:00:23-00:00:29

  - 3.9.2 Correcting for background 0:00:30-00:00:35

  - 3.10.1 Correcting for FCCP 0:00:36-00:00:41

  - 3.10.2. Plotting ADP sensitivity curve 0:00:44-00:00:47

  - 3.11.1. Data fitting into non linear regression (same video as 3.10.2)

- 66863_screenshot_4.mp4

  - Starting experimental file 0:00:02-0:01:09

  - 3.3.1. Setting fluorometer gain and intensity to 1000 0:00:08-00:00:27

  - Setting chamber volume 0:00:28-00:00:32

  - Adjusting layout 0:00:42-00:00:56

- 66863_screenshot_5.mp4

  - Taking data from DatLab to Excel for analysis 0:00:02-0:00:25

  - 3.8.1. Calculating background ratio for blank experiments 0:00:28-00:01:25

  - 3.8.2 Calculating average background ratio 0:01:26-00:01:40

  - 3.9.1 Calculating background for a sample 0:01:41-00:02:27

  - 3.9.2 Correcting for background 0:02:29-00:02:44

  - 3.10.1 Correcting for FCCP 0:02:46-00:03:06