Nummerierung entsprechend des JOVE Protokolls!

5.2.1.Navigate to the local copy of the DARTS repository

(cd path/to/DARTS) that contains the main.py file.

Make sure that the conda environment is activated

(conda activate DARTS). 00:00-00:10

5.2.2Execute DARTS by typing python main.py in the

terminal window and pressing Enter. 00:11-00:20

5.2.3.In the graphical user interface (GUI), specify the

source and results directory as well as the image

format in the upper left section 00:21-00:38

5.2.4-5.2.5. Define the properties of measurement, such as the

scale (pixels per micrometer), frame rate, cell type,

etc. The processing pipeline can be assembled

based on the specific image data and research

question.

Save the settings on the computer before clicking on

Start. A more detailed description of the GUI can be

found in the DARTS documentation. 00:39-01:58

5.3. define bead contacts:

1. Use the slider to pinpoint the time of contact between

a bead and a cell of interest.

2. In the options menu on the right-hand side, select

bead contact: x, y, t.

3. Select the spot on the left side of the image where

the cell and bead make contact.

4. Select Choose cell by clicking a point inside.

Click on the cell stimulated by this bead, preferably

in the center.

5. Click on ADD bead contact.

6. Repeat steps 5.3.1- 5.3.5 for each additional bead

contact in this file. Once all bead contacts are

defined, click on the Continue button. 01:59-02:27

5.4.1 show results 02.28-02:41

5.4.2-5.4.3 To create dartboards, navigate to the folder /

src/analysis/ inside the DARTS folder (pattern:

cd path/to/DARTS/src/analysis) containing the

script DartboardPlotGUI.py. Then, type python

DartboardPlotGUI.py and press enter.

Navigate to Dartboard image, open it

02:42-04:01