# Screenshot summary

67203_screenshot_1

- 3.3.1 (The computer screen showing the compatible software starting up, ready to measure bite force with the transducer connected) 00:00-00:09

- 3.3.2 (Display of the NBIT RSD-V2.6.3 program with the oscillograph visible on the computer screen) 00:10-00:29

- 3.4.1 (The program interface with Attended Mode: UDP selected) 00:30-00:50

- 3.4.2 (Display of the Local IP selection) 00:51-01:04

- 3.4.3 (The Search button being clicked to find Device IP and Port) 01:05-01:31

- 3.4.4 (The Target IP and Target Port appearing, followed by a click on Open) 01:32-02:00

- 3.5.1 (The Y-axis being set by clicking on 10 in Range Y. The Set button being clicked. The Acquisition button being clicked) 02:01-02:42

- 3.6.1 (The program interface shows only Channel 1 selected for the blue graph, with other channels turned off) 02:43-03:03

- 3.6.2 (The Play button being clicked to start recording bite force) 03:04-05:10

- 3.8.2 (The Pause button is clicked to stop recording, and the Save button is clicked to save the recorded data) 05:11-05:45

- 3.9.1 (The Excel file with the data in the second column ranked from maximum to minimum) 05:46-07:36

- 3.9.2 (The top five values of bite force amplitude highlighted for further analysis) 07:37-08:04

- 3.10.1 (The Channel 1 value displayed on the program) 08:05-08:17

- 3.10.2 (The calculation process of adjusting the top five bite force values using the Channel 1 value to get the relative bite force values) 08:18-09:12

- 3.10.3 (The final average relative bite force calculated for one mouse) 09:13-09:35

67203_screenshot_2

- 4.2.1 (The electronic von Frey test machine being turned on) 00:00-00:19

- 4.2.2 (The MAX button being pressed, followed by setting the unit to 500 grams) 00:20-00:34

- 4.2.3 (The value being set to zero. TXT: Ensure the force value on the screen is at 0) 00:34-00:51

- 4.4.1 (The value of force or stimulus intensity in grams being recorded on the screen) 00:51-01:07

- 4.5.1 (The value of force being reset to zero on the screen) 01:09-01:22