Screen capture summary

#67257

67257_Screenshot_1.mp4

    - SCREEN: Software settings showing the configuration of the TTL signal for synchronization. TXT: Use a custom or externally triggered pulse generator for high-voltage pulses 00:00-00:29

67257_Screenshot_2.mp4

    - SCREEN: Brightfield view of cells with clear focus, located between the electrodes. 00:00-00:23

67257_Screenshot_3.mp4

    - SCREEN: Illumination settings displaying excitation at 635 nanometers for 10 ms and detection at 700 nanometers. TXT: Do not apply pulses during the initial acquisition to correct dye photobleaching in later acquisitions 00:00-00:16

    - SCREEN: Time-lapse acquisition showing 80 images at 25 frames per second. No pulse is applied. 00:17-00:26

67257_Screenshot_4.mp4

    - SCREEN: Time-lapse acquisition with a single pulse applied at the 10th image. 00:00-00:23

    - SCREEN: Display of pulse voltage settings ranging from 63 volts to 200 volts. 00:24-00:29

    - SCREEN: Calculation of the electric field based on the applied voltage and electrode distance. 00:30-00:31

67257_Screenshot_5.mp4

    - SCREEN: Display of the software interface with the option to export recordings as TIFF files. 00:00-00:30

67257_Screenshot_6.mp4

    - SCREEN: The time lapse recordings are being placed in a single folder. 00:00-00:02

    - SCREEN: The files are being renamed according to their electric field values. TXT: Use the format:  `<value of E>Vcm 00:02-00:10

    - SCREEN: The experiment with no pulse applied is being renamed 00:11-00:23

67257_Screenshot_7.mp4

    - SCREEN: The application is being opened. TXT: https://github.com/bor-kos/fluorescenceActionPotential 00:00-00:05

    - SCREEN: Select data folder is being clicked. 00:06-00:17

67257_Screenshot_8.mp4

    - SCREEN: Application interface displaying the pixel selection process with low and high threshold sliders. 00:00-00:19

67257_Screenshot_9.mp4

    - SCREEN: The analysis data tab is being clicked, and a table with extracted parameters is being shown. 00:00-00:09

    - SCREEN: Graphs of relative fluorescence for each electric field are being shown. 00:09-00:14

    - SCREEN: The graphs for a given electric field are being selected from the drop-down menu 00:15-00:26

67257_Screenshot_10.mp4

    - SCREEN: The graphs are being checked. Clear AUTO Peaks option being selected and 00:00-00:04

    - SCREEN: Manual peak correction performed on the graph. 00:05-00:10

67257_Screenshot_11.mp4

    - SCREEN: Rerun AUTO Peak Detection option selected, and the adjusted parameters being displayed. 00:00-00:06

67257_Screenshot_12.mp4

    - SCREEN: The Export Data option is selected, and the screen shows the export file types (.mat, spreadsheet, PNG) saved in the selected folder. 00:00-00:31