# Submission ID #: 67291

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20523803

# Title: One-step Extraction and Zymographic Analysis of Bacterial Gelatinases

# Authors and Affiliations:

# Sandhanakrishnan Cattavarayane, Dhandapani Gunasekaran, Abhijit Sarma, Homen Phukan, Banshanlang Marboh, Suneetha Hariharan, Madathiparambil Gopalakrishnan Madanan

# Regional Medical Research Centre, Indian Council of Medical Research, Port Blair

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Madathiparambil Gopalakrishnan Madanan	madanan.mg@icmr.gov.in madananmg@gmail.com

# Email Addresses for All Authors:

Sandhanakrishnan Cattavarayane 			sandhana.krishnan@gmail.com

Dhandapani Gunasekaran 				gunasekaran.vpm1990@gmail.com

Abhijit Sarma 						abhijit.sarma2012@gmail.com

Homen Phukan 					biotechphukan16@gmail.com

Banshanlang Marboh 					banshanmarboh1998umtasor@gmail.com

# Suneetha Hariharan 					suneethasujith@gmail.com

# Madathiparambil Gopalakrishnan Madanan	madanan.mg@icmr.gov.in madananmg@gmail.com

## Author Questionnaire

1. We have marked your project as author-provided footage, meaning you film the video yourself and provide JoVE with the footage to edit. JoVE will not send the videographer. Please confirm that this is correct.

☐ Correct

☐ Incorrect

2. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

3. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen captured video files to your project page as soon as possible.

4. Proposed filming date: To help JoVE process and publish your video in a timely manner, please indicate the proposed date that your group will film here: MM/DD/YYYY

DO NOT use this draft script for filming. Please wait until your script is finalized to begin the filming process.

When you are ready to submit your video files, please contact our Content Manager, Utkarsh Khare.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  47

# Introduction

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that you/your videographer will capture.

- Extraction of Bacterial Gelatinases

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, grow the organism in Ellinghausen McCullough Johnson Harris or EMJH medium containing 10 milligrams per milliliter of BSA at 30 degrees Celsius [1]. Take 10 milliliters of Leptospira culture in the mid-logarithmic phase of growth containing 3.5 × 10⁸ cells per milliliter for proteinase extraction [2].

    - WIDE: Talent removing the culture from the incubator.

    - Talent withdrawing 10 milliliters of Leptospira culture from the flask into a sterile tube.

  - Centrifuge the culture at 6,000 g for 10 minutes [1]. Discard the supernatant into a container for decontamination [2].

    - Talent placing the tube into the centrifuge and starting the run.

    - Talent pouring the supernatant into a labeled decontamination container.

  - Suspend the pellet in 1 milliliter of wash buffer and transfer it to a 1.5 milliliter microcentrifuge tube [1]. Centrifuge the tube at 6,000 g for 5 minutes and repeat the wash once more [2].

    - Talent adding wash buffer to the pellet and pipetting to resuspend.

    - Talent placing the tube in a cnetrifuge.

  - Now, add 100 microliters of extraction buffer to the Leptospira pellet and vortex for 5 minutes [1]. Incubate the mixture at 4 degrees Celsius for 1 hour [2]. Then, centrifuge the suspension at 15,000 g at 4 degrees Celsius for 10 minutes [3]. Post-centrifugation, collect the extracted protein [4-TXT].

    - Talent pipetting extraction buffer into the tube and vortexing.

    - Talent placing the tube in a cold incubator or ice box.

    - Talent placing the sample in a centrifuge.

    - Shot of transferring the extract supernatant into a fresh tube. TXT: Discard and decontaminate the pellet

  - Mix the extracted protein with an equal volume of 2x sample buffer for direct use in zymography [1]. If the protein concentration is low, incubate it with four times its volume of acetone overnight at minus 20 degrees Celsius [2]. The next day, centrifuge the sample at 10,000 g for 10 minutes [3]. After air drying the resulting pellet, resuspend it in PBS [4]. Dissolve the protein in the desired buffer and store it at minus 20 degrees Celsius for up to 1 month [5].

    - Talent adding protein extract with 2x sample buffer and mixing by pipetting.

    - Talent adding cold acetone to the sample and placing it in a freezer.

    - Talent placing the sample in a centrifuge.

    - Talent adding PBS to the dried sample and resuspending by pipetting.

    - Talent transferring the solution into labeled microcentrifuge tube placing it in the freezer.

- Zymography of Gelatinases

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare the resolving gel mix for sodium dodecyl sulfate-polyacrylamide gel electrophoresis with co-polymerized gelatin [1]. Pour the resolving gel mix into the casting chamber up to approximately 3 to 5 millimeters below the mark for the bottom of the wells [2-TXT]. Slowly pour water to form an even 1-millimeter layer over the gel and remove any bubbles [3] and allow the gel to set for 1 hour [4].

    - Talent swirling the resolving gel solution in a beaker gently.

    - Shot of pouring the gel solution into the gel casting apparatus.

    - Shot of slowly pouring water on top of the gel to form a uniform layer.

    - Talent setting a timer after placing the gel aside.

  - Before preparing the stacking gel, tilt the setup to decant the water from the top of the set resolving gel [1] and blot with a narrow strip of filter paper [2]. Add 0.03 milliliters of 10 percent ammonium persulfate to the stacking gel mix and stir gently to avoid bubble formation [3].

    - Talent tilting the gel cassette.

    - Talent blotting water with filter paper.

    - Talent pipetting ammonium persulfate into the stacking gel mix and stirring gently.

  - Now, pour the stacking gel mix onto the resolving gel and immediately place the comb without trapping air bubbles [1]. Wait at least 3 hours for complete polymerization and crosslinking of the gelatin [2]. Next, remove the lower spacer [3] and fix the gel into the electrophoresis apparatus [4].

    - Talent pouring stacking gel onto resolving gel and placing comb without bubbles.

    - Close-up of gel resting.

    - Talent removing spacer.

    - Talent mounting the gel onto the electrophoresis unit.

  - Then, slowly place the gel in the tank containing 1x electrode buffer, ensuring there is no trapped air at the bottom of the gel [1]. Add an equal volume of sample buffer to the protein extract [2] and incubate at 37 degrees Celsius for 30 minutes to allow SDS to bind to the protein [3]. Prepare a positive control with 2 microliters of human serum with an equal volume of sample buffer [4].

    - Talent carefully positioning the gel in the electrophoresis tank.

    - Talent adding protein extract with sample buffer.

    - Talent placing the sample tube in a 37 degrees Celsius incubator.

    - Talent labeling a tube as "positive control."

  - Now, carefully load the prepared samples and control into the gel wells using a narrow-tipped pipette [1-TXT]. Gradually fill the remaining portions of the wells, the top of the gel, and the upper tank with electrode buffer without disturbing the loaded samples [2].

    - Talent loading samples into the wells using a pipette. TXT: Alternatively, use a Hamilton syringe (0.5 - 1 mL) for loading

    - Talent pouring electrode buffer gently into the tank and around the gel setup.

  - Start the electrophoresis at 6 milliamperes per gel until the dye front enters the resolving gel [1]. Then increase the current to 12 milliamperes per gel and continue running until the dye front reaches 1 centimeter above the bottom of the gel [2].

    - Talent setting the electrophoresis current to 6 milliamperes per gel and start the run.

    - Shot of the dye front entering resolving gel.

  - After electrophoresis, carefully dismantle the glass plates using a plate separation tool or plastic spatula [1]. Mark the orientation of sample loading by cutting the right lower corner of the gel [2] and then mark the prestained marker bands by punching holes nearby [3-TXT].

    - Talent removing gel plates with a plastic spatula and separating the gel.

    - Talent cutting the bottom-right corner of the gel with a blade.

    - Talent marking prestained marker bands using a hole punch . TXT: Alternatively, scan the gel to mark the prestained bands

  - Submerge the gel in a renaturing solution containing Triton X-100 in a gel tray [1] and incubate at room temperature for 30 minutes without shaking [2]. Replace the renaturing solution with activation buffer and incubate again for 18 hours [3].

    - Talent transferring the gel into a tray filled with renaturing solution.

    - Talent placing the unit aside for incubation.

    - Talent pouring off renaturing solution and adding activation buffer to the gel.

  - After removing the activation buffer, rinse the gel with water for 1 minute [1] and add the staining solution, ensuring the gel is fully submerged [2]. Gently shake the gel at low speed until the gel turns completely blue [3].

    - Talent adding the gel with distilled water.

    - Talent adding staining solution on the gel.

    - Talent placing the gel tray on a shaker at low speed.

  - Now, rinse the gel surface with water for 1 minute to remove excess stain [1] and add the destaining solution [2]. Replace the solution several times until the desired contrast is achieved [3].

    - Talent rinsing gel with water using a squeeze bottle.

    - Talent adding destaining solution onto the gel.

    - Shot of the completely stained gel with good contrast.

  - Finally, scan the gel using a gel documentation system or document scanner to compare the protein bands with the standard markers [1].

    - Talent loading the stained gel into the documentation system and initiate the scan.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 53.

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - The zymogram of leptospiral protein and gelatinases from human serum shows proteases as white clear bands against a blue background [1].

    - LAB MEDIA: Figure 1.

  - The bands represent areas where the copolymerized gelatin is degraded and hence, not stained [1], while other areas of the entire gel are stained blue due to the presence of gelatin [2].

    - LAB MEDIA: Figure 1.  Video editor: Highlight the bright coloured bands in the first 2 lanes

    - LAB MEDIA: Figure 1.  Video editor: Highlight the blue coloured background