# Submission ID #: 67339

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20538443

# Title: Neuroimaging-Guided TMS-EEG for Real-Time Cortical Network Mapping

# Authors and Affiliations:

# Elena Ukharova1, Sabin Sathyan1, Ida Granö1, Isabella O’Meeghan1, Oskari Ahola1,2,3, Noora Kainulainen1, Joonas Laurinoja1,4, Paula Partanen5,6, Dogu Baran Aydogan1,4, Risto J. Ilmoniemi1, Timo Roine1, Pantelis Lioumis1,7,8

# 1Department of Neuroscience and Biomedical Engineering, Aalto University School of Science

# 2Hertie-Insitute for Clinical Brain Research, University of Tübingen

# 3Department of Neurology and Stroke, University of Tübingen

# 4A.I. Virtanen Institute for Molecular Sciences, University of Eastern Finland

# 5Division of Psychology, VISE, Faculty of Education and Psychology, University of Oulu

# 6Neuroscience Center, Helsinki Institute of Life Science, University of Helsinki

# 7BioMag Laboratory, HUS Medical Imaging Center, Aalto University, University of Helsinki and Helsinki University Hospital

# 8Cognitive Brain Research Unit, Department of Psychology and Logopedics, Faculty of Medicine, University of Helsinki

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Elena Ukharova		elena.ukharova@aalto.fi

# Email Addresses for All Authors:

Sabin Sathyan			ext-sabin.sathyan@aalto.fi

Ida Granö			ida.grano@aalto.fi

Isabella O'Meeghan		isabella.omeeghan@aalto.fi

Oskari Ahola			oskari.ahola@aalto.fi

Noora Kainulainen		noora.kainulainen@aalto.fi

Joonas Laurinoja		joonas.laurinoja@aalto.fi

Paula Partanen		paula.rj.partanen@helsinki.fi

Dogu Baran Aydogan		baran.aydogan@aalto.fi

Risto J. Ilmoniemi		risto.ilmoniemi@aalto.fi

Timo Roine			timo.roine@aalto.fi

# Pantelis Lioumis		pantelis.lioumis@aalto.fi

# Elena Ukharova		elena.ukharova@aalto.fi

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  25

Number of Shots:  55 (17 SC)

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card

This research has been approved by the Hospital District of Helsinki and Uusimaa Ethics Committee

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Preparing the Patient and the Electroencephalography (EEG) Setup

Demonstrator: Click here to enter name of demonstrator(s)

  - To begin, seat the subject in a chair positioned close enough for the cap cables to connect to the electroencephalography system [1].

    - WIDE: Talent positioning the subject in a chair with cables visible, leaving open space around the chair.

  - Measure the subject's head circumference [1] and select an electroencephalography cap that matches the measured size [2].

    - Talent wrapping a measuring tape around the subject’s head.

    - Talent selecting the appropriate cap size from a rack or tray.

  - Place the cap on starting from the forehead while keeping the hair under the cap [1]. Measure the distance from the nasion to the inion and from left to right tragus [2], then adjust the cap position to ensure Cz (C-zee) is centered halfway between these anatomical landmarks [3].

    - Talent positioning the cap on the forehead and pulling it over the head.

    - Talent measuring the nasion-inion and inter-tragus distances using a measuring tape.

    - Talent adjusting the cap position to align Cz properly.

  - Using alcohol wipes and abrasive tape, clean the mastoid and zygomatic bone skin opposite to the stimulation side to improve conductivity [1]. Place the ground electrode on the zygomatic bone [2] and the reference electrode on the mastoid using ring electrode washers [3].

    - Talent wiping the mastoid and zygomatic regions with alcohol and tape.

    - Talent attaching ground electrode on the zygomatic bone.

    - Talent attaching the reference electrode on mastoid.

  - Apply an abrasive paste to the ground and reference electrode sites [1] and lightly scrub the skin with a blunt needle or cotton bud [2]. Then, fill each electrode with conductive gel [3].

    - Talent applying the paste to electrodes.

    - Shot of scrubbing skin using cotton bud or blunt needle.

    - Talent filling electrodes with gel.

  - Now, secure the cap in place using hook-and-loop fasteners under the chin [1]. Confirm that the ear slits are correctly positioned for ear access during neuronavigation and earphone placement [2].

    - Talent fastening the cap strap beneath the subject’s chin.

    - Talent pointing to the alignment of ear slits to ensure accessibility.

  - To prepare the cap electrodes, apply abrasive gel and use a blunt needle or wooden cotton swab stick to clear hair from under each electrode until the skin is visible [1]. Fill the electrode with conductive gel while gently pressing it down to ensure adequate but not excessive gel is applied [2].

    - Talent applying gel and removing hair from beneath the cap electrode using a swab stick.

    - Talent pressing and filling the cap electrode with gel.

  - If the impedance is high after initial preparation, use a blunt needle or cotton swab to scrub the skin inside the electrode again while avoiding hair displacement [1]. Then, refill the electrode with conductive gel [2] and check impedance levels, repeating until all are below 5 kiloohms [3].

    - Talent swirling a swab or needle inside an electrode to rescrub the contact area.

    - Talent refilling the electrode.

    - Talent looking at the impedance on the screen.

- Electromyography (EMG) and Neuronavigation Preparation

Demonstrator: Click here to enter name of demonstrator(s)

  - Clean each electrode site with alcohol wipes [1], lightly scratch the skin with abrasive tape [2], and wipe again with alcohol before letting it dry [3].

    - Talent cleaning electrode with alcohol wipe.

    - Talent lightly scratching the skin with abrasive tape.

    - Talent wiping the electrode site with alcohol and keeping it aside.

  - Place the active electrode on the muscle belly, typically the right abductor pollicis brevis or first dorsal interosseous [1]. Place the reference electrode over the muscle tendon [2] and the ground electrode on the dorsum of the hand [3].

    - Talent attaching the active electrode to the muscle belly.

    - Talent placing the reference electrode over the muscle tendon.

    - Talent placing the ground electrode on the dorsum of the hand.

  - For neuronavigation preparation, position the subject comfortably in the chair, ensuring the neck, hands, and legs are relaxed [1]. Adjust the chair height so that the operator can comfortably stimulate the target area [2].

    - Talent adjusting the subject’s limbs and posture for comfort.

    - Talent lowering or raising the chair.

  - Secure the head tracker using a medical-grade two-sided sticker or tape to ensure stability during stimulation [1]. Position the sticker so it does not obstruct the free movement of the transcranial magnetic stimulation coil over the head [2].

    - Talent applying double-sided medical tape to the head tracker.

    - Talent moving the coil to check.

  - Identify the cardinal points, including the nasion and preauricular points, on the subject's magnetic resonance imaging [1].

    - SCREEN: Display the MRI scan with highlighted nasion and preauricular points.

  - Using a digitizing pen, mark the corresponding cardinal points on the subject's head [1].

    - Talent marking anatomical landmarks on the subject’s head with the digitizing pen.

  - Digitize additional points across the skull surface to reduce registration errors [1].

    - Talent marking multiple points on the skull with the digitizing pen.

- Noise Masking and Determination of Resting Motor Threshold (RMT)

Demonstrator: Click here to enter name of demonstrator(s)

  - Prepare the noise masking using a looped audio track of white noise mixed with recorded coil clicks from the specific coil used [1].

    - SCREEN: Show the loading and playback of the looped noise file with waveform display.

  - Start giving pulses with a jittered interstimulus interval [1]. Gradually increase the PC volume by 1 to 2 percent until the subject indicates that they no longer hear the click [2].

    - SCREEN: Display stimulation control panel with pulse delivery at varying intervals.

    - Talent increasing the volume slider incrementally and observing the subject’s signal.

  - Deliver 20 to 30 pulses while monitoring real-time transcranial evoked potential visualization [1]. If an auditory evoked potential is observed, increase the masking noise volume in 2 percent increments until the component disappears [2].

    - SCREEN: Show waveform trace of TEPs in real time during pulse delivery.

    - SCREEN: Show increasing noise masking volume and disappearance of auditory component.

  - To determine resting motor threshold, instruct the subject to keep their muscles relaxed with the palm facing upwards [1].

    - Talent verbally instructing and subject relaxing hands with palms up.

  - Position the transcranial magnetic stimulation coil over the motor knob with the electric field perpendicular to the sulcus [1]. Begin with approximately 30 percent of maximum stimulator output [2] and increase intensity until localized muscle activation is seen [3]. Adjust coil location and orientation until a response specific to the abductor pollicis brevis is observed [4].

    - Talent placing the coil over the target area with proper angle.

    - SCREEN: Beginning with 30 percent of maximum stimulator output.

    - SCREEN: Show coil output being increased with motor response logged.

    - Talent adjusting coil position for consistent muscle response in target.

  - Using the saved location, apply automated algorithms in the system to determine the resting motor threshold [1].

    - SCREEN: Display the interface applying automated RMT detection protocol.

- Cortical Mapping and Transcranial Magnetic Stimulation (TMS)-EEG Data Recording

Demonstrator: Click here to enter name of demonstrator(s)

  - For cortical mapping, overlay the anatomical parcellations and functional connectivity maps from the MRI in the neuronavigation software [1]. Define at least 2 to 3 stimulation targets based on promising structural and functional connectivity [2].

    - SCREEN: Show MRI overlays with brain maps and connectivity data.

    - SCREEN: cursor hovering over selected targets on the neuronavigation interface.

  - Begin stimulation at 100 to 110 percent of resting motor threshold with noise masking active [1]. Average 20 pulses per set and monitor the resulting transcranial evoked potentials [2]. Adjust the intensity in 2 percent maximum stimulator output increments until the early response amplitude exceeds 6 microvolts [3].

    - SCREEN: Show pulse sequence configuration at specified stimulation intensity.

    - SCREEN: Display averaged waveform across 20 pulses with updated response curves.

    - SCREEN: Adjust MSO slider and zoom into early latency range on TEPs.

  - Now, monitor the signal for muscle and decay artifacts [1]. If muscle artifacts last longer than 15 milliseconds, rotate the coil to minimize them [2]. Once a clean, early component above 6 microvolts is achieved, inspect for additional components beyond 50 milliseconds [3].

    - SCREEN: Display artifact detection overlay on the TEP traces.

    - Talent rotating the coil slightly to optimize signal.

    - SCREEN: Show waveform analysis extended beyond 50 millisecond window.

  - For TMS–EEG data recording, measure electrode impedance first [1]. If impedance exceeds 5 kiloohms, add conductive gel to reduce it [2]. If still too high, repeat preparation and add more gel only if required [3].

    - SCREEN: Show impedance values for each electrode.

    - Talent applying additional gel to specific electrode sites.

    - Talent re-prepping the electrode site with abrasive gel.

  - Finally, collect a minimum of 300 trials using the finalized stimulation location, orientation, and intensity with noise masking [1].

    - SCREEN: Show real-time progress of trials being recorded with pulse count indicator.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 190.

- Please note that the video cannot include voiceover without an accompanying visual.

- Representative Results

  - The initial stimulation site selected from the fMRI cluster showed anti-correlation with the subgenual anterior cingulate cortex and streamlines projecting mainly to the contralateral frontal pole [1].

    - LAB MEDIA: Figure 3A, B.

  - A potential TEP-like response is observed in the F3, F1, and FC3 electrodes [1]. The AF3 electrode exhibits a large-amplitude ringing artifact [2], while F5 is affected by a small muscle artifact recognizable by the high-frequency high-amplitude peak right after the TMS pulse [3].

    - LAB MEDIA: Figure 3C. Video editor: Highlight F3, F1, FC3 graphs.

    - LAB MEDIA: Figure 3C Video editor: Highlight AF3.

    - LAB MEDIA: Figure 3C Video editor: Highlight  F5 plot.

  - Filtering confirmed the F3 response was unaffected by noise, preserving the amplitude of the early component [1].

    - LAB MEDIA: Figure 3G. Video editor: Emphasize the F3 plot .

  - Switching to a posterior-anterior coil orientation increased muscle artifacts and discomfort, with strong artifacts visible in all channels [1].

    - LAB MEDIA: Figure 4A and B.

  - Using a lateral-medial coil orientation produced a clean, large-amplitude TEP at the F3 electrode, peaking at 12 microvolts within 20 milliseconds [1].

    - LAB MEDIA: Figure 4F. Video editor: Focus on F3.

  - The final stimulation target, located near the initial one, exhibited broader structural connectivity than earlier targets [1].

    - LAB MEDIA: Figure 6A and B.

  - After minimal preprocessing, a 9-microvolt early component was detected between 17 and 35 milliseconds in the F3 electrode, free of muscle artifact [1].  Full preprocessing of the 300-trial dataset preserved the waveform shape, showing a reduced 6-microvolt early response between 20 and 40 milliseconds [2].

    - LAB MEDIA: Figure 6D.

    - LAB MEDIA: Figure 6F.