67520_Video Timestamps

67520_screenshot_1

    - SCREEN 0.00.03 : Selecting field of view with high bead density and bead clumps.

    - SCREEN 0.00.10 : Image acquisition interface showing the field of view saved at rest.

    - SCREEN 0.00.40 : Applying low vacuum stretch at negative 20 millibar.

    - SCREEN 0.01.00 : Adjusting focus in the z-plane and moving the stage in x-y to realign the imaged region.

    - SCREEN 0.01.30 : Acquire the image of the stretched beads.

    - SCREEN 0.01.35 : Go to the saved position at rest

    - SCREEN 0.01.55 : Destretch beads and refocus in z. The image of the beads after detretchech can be recorded again and is expected to match the initial image taken before stretch.

    - SCREEN 0.02.10 : Acquisition at higher vacuum levels. TXT: Repeat the strain calibration steps for at least 3 different stretch rings

67520_screenshot_2

    - SCREEN 0.00.01 : Go to the folders created for the acquired images by sample.

    - SCREEN 0.00.05 : File naming convention for reference and stretched images.

    - SCREEN 0.00.30 : MATLAB workspace with "gel_strain" code being opened. TXT: https://github.com/xt-prc-lab/Le_Roux_et_al_2024_JOVE

    - SCREEN 0.00.40 : Defining folder paths in the code and running the "gel_strain" code.

    - SCREEN 0.00.55 : Selection of "stretched_str1" for processing and Selection of "reference_str1". TXT: Verify that the results folder appears with 4 subfolders

    - SCREEN 0.07.00 : Open the sub-folders containing the plots and spreadsheet of the calculated strain matrix.

67520_screenshot_3

4.4.2. SCREEN 0.00.03 : Focus a cell of interest

4.4.3. SCREEN 0.00.20 : Microscope interface showing the recorded position of the cell at rest.

4.4.4. SCREEN 0.00.40 : Record an image of the cell at rest (before stretch application)

    - SCREEN 0.01.10 : Show the cell moving out of the focal plane

    - SCREEN 0.01.15 : Adjusting focus in z-plane and moving in x-y directions.

    - SCREEN 0.01.30 : Image acquisition interface capturing cell under stretch.

    - SCREEN 0.01.35 : Activation of image acquisition mode before refocusing.

    - SCREEN 0.02.00 : Stretch release and immediate z-refocusing.

    - SCREEN 0.02.10 : Image capturing of released cell with manual focus adjustments.

67520_screenshot_4

    - SCREEN 0.00.05 : Fiji software with images being loaded.

    - SCREEN 0.00.45: Fiji plugin template matching interface showing cell alignment process.