# Submission ID #: 67530

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20596698

# Title: Through-the-Wall Blood Sampling Method to Minimize Sleep Disruption in Clinical Settings

# Authors and Affiliations:

Grissy Simé Mora1*, Catherine G. Lowry1*, Ellen J. Lyon1, Laurie M. Biela1, David P. Thomson1, Matthew S. Hickey1, Corey A. Rynders1, 2, Josiane L. Broussard1

1Human Performance Clinical Research Laboratory, Department of Health and Exercise Science, Colorado State University

2Anschutz Health and Wellness Center, University of Colorado Anschutz Medical Campus, Aurora

# *These authors contributed equally

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Josiane L. Broussard (Josiane.broussard@colostate.edu)

# Email Addresses for All Authors:

# Josiane L. Broussard (Josiane.broussard@colostate.edu)

Grissy Simé Mora		(gsime@colostate.edu)

Catherine G. Lowry		(catherine.lowry@colostate.edu)

Ellen J. Lyon			(ellen.lyon@colostate.edu)

Laurie M. Biela		(Laurie.Biela@colostate.edu)

David P. Thomson		(David.Thompson@colostate.edu)

Matthew S. Hickey		(Matthew.Hickey@colostate.edu)

# Corey A. Rynders		(corey.rynders@colostate.edu)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  11

Number of Shots:  37

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement. Add your title (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) as this will included in the promotional materials.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Review Board of Colorado State University and the Colorado Multiple Institutional Review Board

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Setting Up the Extension Line

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To begin, attach the extension line for through-the-wall sampling by connecting the three-way stopcock to the female Luer lock end of the extension line [1]. After breaking the seals, place the 10-milliliter saline flush syringe [2] and the 3-milliliter sample syringe onto the stopcock [3].

    - WIDE: Talent connecting the three-way stopcock to the female Luer lock end of the extension line.

    - Talent placing the saline flush syringe onto the stopcock.

    - Talent placing the sample syringe onto the stopcock.

  - Twist the OFF (Off) tab of the stopcock to close the extension line to the 3-milliliter syringe and open it to the 10-milliliter saline flush [1]. Push saline through the extension line until it reaches the end [2]. Carefully remove the cap and allow the saline to drip into a cup or onto the absorbent pad [3]. Twist the OFF tab to close the extension line to both syringes, keeping them attached to the stopcock [4].

    - Talent twisting the OFF tab of the stopcock to redirect the saline flow.

    - Talent pushing saline through the line using the 10-milliliter syringe and the saline reached the end of the line.

    - Talent removing the cap and the saline dripping into a cup or onto the pad.

    - Talent twisting the OFF tab to close the line to both syringes, ensuring they remain attached.

  - Feed the capped end of the extension line through the wall port into the participant room, ensuring the cap remains in place to maintain sterility [1].

    - Talent feeding the capped end of the extension line through the wall port.

  - In the participant’s room, clean the distal end of the extension line and the attachment site of the intravenous extension set using a sterile alcohol prep pad [1]. Remove the cap from the extension line [2] and attach it to the intravenous extension set connected to the participant [3].

    - Talent wiping both the extension line and the IV set with an alcohol prep pad.

    - Talent removing the cap from the extension line.

    - Talent connecting the extension line to the participant’s IV extension set connected to the participant.

  - Now, return to the antechamber [1]. Remove and discard the used saline flush from the stopcock [2] and attach a warmed 10 milliliter saline flush [3]. Twist the OFF tab to close the line to the sample syringe and open it to the new saline flush [4]. Push saline through the extension line to verify the absence of leaks and confirm that the intravenous line remains patent [5]. Then, twist the OFF tab to close the line to both syringes [6]. Slowly continue pushing the saline flush while simultaneously turning the OFF tab to fully seal the system [6].

    - Talent returning to the antechamber.

    - Talent removing the used saline flush from the stopcock.

    - Talent attaching a new warmed saline flush to the stopcock.

    - The OFF tab being turned to redirect flow.

    - Talent pushing saline through the extension line, observing for any leakage, and checking the intravenous line.

    - Talent twisting the OFF tab to close both syringe lines.

    - Talent slowly pushing saline while simultaneously turning the OFF tab.

  - Once the extension line is confirmed to be functioning, return to the participant’s room to wrap the intravenous extension set with a self-adherent, elastic bandage to prevent dislodgment during sleep [1]. Tape the extension line securely to the bed frame [2-TXT]. Authors: How do you want to pronounce IV here? “I-V” or “intravenous”?

    - Talent wrapping the IV extension set with an elastic bandage.

    - Talent taping the extension line to the bed frame. TXT: Discuss sleeping preferences with the participant and provide extra tubing accordingly

- Sampling Blood Through the Extension Line

Demonstrator: Click here to enter name of demonstrator(s)

  - Attach a 5-milliliter waste syringe [1-TXT] and a 3-milliliter sample syringe to the stopcock [2]. Twist the OFF tab to open the line to the 5-milliliter waste syringe [3].

    - Talent connecting a 5-milliliter waste syringe to the stopcock. TXT: Ensure that the extension line is saline-primed and the OFF tab blocks both syringes; Flush 4.4 mL warm saline if blood appears in the line

    - Talent connecting a 3-milliliter sample syringe to the stopcock.

    - The OFF tab being turned to open the line to the 5 milliliter syringe.

  - Using the 5-milliliter syringe, collect at least 4.4 milliliters of waste [1], then continue drawing until whole blood appears [2]. Now, twist the OFF tab of the stopcock to close the line to the 5-milliliter waste syringe [3].

    - Talent collecting the waste fluid with the 5-milliliter syringe.

    - A shot of the visible whole blood in the waste syringe while drawing.

    - The OFF tab being twisted to close access to the waste syringe.

  - Use the 3-milliliter syringe to draw the desired amount of blood [1] and twist the OFF tab to close the extension line to both syringes [2].

    - Talent drawing blood into the 3 milliliter syringe.

    - Talent twisting the OFF tab to close both lines.

  - Remove the 5-milliliter waste syringe [1] and replace it with a warm 10 milliliter saline flush [2]. Twist the OFF tab to close the line to the empty 3-milliliter syringe, opening it to the saline flush [3]. Push up to 10 milliliters of warmed saline into the extension line, ensuring no blood remains in the line [4]. Twist the OFF tab to close the line to both syringes [5].

    - Talent removing the waste syringe.

    - Talent attaching the warm saline flush where the waste syringe was attached.

    - The OFF tab being turned to redirect flow to the saline flush.

    - Talent pushing saline into the extension line.

    - Talent twisting the OFF tab to close both syringe ports.

  - Slowly continue to push the saline flush while turning the OFF tab to maintain pressure in the extension line and minimize blood backflow [1]. Use any remaining saline to flush through the stopcock into the empty 3 milliliter syringe [2]. Then, remove the saline syringe and pull back on the 3 milliliter syringe to extract any remaining liquid from the stopcock [3]. Replace all syringes to prepare for the next blood draw [4].

    - Talent slowly pushing the saline flush while adjusting the OFF tab.

    - Talent directing the remaining saline into the empty syringe through the stopcock.

    - Talent removing the saline syringe and pulling back on the 3 milliliter syringe to extract remaining liquid from the stopcock.

    - Talent replacing all syringes.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 147.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results

  - This figure shows the 24-hour plasma melatonin concentration profile measured under dim light conditions from a participant [1].

    - LAB MEDIA: Figure 2.

  - The findings suggest that the melatonin levels followed a distinct rise-and-fall pattern [1] consistent with a normal circadian rhythm, confirming that the through-the-wall blood sampling method accurately captured the timing of internal biological night [2].

    - LAB MEDIA: Figure 2. Video Editor: Highlight the plot in the graph.

    - LAB MEDIA: Figure 2.

  - The success rate for through-the-wall blood sampling was 67%, corresponding to 304 out of 454 total blood draw attempts [1].

    - LAB MEDIA: Figure 3. Video editor: Highlight the black section of the vertical bar at the left labeled “67% / 304/454 draws”.

  - Unsuccessful blood draws accounted for 33% of attempts [1], with 94% of these failures attributed to positional issues such as lying on or pinching the extension line [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the red section of the vertical bar at the left labeled “33% / 150/454 draws”.

    - LAB MEDIA: Figure 3. Video editor: Highlight the large red portion of the pie chart labeled “94% Positional issues”.

  - During an easy blood draw, polysomnography recordings showed stable electroencephalogram, electrooculogram, electromyogram, and electrocardiogram signals with no evidence of arousal or sleep stage change [1].

    - LAB MEDIA: Figure 4A. Video editor: Highlight the black square boxed region.

  - A difficult blood draw was associated with disrupted electroencephalogram, electrooculogram, and electromyogram activity, along with an elevated heart rate indicative of arousal [1].

    - LAB MEDIA: Figure 4B. Video editor: Highlight the black square boxed region.