# Submission ID #: 67574

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20610118

# Title: Hybrid PET/MRI Imaging of Alzheimer's Disease Patients Based on 18F-AV-1451

# Authors and Affiliations:

Ying Zhan1, Feng Zuo2, Zongpeng Zhang2, Xiaodan Wu2, Yingxin Dai2, Tingting Jiao2, Qingxue Shi2, Zhiguo Wang2, Guoxu Zhang2

1College of Medicine and Biological Information Engineering, Northeastern University

2Department of Nuclear Medicine, General Hospital of Northern Theater Command

# Corresponding Authors:

Zhiguo Wang		(wangzhiguo5778@163.com)

# Guoxu Zhang		(zhangguoxu_502@163.com )

# Email Addresses for All Authors:

Ying Zhan		(hyxzhanying@163.com)

Feng Zuo		(369620763@qq.com)

Zongpeng Zhang	(3820101881@qq.com)

Xiaodan Wu		(995800975@qq.com)

Yingxin Dai		(jason_7788@outlook.com)

Tingting Jiao		(jessie_201211@sina.com)

# Qingxue Shi		(wangshiry88@sina.com)

Zhiguo Wang		(wangzhiguo5778@163.com)

# Guoxu Zhang		(zhangguoxu_502@163.com )

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar? NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? YES

Videographer: Please film the screen for all SCREEN shots.

3. Filming location: Will the filming need to take place in multiple locations? No

Current Protocol Length

Number of Steps:  12

Number of Shots:  24

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Ying Zhan: This research focuses on developing a brain scanning method for early detection of Alzheimer's disease, assessing its severity, and tracking the accumulation of harmful tau proteins.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.3.1 or 3.4.3.

What advantage does your protocol offer compared to other techniques?

  - Ying Zhan: PET/MRI combines both PET and MRI—MRI reveals atrophy, and PET detects tau. One scan, two answers. It’s faster, safer, and tells the full story without the need for additional tests.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: LAB MEDIA: Figure 4.

What research questions will your laboratory focus on in the future?

  - Ying Zhan: In the future, our laboratory will aim to improve tracer quality, with a focus on conducting test scans across different groups and studying how tau interacts with other brain-damaging proteins.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the local Medical Ethics Committee

All patients provided written informed consent prior to participation

# Protocol

- Preparation for PET/MRI Scanning

Demonstrator: Na An, Tingting Jiao

  - To begin, verify the application form to confirm general information, examination purpose, and program. Ensure that all necessary preparations have been completed [1]. Register and file the details [2].

    - WIDE: Talent checking the application form to confirm general information, examination purpose, and program.

    - Talent registering and filing the details.

  - After obtaining informed consent for PET/MR (Pet M-R) imaging from the subject or a family member [1], conduct a detailed medical history review [2], and record the subject's height and weight [3].

    - Patient signing the informed consent forms.

    - Talent checking the medical history that is open on a computer screen.

    - Talent measuring the height and weight of the patient.

  - Now, establish an intravenous line in a peripheral superficial vein or access a port catheter [1].

    - Talent inserting an intravenous catheter into a peripheral superficial vein or accessing a port catheter.

  - Inject 18F-AV-1451 (Fluorine-eighteen-A-V-fourteen-fifty-one) at a dose of 3.7 to 5.5 mega becquerel (Mega beck-er-el) per kilogram slowly through intravenous access [1]. Flush the tube with an appropriate amount of saline to minimize radioactive tracer residue [2]. Apply compression to the injection site to prevent fluid leakage [3].

    - Talent injecting the radiotracer 18F-AV-1451 through the intravenous line.

    - Talent flushing the tube with saline.

    - Talent applying compression to the injection site.

  - Record the injection time, site, and activity [1].

    - Talent recording the injection time, site, and activity. Videographer: If this shot is performed on a computer screen, make sure the screen is clearly visible in the frame.

  - After completing the injection, initiate audio-visual closure by dimming the lights in the restroom [1] and setting the temperature to approximately 22 degrees Celsius [2]. Instruct the subject to rest in bed for 80 minutes, avoiding talking, eating, or chewing during this period [3].

    - Talent adjusting the lighting of the restroom.

    - Talent setting the room temperature.

    - Subject lying in bed with eyes closed.

- PET/MRI Scanning Procedure

Demonstrator: Yingxin Dai

Videographer: Please record the screen for all SCREEN shots.

  - Instruct the subject and companion to remove all metallic objects, including mobile phones, headgear, dentures, glasses, watches, wallets, and coins before the examination [1-TXT].

    - Subject removing all metallic objects. TXT: Ensure no wheelchairs, stretchers, examination beds, O2 cylinders, or monitoring equipment are in this room

  - Provide earplugs to the subject [1] and position them supine on the PET/MRI (Pet M-R-I) table [2] with an 8-channel head and neck union coil enclosing the cervical region [3]. Position the subject with arms down and instruct them to use the alarm device in case of discomfort [4].

    - Talent handing earplugs to the subject.

    - Talent instructing the subject to lie supine and the subject lying supine on the PET/MRI table.

    - Talent placing the 8-channel head and neck coil around the subject’s cervical region.

    - The subject lies on the table with arms down, and the talent showing the subject the alarm device.

  - Review the images to confirm that the head is centered in the scanner, aligned with the center of the coil, and positioned consistently relative to the neck [1].

    - SCREEN: Initial images displaying the head centered in the scanner, aligned with the center of the coil, and positioned consistently relative to the neck. Videographer: Please make sure the screen is clearly visible in the frame.

  - Acquire three-dimensional brain volumetric T1-weighted (T-one weighted) sequences with high resolution and a high signal-to-noise ratio using a spoiled gradient-recalled sequence [1-TXT]. Then, acquire axial PROPELLER (/prəˈpelər/) T2-weighted sequences [2-TXT]. Acquire 20-minute PET (Pet) images simultaneously in 3D acquisition mode and using volumetric scanning [3].

    - SCREEN: Acquisition parameters for T1-weighted sequences being set and the sequences being acquired. TXT: Repetition time (TR) = 8.5 ms; Echo time (TE) = 3.2 ms; Inversion time (TI) = 450 ms; Flip angle = 12°; Voxel size = 1 × 1 × 1 mm³; Field of view (FOV) = 256 mm; Matrix size = 256 × 256; Slice thickness = 1 mm; Slice number = 152 Video Editor: Show the onscreen text as an inset or something similar during this shot.

    - SCREEN: Axial PROPELLER T2-weighted sequence being acquired. TXT: TR = 6837 ms; TE = 132 ms; Flip angle = 142°; FOV = 240 mm; Matrix size = 416 × 416; Slice thickness = 5 mm; Slice number = 24 Video Editor: Show the onscreen text as an inset or something similar during this shot.

    - SCREEN: PET images being acquired in 3D acquisition mode and using volumetric scanning.

  - Perform MR (M-R) imaging attenuation correction using a zero echo time pulse sequence to segment bone, air, and soft tissue [1].

    - SCREEN: MR imaging attenuation correction being performed using zero echo time pulse sequence.

  - Finally, use the given parameters to acquire PET data using the time-of-flight ordered subset expectation maximization for image reconstruction [1-TXT].

    - SCREEN: PET data being acquired using the time-of-flight ordered subset expectation maximization. TXT: Matrix size = 192 × 192; 32 subsets with 8 iterations; FOV = 350 × 350 mm; Full-width at half maximum (FWHM) = 3.0 mm Video Editor: Show the onscreen text as an inset or something similar during this shot.

# Results

- Representative Results

  - A typical semi-preparative HPLC (H-P-L-C) and UV spectrum of 18F-AV-1451 (Fluorine-eighteen-A-V-fourteen-fifty-one) is shown in this figure [1], where peak 2 represents the product peak [2]. The one-step synthesis of ¹⁸F-AV-1451 under optimized reaction conditions increased the synthesis yield to above 25.7% [3]. The total reaction time was 70 minutes [4].

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3. Video Editor: Highlight peak 2 in both graphs.

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3.

  - The ¹⁸F-AV-1451 (Fluorine-eighteen-A-V-fourteen-fifty-one) PET/MR (Pet M-R) imaging of a 69-year-old patient with cognitive decline and positive tau deposition showed significant brain atrophy and [1] tau accumulation beginning in the entorhinal cortex and hippocampus, spreading to the temporal, parietal, and cortical regions [2].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4. Video Editor: Highlight the green and yellow regions in A and D.

  - The ¹⁸F-AV-1451 PET/MR imaging of a 68-year-old patient with cognitive decline and negative tau deposition showed a normal brain structure, and uniform radioactivity uptake without specific cortical tau binding [1].

    - LAB MEDIA: Figure 5.