Summary of screen recordings

Recording2-1.mp4

- 3.1.1.	SCREEN: User selecting the Slide setup tab and clicking on New Study. 0:00-0:12

- 3.1.2.	SCREEN: User entering Study ID, study name, and study comments into the respective fields. 0:12-0:28

- 3.2.1.	SCREEN: User selecting 150 µL and Dewax 4 steps from the dropdown menu. 0:28-0:42

- 3.3.1.	SCREEN: User clicking Add Slide. 0:45-0:48

- 3.3.2.	SCREEN: User typing a unique name in the Slide Comments field. 0:48-0:53

- 3.4.1.	SCREEN: User selecting Test Tissue under Tissue Type. 0:53-0:59

- 3.4.2.	SCREEN: User inputting 150 microliters and selecting Single and Routine in Staining mode dropdowns. 0:59-1:06

- 3.4.3.	SCREEN: User choosing IHC for Process and Antibody Staining Solution for Marker. 1:06-1:14

- 3.5.1.	SCREEN: User selecting Staining Assay 1 for staining, *Dewax 4 steps for Preparation and *HIER 20 min with ER2 for HIER. 1:14-1:31

- 3.5.2.	SCREEN: The Enzyme protocol is being seen and Add slide is being clicked.  TXT: Repeat slide addition for required number of slides 1:31-1:43

Recording2-1b.mp4

- 3.2.2.	SCREEN: User navigating to Protocol Setup, checking Preferred for Dewax 4 steps, and pressing Okay. 0:00-0:21

Recording2-2.mp4

- 3.7.2.	SCREEN: User selecting the correct autostainer from the software. 0:00-0:35

- 3.7.3.	SCREEN: Display showing all three trays and reagent information including bulk and added reagents. 0:35-0:43

- 3.8.2.	SCREEN: User pressing the Play button to start the run. TXT: Run duration: 5 h 15 min 0:43-1:05

Recording2-3.mp4

- 4.5.2.	SCREEN: Autostainer interface showing dip-testing of inserted reagents. 0:06-0:53

- 4.6.1.	SCREEN: User loading slides and changing the marker to *Negative. 1:48-2:04

- 4.6.2.	SCREEN: User selecting *---- for Preparation, HIER, and Enzyme fields. 2:04-2:16

- 4.6.3.	SCREEN: User clicking Add Slide. 2:18-2:25

Recording2-4.mp4

- 4.8.1.	SCREEN: User clicking the Play button on the autostainer interface. 0:00-0:17