Screen recording summaries:

SCREEN_67627_2.5.1-2.5.3

- 2.5.1

  - 0:00:05 Imaris Converter is opened on the desktop

- 2.5.2

  - 0:00:08-0:00:12 Files are dragged from their folder to the converter, but can also be added by clicking the

  - 0:00:13-0:00:15 You can adjust the folder that you save the files to

  - 0:00:16-0:00:24 Select each file individually to set voxel size if it does not immediately populate, you can also hold shift down to select all.

- 2.5.3

  - 0:00:25 Hit ‘Start all’

SCREEN_67627_2.6.1-2.7.2

- 2.6.1

  - 0:00:01-0:00:03 Image is selected in Arena interface

- 2.6.2

  - 0:00:06-0:00:08 Clicking the Image Proc tabe

- 2.7.1

  - 0:00:10-0:00:14 Selecting Background Subtraction

- 2.7.2

  - 0:00:15-end Click OK and return to the 3D view

SCREEN_67627_2.8.1-2.10.2

- 2.8.1

  - 0:00:01-0:00:08 New surface is added, and because we do not need to classify this box is unchecked, but is useful depending on the context

- 2.8.2

  - 0:00:09 Blue arrow clicked

- 2.9.1

  - 0:00:14 surface detail set to 0.7

- 2.9.2

  - 0:00:15-0:00:18 Background Subtraction (local contrast) is selected and average cell size, dependent on cell type, is entered and blue arrow clicked

- 2.10.1

  - 0:00:20-0:00:37 Using the slider, check that cells are all selected then adjust the threshold histogram

- 2.10.2

  - 0:00:38-0:00:47 Click ‘Enable’ and set the seed points diameter to average cell size. If no other filters are needed, the green arrow can be clicked to finish surface making.

SCREEN_67627_2.11.1-2.11.2

- 2.11.1

  - 0:00:03 click the ‘Creation Parameters’ wand icon

- 2.11.2

  - 0:00:06-0:00:28 click ‘Store Parameters for Batch’, name the file, and this is not necessary to store in the Arena so is unselected.

  - 0:00:28 Click ‘Ok’

SCREEN_67627_2.12.1-2.12.3

- 2.12.1

  - 0:00:03 Click ‘Statstics’ tab

  - 0:00:05 Click on the ‘Detailed’ tab

  - 0:00:07-0:00:13 Select Specific Values and then Position Z from the dropdown menus

- 2.12.3

  - 0:00:14-0:00:30 Click the Save icon to export all Z-positions and classifications into a .xls

SCREEN_67627_3.7.1-3.7.2

- 3.7.1

  - 0:00:00-0:00:07 Selecting Background Subtraction in Channel 1.

- 3.7.2

  - 0:00:07-0:00:10 Clicking Ok to confirm background subtraction.

SCREEN_67627_3.8.1-3.8.3

- 3.8.1

  - 0:00:00-0:00:16 Auto Adjust all Channels being selected and adjustments applied.

- 3.8.2

  - 0:00:17 Clicking the Add new Reference Frame icon to create Reference Frame 1.

- 3.8.3

  - 0:00:18-0:00:58 Adjusting the reference frame origin to the spheroid center.

SCREEN_67627_3.9.1-3.9.2

- 3.9.1

  - 0:00:00-0:00:03 Clicking the Add new Spots icon.

- 3.9.2

  - 0:00:04-0:00:07 Pressing the blue arrow to continue.

SCREEN_67627_3.10.1-3.10.3

- 3.10.1

  - 0:00:00-0:00:05 Set Estimated XY Diameter to 15.0 um

- 3.10.2

  - 0:00:06-0:00:09 Pressing the blue arrow to continue

SCREEN_67627_3.11.1

- 3.11.1

  - 0:00:00-0:00:07 Intensity histogram adjustment for thresholding.

- 3.11.2

  - 0:00:08-0:00:11 Using the slicer to review the image stack.

- 3.11.3

  - 0:00:12-0:00:14 Pressing the Next arrow

- 3.11.4

  - 0:00:00-0:00:03 Pressing the Execute arrow

SCREEN_67627_3.12.1

- 3.12.1

  - 0:00:00-0:00:09 Disabling Render on slicer

SCREEN_67627_3.13.1-3.13.3

- 3.13.1

  - 0:00:00-0:00:03 Navigating to the Statistics tab.

- 3.13.2

  - 0:00:03-0:00:07 Selecting Specific Values and Distance from Origin Reference Frame.

- 3.13.3

  - 0:00:08-0:00:10 Clicking the Save icon to export data.

SCREEN_67627_3.14.1

- 3.14.1

  - 0:00:00-0:00: Clicking the Save icon to store all progress.