# Submission ID #: 67679

# Scriptwriter Name: Debopriya Sadhukhan

# Project Page Link: https://review.jove.com/account/file-uploader?src=20642143

# Title: Separation and Fractionation of Culture Filtrate Proteins (CFPs) from Mycobacterium tuberculosis

# Authors and Affiliations:

Anbarasu Deenadayalan1, Madhavan Dhanapal1, Uma Devi Ranganathan1,2, Ramalingam Bethunaickan1,2

1Department of Immunology, National Institute for Research in Tuberculosis

# 2Faculty of Medical Research, Academy of Scientific and Innovative Research (AcSIR)

# Corresponding Authors:

# Ramalingam Bethunaickan	(bramalingam@gmail.com); (ramalingam.b@icmr.gov.in)

# Email Addresses for All Authors:

Anbarasu Deenadayalan	(harianbu1@gmail.com)

Madhavan Dhanapal		(sakthimadhavan84@gmail.com)

# Uma Devi Ranganathan	(krumadevi@gmail.com)

# Ramalingam Bethunaickan	(bramalingam@gmail.com); (ramalingam.b@icmr.gov.in)

## Author Questionnaire

- Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?

NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?

NO

3. Filming location: Will the filming need to take place in multiple locations?   NO

Current Protocol Length

Number of Steps:  14

Number of Shots:  45

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Ramalingam Bethunaickan: Our research focuses on developing a method to separate complex M. tuberculosis proteomes into simple 1–4 protein fractions for detailed proteomic and immunological characterization.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.2.1.

What are the most recent developments in your field of research?

  - Ramalingam Bethunaickan: Recent advancements in electrophoresis techniques now enable the separation of highly complex proteomes into simple fractions containing 2–4 proteins, allowing precise downstream proteomic and immunological analyses.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What are the current experimental challenges?

  - Uma Devi Ranganathan: Current challenges include limited loading capacity—protein concentrations above 350 µg often cause precipitation. Additionally, electrophoresis can denature proteins, making them unsuitable for downstream functional or native-state assays.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.3.3.

What significant findings have you established in your field?

  - Madhavan Dhanapal: Using our separation method, we identified 27 novel T cell antigens specific to tuberculosis. These antigens hold strong potential for developing improved diagnostics and next-generation TB vaccines.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

What research gap are you addressing with your protocol?

  - Anbarasu Deenadayalan: This protocol addresses the gap in resolving complex proteomes by enabling separation into well-defined, simple fractions suitable for direct proteomic and immunological analysis—accelerating disease-specific biomarker discovery without further purification.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: LAB MEDIA: Figure 4.

Videographer: Obtain headshots for all authors available at the filming location.

# Protocol

- Cultivation of Mycobacterium tuberculosis and Preparation of Culture Filtrate Proteins (CFPs)

Demonstrator: Madhavan Dhanapal

  - To begin, prepare Sauton’s liquid medium by combining the given reagents in 950 milliliters of distilled water [1-TXT]. Adjust the pH to 7.2 by adding approximately 5 milliliters per liter of 40% potassium hydroxide [2]. Make up the volume to 1 liter [3] and autoclave at 15 psi for 20 minutes [4].

    - WIDE: Talent adding the reagents to a beaker or conical flask containing 950 milliliters of distilled water. TXT: 30 mL Glycerol, 0.5 g KH₂PO₄, 0.5 g Magnesium sulfate, 2 g Citric acid, 0.5 g Casein hydrolysate, 0.05 g Ferric ammonium sulfate, 4 g Sodium glutamate

    - Talent adding potassium hydroxide to the solution.

    - Talent adding solution to make up the volume to 1 liter.

    - Talent placing the conical or beaker in an autoclave.

  - Now, transfer colonies of Mycobacterium tuberculosis grown on Lowenstein-Jensen or LJ (L-J) slopes into 2 milliliters of Sauton’s liquid medium [1]. Using glass beads, vigorously shake the suspension under sterile conditions to break up mycobacterial clumps [2].

    - Talent transferring bacterial colonies into a microcentrifuge tube containing 2 milliliters of Sauton’s liquid medium.

    - Talent adding glass beads to the tube and shaking the tube under a biosafety cabinet.

  - To initiate mycobacterial growth, transfer the bacterial suspension into a McCartney bottle containing 10 milliliters of Sauton’s liquid medium [1]. Incubate the bottle at 37 degrees Celsius for 2 weeks [2].

    - Talent pipetting the bacterial suspension into a McCartney bottle containing 10 milliliters of fresh Sauton’s liquid medium.

    - Talent placing the McCartney bottle into an incubator.

  - Scale up the culture by transferring the grown culture to 200 milliliters of Sauton’s medium in a 1-liter bottle [1]. Place the bottle on a shaker and incubate at 37 degrees Celsius for 4 weeks [2].

    - Talent transferring the culture into a 1-liter bottle containing 200 milliliters of Sauton’s medium.

    - Talent placing the bottle on a shaking incubator.

  - Transfer the log-phase culture into a 4-liter flask containing 2 liters of Sauton’s medium [1]. Grow the culture at 37 degrees Celsius under stationary conditions for an additional 4 weeks [2] until a surface pellicle forms [3].

    - Talent transferring culture into a 4-liter flask containing 2 liters of fresh Sauton’s medium.

    - Talent placing the flask in an incubator.

    - CU: The formed surface pellicle.

  - Transfer the culture into centrifuge tubes [1] and harvest them by centrifuging at 1,000 to 1,500 g for 30 minutes at room temperature [2]. Filter the supernatant through a 0.45-micrometer vacuum filtration system [3]. Then, using a tangential flow filtration system with a 10 kilodalton cutoff, concentrate the filtrate containing culture filtrate proteins [4].

    - Talent placing the flask culture into centrifuge tubes.

    - Talent loading the tube into a centrifuge.

    - Talent filtering the supernatant through a vacuum filtration system with a 0.45 micrometer filter.

    - Talent concentrating the filtered supernatant using a tangential flow filtration system.

  - Estimate the protein content using a commercially available bicinchoninic acid assay kit [1]. Aliquot the proteins [2], add sodium azide to a final concentration of 0.2% [3], and store at minus 80 degrees Celsius [4].

    - Talent adding the protein to a bicinchoninic acid assay kit.

    - Talent aliquoting the concentrated protein.

    - Talent adding sodium azide.

    - Talent placing the aliquots into a minus 80 degrees Celsius freezer.

- Preparation and Fractionation of CFPs by Liquid Phase Isoelectric Focusing (IEF)

Demonstrator: Anbarasu Deenadayalan and Madhavan Dhanapal

  - Solubilize Mycobacterium tuberculosis culture filtrate protein in 60 milliliters of isoelectric focusing or IEF (I-E-F) separation buffer containing 8 molar urea, 1 millimolar dithiothreitol, 5% glycerol, 2% digitonin, and 2 percent ampholytes [1].

    - Talent dissolving the proteins in the specified IEF buffer inside a beaker.

  - Fill the anode chamber with 0.1 molar phosphoric acid [1] and the cathode chamber with 0.1 molar sodium hydroxide [2]. Assemble the preparative isoelectric focusing cell according to the manufacturer’s instructions [3].

    - Talent pouring 0.1 molar phosphoric acid into the anode chamber.

    - Talent pouring 0.1 molar sodium hydroxide into the cathode chamber.

    - Assembled preparative isoelectric focusing cell.

  - Load up to 350 milligrams of protein onto the IEF system [1]. Focus the proteins at 4 degrees Celsius using a cooling circulatory water system [2]. Apply a constant power of 12 watts [3] until the voltage stabilizes at approximately 1,400 volts, before continuing for an additional 30 minutes [4].

    - Talent pipetting protein sample into the IEF system loading tray.

    - Talent connecting the system to a cooling circulatory water system.

    - SCREEN: A constant power of 12 watts being applied. Videographer: If this shot is performed on a computer screen, please make sure the screen is clearly visible in the frame.

    - SCREEN: Monitor showing increasing voltage reaching ~1400 volts and stabilizing. Videographer: If this shot is performed on a computer screen, please make sure the screen is clearly visible in the frame.

  - Harvest the IEF fractions [1] and determine their pH [2]. Analyze each aliquot by SDS-PAGE (S-D-S-Page) [3] and visualize proteins using silver staining [4].

    - Talent adding the IEF fractions into labeled tubes.

    - Talent measuring pH of the IEF fractions.

    - Talent loading aliquots on SDS-PAGE gels.

    - The proteins visualized using silver staining.

- SDS-PAGE Separation and Whole-Gel Elution of Culture Filtrate Proteins

Demonstrator: Anbarasu Deenadayalan and Madhavan Dhanapal

  - Prepare samples for SDS-PAGE by mixing the IEF fractions with a commercially available 6x (six-ex) SDS-PAGE sample buffer [1]. Heat the mixture at 95 degrees Celsius for 5 minutes [2].

    - Talent pipetting fractions into tubes and adding 6× SDS-PAGE buffer.

    - Talent placing the tubes in a heat block at 95 degrees Celsius.

  - Load up to 10 milligrams of protein into a 16 by 20 centimeter polyacrylamide gel with a 4 percent stacking gel and a 12.5 percent resolving gel [1]. Run the electrophoresis at a constant current of 50 milliamperes [2] until the dye front is 2 centimeters from the bottom [3].

    - Talent loading protein into a 16 cm × 20 cm polyacrylamide gel with a 4% stacking gel and a 12.5% resolving gel.

    - The electrophoresis being run at a constant current of 50 milliamperes. Videographer: If this shot is performed on a computer screen, please make sure the screen is clearly visible in the frame.

    - The dye front is 2 centimeters from the bottom.

  - Now, equilibrate the gel in an elution buffer for 10 minutes [1-TXT]. Transfer the gel to the whole-gel eluter instrument [2]. Elute proteins by applying a constant current of 250 milliamperes for 1 hour [3].

    - Talent submerging the gel in equilibration buffer. TXT: Elution buffer: 60 mM of Tris, 40 mM of CAPS, pH 9.4

    - Talent placing the gel into the whole-gel elution device.

    - A constant current of 250 milliamperes being applied to the gel. Videographer: If this shot is performed on a computer screen, please make sure the screen is clearly visible in the frame.

  - Next, collect approximately 30 fractions of 2.5 milliliters each [1]. Determine protein concentration using the bicinchoninic acid method following the manufacturer’s instructions [2]. Analyze 10 micrograms of protein from each fraction by SDS-PAGE [3] and visualize using silver staining [4].

    - Talent collecting eluted fractions into labeled tubes.

    - Talent measuring protein concentration using BCA assay kit.

    - Talent loading 10 micrograms from each sample on SDS-PAGE.

    - The protein visualized using silver staining.

# Results

- Results

  - This image displays a two-dimensional SDS PAGE analysis, where 100 micrograms of culture filtrate proteins produced [1] nearly 100 distinct protein spots [2], indicating a highly complex protein composition [3].

    - LAB MEDIA: Figure 1.

    - LAB MEDIA: Figure 1. Video Editor: Emphasize the brown spots.

    - LAB MEDIA: Figure 1.

  - SDS PAGE analysis of three representative fractions from different separation runs showed distinct banding patterns, confirming variability in protein composition across the samples [1].

    - LAB MEDIA: Figure 2.

  - The pH values of the separated fractions gradually increased from 2.54 to 12.9 [1], with the majority of proteins concentrated in fractions with pH between 4 and 6 [2].

    - LAB MEDIA: Figure 3. Video Editor: Highlight the blue plot.

    - LAB MEDIA: Figure 3. Video Editor: Highlight the red lines at 4 and 6.

  - SDS PAGE analysis of whole-gel eluted isoelectric focusing fraction 12 revealed that each fraction contained 1 to 3 protein bands, confirming the successful separation and resolution of proteins into distinct bands [1].

    - LAB MEDIA: Figure 4.