# Submission ID #: 67680

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20642448

# Title: Separation and Fractionation of Cell Wall and Cell Membrane Proteins from Mycobacterium tuberculosis for Downstream Protein Analysis

# Authors and Affiliations:

# Anbarasu Deenadayalan1, Madhavan Dhanapal1, Uma Devi Ranganathan1,2, Ramalingam Bethunaickan1,2

# 1Department of Immunology, National Institute for Research in Tuberculosis

# 2Faculty of Medical Research, Academy of Scientific and Innovative Research (AcSIR)

# Corresponding Authors:

Ramalingam Bethunaickan 	(bramalingam@gmail.com, ramalingam.b@icmr.gov.in)

# Email Addresses for All Authors:

Anbarasu Deenadayalan	(harianbu1@gmail.com)

Madhavan Dhanapal		(sakthimadhavan84@gmail.com)

Uma Devi Ranganathan	(krumadevi@gmail.com)

Ramalingam Bethunaickan 	(bramalingam@gmail.com, ramalingam.b@icmr.gov.in)

## Author Questionnaire

- Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

- Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

- Filming location: Will the filming need to take place in multiple locations?

No

Current Protocol Length

Number of Steps:  12

Number of Shots:  22

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

AUTHORS: Please note that only 5 introductory statements may be presented. The statements have been edited for brevity

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Ramalingam Bethunaickan: My research develops a streamlined method to separate insoluble cell wall and membrane proteins of Mycobacterium tuberculosis into simple fractions for direct proteomic and immunological analysis.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B.roll:3.2

What are the most recent developments in your field of research?

  - Ramalingam Bethunaickan: R Advances in electrophoresis now allow complex proteomes to be separated into 2–4 protein fractions, facilitating efficient MS-based isolation for functional, proteomic, and immunological applications.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What are the current experimental challenges?

  - Uma Devi Ranganathan: Key challenges include poor solubility of hydrophobic proteins—precipitating above 100 mg—and SDS-PAGE-induced denaturation, which hinders downstream applications needing native conformation, like enzyme activity assays.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What advantage does your protocol offer compared to other techniques?

  - Madhavan Dhanapal: No current protocol systematically separates insoluble hydrophobic cell wall and membrane proteins into defined, water-soluble fractions for direct proteomic and immunological analysis which is key to understanding function and guiding interventions.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

What research questions will your laboratory focus on in the future?

  - Anbarasu Deenadayalan: Future research will develop T cell antigen–based diagnostics, evaluating their sensitivity, specificity, and performance across TB populations to enhance early, accurate detection and support better disease control.

    - INTERVIEW: Named Talent says the statement above in an interview-style shot, looking slightly off-camera.

Videographer: Obtain headshots for all authors available at the filming location.

Ethics Title Card

This research has been approved by the Institutional Scientific Advisory Committee and Ethical Committee at ICMR-NIRT

# Protocol

- Preparative Liquid-Phase Isoelectric Focusing of Mycobacterium tuberculosis Cell Fractions

Demonstrator: Madhavan Dhanapal

  - To begin, obtain the cell wall, cell membrane and cytosolic protein samples from whole cell lysate of Mycobacterium tuberculosis bacilli [1]. Solubilize the cell wall and cell membrane proteins in isoelectric focusing buffer [2-TXT].

    - WIDE: Talent holding labelled vials containing cell wall, cell membrane and cytosolic protein isolates.

    - Talent adding reagents into a tube containing membrane protein pellet and mixing the sample. TXT: IEF buffer: 8 M urea, 1 mM DTT, 5% glycerol, 2% digitonin

  - Add 2 percent ampholytes between pH ranges of 3 to 10 and 4 to 6, in a ratio of 1 to 4 [1].

    - Talent pipetting ampholytes from labeled stock solutions and adding them into the solubilized protein mixture.

  - Now, fractionate the solubilized proteins in a liquid isoelectric focusing system maintained at 4 degrees Celsius with a cooling water bath [1]. Conduct isoelectric focusing separation following the manufacturer’s instructions by applying a constant power of 12 watts [2].

    - Talent loading the sample into the liquid IEF system connected to a water bath.

    - Talent inputting 12 watts and monitoring the voltage increase until stabilization.

  - Collect the individual isoelectric focusing fractions with a vacuum pump [1]. Determine the pH values of each fraction [2].

    - Talent drawing liquid fractions from the IEF apparatus using a vacuum pump.

    - Talent testing the pH of the fractions on a pH paper or using a pH meter.

  - Subject 50 micrograms of the separated fractions to SDS-PAGE and visualize the proteins using Coomassie Brilliant Blue or silver staining [1-TXT].

    - Shot of separated fractions on a PAGE gel, post staining. TXT: Store the separated IEF fractions in a - 80 °C freezer till further analysis

- Preparative Two-Dimensional Electrophoresis and Protein Elution from Polyacrylamide Gels

Demonstrator: Anbarasu Deenadayalan

  - Start by mixing the IEF (I-E-F) separated cell wall and cell membrane fractions with SDS gel electrophoresis sample buffer [1-TXT]. Heat the mixture at 95 degrees Celsius for 5 minutes [2].

    - WIDE: Talent adding SDS-PAGE buffer to the sample tubes. TXT: Use 6x SDS buffer

    - Talent placing the mixture in a heating block and setting temperature to 95 degrees Celsius.

  - Separate the protein fractions in the second dimension using 16 by 20-centimeter polyacrylamide gels with a 12.5 percent resolving gel and a 4 percent stacking gel [1]. Then use a single 13-centimeter long sample well to load the sample onto the gel [2].

    - Talent pouring stacking gel onto the semi-assembled gel.

    - Talent carefully pipetting the prepared sample into a long single well.

  - Perform electrophoresis at a constant current of 50 milliamperes per gel [1] until the dye front reaches the bottom of the gel [2]. After electrophoresis, equilibrate the gel in elution buffer for 10 minutes [3].

    - Talent setting the electrophoresis parameters.

    - Shot of the dye front reaching the bottom line on the gel.

    - Talent transferring gel to a tray with elution buffer and gently shaking it on a rocker.

  - Transfer the gel to a whole gel eluter apparatus as per the instrument manufacturer’s instructions [1]. Run the eluter at a constant current of 250 milliamperes for 1 hour [2] to elute the proteins from the gel [3].

    - Talent positioning the equilibrated gel into the whole gel eluter system following a printed manual.

    - Shot of the current being set on the eluter.

    - Shot of a fraction being eluted.

  - Then use a vacuum pump to collect approximately 30 protein fractions, each measuring 3 milliliters, from the gel [1].

    - Talent collecting eluate into tubes labeled 1 to 30.

  - Quantify the protein concentration in the eluted fractions using the bicinchoninic acid protein assay [1].

    - Talent performing BCA assay with standards and samples, measuring absorbance using a microplate reader.
AUTHORS: This is a representative action. Do not perform the whole assay. Instead perform only the last reagent addition to show color change in BCA assay

  - Subject 10 micrograms of the eluted protein fractions to SDS-PAGE analysis and visualize the bands by Coomassie Brilliant Blue staining [1].

    - Shot of separated fractions on a PAGE gel, post staining.

# Results

- Results

  - Distinct protein banding patterns were observed in the 1st supernatant, cell wall, cell membrane, and cytosol fractions of Mycobacterium tuberculosis, confirming successful subcellular fractionation [1].

    - LAB MEDIA: Figure 1. Video editor: Please sequentially highlight the lanes labeled “1’st SUP”, “CW”, “CM”, “Cytosol”

  - The isoelectric focusing of cell wall proteins showed the highest protein concentration in fractions with pH below 2.5 [1]. SDS-PAGE of the cell wall IEF fractions revealed distinct protein bands predominantly in fractions 1 to 8 [2].

    - LAB MEDIA: Figure 2. Video editor: Highlight the first three data points at the leftmost end of the curve

    - LAB MEDIA: Figure 3. Video editor: Highlight the lanes 1 through 8

  - Cell membrane protein separation by IEF revealed major protein concentration peaks between pH 4 and pH 10, with the highest concentration occurring around pH 10 [1].

    - LAB MEDIA: Figure 4. Video editor: Emphasize the data points between 4 to 10

  - SDS-PAGE of the cell membrane IEF fractions showed diverse protein profiles, with clearer bands in fractions 1 to 9 [1].

    - LAB MEDIA: Figure 5. Video editor: Highlight lanes 1 through 9

  - Preparative SDS-PAGE separation of the IEF-resolved cell wall proteins produced fractions predominantly under 100 micrograms per milliliter [1]. SDS-PAGE of the eluted cell wall protein fractions displayed a wide range of protein molecular weights, with more concentrated bands in fractions 6 to 10 [2].

    - LAB MEDIA: Figure 6. Video editor: Highlight the tallest bar at "<50" on the x-axis.

    - LAB MEDIA: Figure 7. Video editor: Highlight lanes 6 to 10

  - Preparative SDS-PAGE of cell membrane protein fractions revealed that over half of the fractions had protein concentrations between 50 and 199 micrograms per milliliter [1]. SDS-PAGE of the eluted cell membrane protein fractions revealed concentrated bands in lanes 1 to 8 and 13 to 16 [2].

    - LAB MEDIA: Figure 8. Video editor: Highlight the tallest bar labeled "50–99" on the x-axis.

    - LAB MEDIA: Figure 9. Video editor: Focus on lanes 1 to 8 and 13 to 16.