# Submission ID #: 67751

# Scriptwriter Name: Poornima G

# Project Page Link: https://review.jove.com/account/file-uploader?src=20664103

# Title: Profiling of Permethylated Mucin O-Glycans Using Matrix-Assisted Laser Desorption/Ionization Time-of-Flight Mass Spectrometry

# Authors and Affiliations:

# Dimitrios Latousakis, Nathalie Juge

# Quadram Institute Bioscience

# Corresponding Author:

# Dimitrios Latousakis			dimitris.latousakis@quadram.ac.uk

# Email Addresses for All Authors:

# Nathalie Juge				nathalie.juge@quadram.ac.uk

# Dimitrios Latousakis			dimitris.latousakis@quadram.ac.uk

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all done

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 200 yrd

Current Protocol Length

Number of Steps:  25

Number of Shots:  58 (26 SC)

# Introduction

Videographer’s NOTE: The interviews were done 3 times, in different locations. This was because the talent took a bit of warming up, and there was one quiet room but was looking quite bland, so I wanted to give different options. These are all slated accordingly.

REQUIRED:

  - Dimitris Latousakis: We are studying the glycobiology of the gastrointestinal tract, with a focus on the role of the mucus layer, and in particular mucins and their glycans, in the interaction between the host and gut microbes in health and disease.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.1.4

What are the most recent developments in your field of research?

  - Dimitris Latousakis: Mucin glycans are increasingly recognized as important factors in host-microbe interactions, as they provide nutrients and binding sites for bacteria. An alteration in the glycosylation profile can lead to a disturbance in the microbiota composition and vice versa, phenotypes that are commonly observed in disease states.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.1.1

What technologies are currently used to advance research in your field?

  - Dimitris Latousakis: Innovations in sampling techniques can take the field forward, as well as new sample processing approaches to increase the throughput and reduce the time from sample collection to results.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.1.1

What advantage does your protocol offer compared to other techniques?

  - Dimitris Latousakis: Other analytical techniques allow more detailed structural characterization of glycans but require long running and analysis time. The techniques described here, using MALDI-TOF mass spectrometry has the advantage of speed, which makes it high-throughput and suitable for screening and profiling.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.5.1

Videographer: Obtain headshots for all authors.

# Testimonial Questions:

How does the research community benefit from video publications as compared to standard text publications?

  - Dimitris Latousakis: In many cases, how the scientist executes a protocol is as important as what the protocol includes, and this is not easy information to convey in a written publication, as it takes up too much space and disrupts the flow of this publication.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 4.1.1

# Protocol

- Desalting the Mucin O-Glycans Before Permethylation

Demonstrator: Dimitris Latousakis

  - To begin, mix purified mucins with 250 microliters of the beta-elimination buffer in a 4-milliliter glass vial [1-TXT]. Seal the vial tightly with a polytetrafluoroethylene lined cap [2] and incubate the reaction at 45 degrees Celsius for 16 hours [3]. On ice, add 1 milliliter of the 5 percent acetic acid solution to the reaction mix in a dropwise manner [4-TXT].

    - WIDE: Talent adding beta-elimination buffer to the vial containing dissolves mucins. TXT: Mucins: 100 μg of purified mucins in 250 μL of H2O

    - Talent securing the cap tightly on the vial.

    - Talent placing the vial in an incubator set to 45 degrees Celsius.

    - Talent adding acetic acid dropwise to the reaction vial while it is on ice. TXT: Observe the effervescence caused due to hydrogen release

  - For desalting the sample, plug a glass pipette with a small amount of glass wool [1]. Add 1.5 milliliters of the resin suspension to the glass pipette from the top, then allow it to settle and drain [2].

    - Talent inserting glass wool into the pipette.

    - Talent adding resin suspension into the pipette and keeping it aside.

  - Now, wash the resin with 2 milliliters of 5 percent acetic acid [1] and discard the flowthrough [2]. Then, add the mucin sample to the desalting column [3] and collect the flowthrough in a 5-mill iliter tube [4-TXT].

    - Talent pouring 5 percent acetic acid into the pipette with resin.

    - Talent discarding the flowthrough. (not nessesary)

    - Talent adding the mucin sample to the desalting column.

    - Talent collecting flowthrough in a 5-milliliter tube. TXT: Rinse the vial with acetic acid and pass it through the column

  - Wash the column two times with 1 milliliter of 5 percent acetic acid to collect the flowthrough [1]. Then, using a centrifugal evaporator, remove the acetic acid and concentrate the sample at 5 millibar and 30 degrees Celsius for 2 hours [2-TXT]. Dissolve the sample in 0.5 milliliters of methanolic acetic acid [3] and dry it under a stream of nitrogen [4-TXT].

    - Talent adding the column with 5 percent acetic acid.

    - Talent placing the sample in the centrifugal evaporator  TXT: Freeze the sample at -80 oC; Dry the sample overnight in a freeze dryer

    - Talent adding 0.5 milliliters of methanolic acetic acid to the samples.

    - Shot of sample placed under a stream of nitrogen. TXT: Repeat the dissolve/dry cycles 3 – 5x; Store the dried sample at 4 oC

- Extended Permethylation of Mucin O-Glycans for Better Spectral Quality

  - Using a glass syringe, add 4 milliliters of DMSO to the vial containing sodium hydroxide and methanol mixture [1-TXT]. After vortexing, centrifuge the solution at 2,000 g for 2 minutes [2].

    - Talent using a glass syringe to add anhydrous DMSO to the vial containing sodium hydroxide and methanol mixture. TXT: 50% NaOH: 0.2 mL; Methanol: 0.4 mL

    - Talent placing the vial in a centrifuge.

  - Carefully decant the supernatant and remove the salts without disturbing the gel [1-TXT]. After ensuring no more salts are formed, resuspend the gel in 4 milliliters of anhydrous DMSO to prepare the permethylation base suspension [2].

    - Talent gently decanting the supernatant and any salts from the vial. TXT: Repeat the steps 5x; If required, remove the salts with a glass Pasteur pipette

    - Talent adding 4 milliliters of anhydrous DMSO to the vial to resuspend the gel.

  - Next, to the dried mucin sample, add anhydrous DMSO and permethylation base, immediately followed by iodomethane [1-TXT]. Incubate the permethylation reaction for 30 minutes at room temperature with vigorous shaking [2].

    - Talent adding anhydrous DMSO and permethylation base to the dried mucin. TXT: DMSO: 100 μL; Permethylation base: 150 μL; Iodomethane: 80 μL (avoids moisture absorption)

    - Talent placing the reaction samples on a shaker set to vigorous shaking.

  - Then, add 0.5 milliliters of water to terminate the reaction [1]. After the sample turns cloudy, flush it with nitrogen until it turns clear [2].

    - Talent adding water to the samples to halt the reaction.

    - Close-up of flushing nitrogen stream over the cloudy sample.

  - Load the sample onto a Hydrophilic-Lipophilic-Balanced 96-well extraction plate [1]. Apply positive pressure to push the samples through the solid phase at a flow rate of approximately 1 milliliter per minute [2].

    - Talent loading samples onto the HLB plate.

    - Talent applying positive pressure to ensure sample flow through the solid phase.

  - After discarding the flowthrough, wash the wells two times with 1 milliliter of water [1-TXT].

    - Talent adding each well with water and applying positive pressure. TXT: Apply positive pressure; Discard the flowthrough

  - Elute the glycans from the plate 2 times with 1 milliliter of methanol [1]. Apply pressure only until methanol starts exiting the plate, then allow gravity flow to maintain the required rate [2].

    - Talent adding methanol to the HLB plate for glycan elution. Videographer’s NOTE: Talent said best to do in 2 shots. Part 1 was wide shot  (this is 3.7.1). Part 2 was a close up (this is 3.7.2) So this slateboard that the editor sees in the shot can be IGNORED.

    - Close-up of methanol beginning to flow and collecting the flowthrough in a separate container.

  - Dry the sample using a centrifugal evaporator [1] and dissolve it in 10 microliters of TA-50 [2]. After mixing 1 microliter sample and the matrix, load it onto a steel MALDI (mal-dee) target plate and allow it to dry [3-TXT].

    - Talent placing sample in a centrifugal evaporator to dry them. Videographer’s NOTE: SLATED as 3.7.2. IGNORE CURRENT SLATEBOARD…. This shot is 3.8.1.

    - Talent adding TA50 to the dried samples.av Videographer’s NOTE: SLATED AS 3.8.1. IGNORE CURRENT SLATEBOARD…this shot is 3.8.2

    - Close-up spotting the mixture onto a MALDI target plate.

- MALDI-TOF MS Data Analysis for Processed Mucin Glycans

  - Perform the MALDI-TOF analysis of the desalted and permethylated mucin samples [1].

    - Talent working at the MALDI TOF unit.  Videographer’s NOTE: Talent said this shot was not needed.

  - For data analysis, load the exported .ascII (A-S-C-2) file of the mass spectrum in Glyco-work-bench [1]. After performing baseline correction, compute the peak centroids and, in the pop-up window, select the appropriate mass range, minimum signal-to-noise ratio, and minimum mass spectrometry peak intensity [2].

    - SCREEN: JoVE67751_screenfile_1.  : 00:00–00:15.

    - SCREEN: JoVE67751_screenfile_1.  : 00:17-00:29.

  - Then, use the Glyco-Peakfinder tool to identify the structure compositions that match the peak list [1]. Choose perMe (per-me) as the Derivatization, redEnd (red-end) as the Reducing End, and set the minimum and maximum number of expected residues [2].

    - SCREEN: JoVE67751_screenfile_1.  00:34-00:40.

    - SCREEN: JoVE67751_screenfile_1.  : 00:40-00:44.

  - For mucins, select Hexose, N-Acetyl-Hexosamine, Deoxy-Hexose, and N-Acetyl-Neuraminic acid [1]. For sulfated glycans, use the other residue option with a mass of 87.9 [2]. For MALDI-TOF data, set the maximum number of sodium ions and charges to 1 each, and set the accuracy to 0.5 Daltons [3].

    - SCREEN: JoVE67751_screenfile_1.  : 00:45-00:49.

    - SCREEN: JoVE67751_screenfile_1.  : 00:49-00:53.

    - SCREEN: JoVE67751_screenfile_1.  : 00:54-00:57. Video editor: Highlight “max # Na ions = 1”, “max # charges =1” and “accuracy = 0.5”

  - Select all correct annotations with the control key and click on each of them [1]. Right-click on the selected annotations and choose Add to the annotated peak list [2].

    - SCREEN: JoVE67751_screenfile_1.  : 01:00-01:10.

    - SCREEN: JoVE67751_screenfile_1.  : 01:40-01:47.

  - To generate a report comparing multiple annotated spectra, go to Tools followed by  Reporting and Create a report comparing different profiles [1]. Print the report as a PDF to save it [2].

    - SCREEN: JoVE67751_screenfile_1.  : 02:44-02:51.

    - SCREEN: JoVE67751_screenfile_1.  : 02:59-03:06.

  - For fragmentation spectra analysis, load the spectra onto Glyco-work-bench [1] and generate the peak list as demonstrated earlier [2].

    - SCREEN: JoVE67751_screenfile_1.  : 03:20-03:30.

    - SCREEN: JoVE67751_screenfile_1.  : 03:30-03:40.

  - Draw putative glycan structures that correspond to the annotated glycan compositions [1]. To generate fragments for each structure,right-click to select Copy fragments into canvas [2] and choose Compute fragments under the Fragments tool  [3].

    - SCREEN: JoVE67751_screenfile_1.  : 04:14-04:20.

    - SCREEN: JoVE67751_screenfile_1.  : 05:16-05:22.

    - SCREEN: JoVE67751_screenfile_1.  : 05:31-05:40.

  - For further fragmentation analysis, click on a peak of interest in the spectrum viewer [1]. Right-click and select Find all structures matching the peaks to query the mass-to-charge ratio of the selected peak against online databases [2]. Select putative structures of interest and right-click to copy them to the canvas window with the appropriate option [3].

    - SCREEN: JoVE67751_screenfile_1.  : 005:50-05:54.

    - SCREEN: JoVE67751_screenfile_1.   06:28-06:33.

    - SCREEN: JoVE67751_screenfile_1.   06:56-:07:03.

  - To compute possible fragments from each glycan structure, select the structure in the canvas [1]. Then, under Tools and Fragments, select Compute fragments for the current structure [2]. If fragments for more than one glycan structure have been computed, go to the Fragments table view under the Summary tab to view the comparison table [3].

    - SCREEN: JoVE67751_screenfile_1.   07:10-07:20.

    - SCREEN: JoVE67751_screenfile_1.   10:50-10:55.

    - SCREEN: JoVE67751_screenfile_1.   07:38-07:45.

  - Select the fragments matching the peak list for each potential glycan structure. Right-click and choose Copy fragments to canvas from the dropdown menu [1].

    - SCREEN: JoVE67751_screenfile_1.   10:25-10:35.

  - Finally, in the Tools tab, go to Profiler followed by Annotate peaks with all structures [1]. Then select Tools, Reporting and Create a report of the annotations [2].

    - SCREEN: JoVE67751_screenfile_1.   10:56-11:03.

    - SCREEN: JoVE67751_screenfile_1.   11:05-11:15 .

# Results

- Results

  - Desalting by ion exchange resulted in better recovery of larger glycans, with these larger structures making up 31% of total glycans [1], compared to 21% for PGC extraction [2]. Among the glycan structures identified, one glycan was identified only through in the ion-exchange desalted sample [3].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the top graph in A with the value mentioned 31.4%.

    - LAB MEDIA: Figure 2A. Video editor: Highlight the bottom graph in A with the value mentioned 21.6%.

    - LAB MEDIA: Figure 2A. Video editor: Highlight the compound name “redEnd….……dHex2” below the “asterisk (*)” at the top of the figure

  - Furthermore, desalting by ion exchange and borate removal led to spectra with increased signal-to-noise ratios [1] compared to those produced after desalting by solid phase extraction with PGC [2].

    - LAB MEDIA: Figure 2B. Video editor: Highlight the pink/red graph for “ion exchange”.

    - LAB MEDIA: Figure 2B. Video editor: Highlight the bottom graph in A with the value mentioned 21.6%.

  - Permethylation reaction times of 30 and 90 minutes led to the identification of 33 glycan peaks [1], while a 5-minute reaction identified only 31 peaks [2].

    - LAB MEDIA: Figure 3. Video editor: Highlight the spectra for “30 and 90 min  reaction”.

    - LAB MEDIA: Figure 3. Video editor: Highlight the spectra for “5 min reaction”.

Pronunciation Guides:

  peristalsis
Pronunciation link: https://www.merriam-webster.com/dictionary/peristalsis
IPA: /ˌpɛrəˈstɔlsəs/
Phonetic Spelling: per-uh-STOL-suhs

  glycan
Pronunciation link: https://www.merriam-webster.com/dictionary/glycan
IPA: /ˈɡlaɪkæn/
Phonetic Spelling: gly-kan

  effervescence
Pronunciation link: https://www.merriam-webster.com/dictionary/effervescence
IPA: /ˌɛfərˈvɛsəns/
Phonetic Spelling: ef-er-VESS-ens

  hydrophilic
Pronunciation link: https://www.merriam-webster.com/dictionary/hydrophilic
IPA: /ˌhaɪdrəˈfɪlɪk/
Phonetic Spelling: hy-dro-FIL-ik

  lipophilic
Pronunciation link: https://www.merriam-webster.com/dictionary/lipophilic
IPA: /ˌlɪpoʊˈfɪlɪk/
Phonetic Spelling: li-po-FIL-ik

  anion exchange
Pronunciation link: https://www.merriam-webster.com/dictionary/anion%20exchange
IPA: /ˈænˌaɪən ɪksˈtʃeɪndʒ/
Phonetic Spelling: AN-ee-uhn iks-CHAYNJ

  borate
Pronunciation link: https://www.merriam-webster.com/dictionary/borate
IPA: /ˈbɔːreɪt/
Phonetic Spelling: BOR-ayt

  permethylation
Pronunciation link: https://www.synonyms.com/pronounce/permethylation
IPA: /pərˌmɛθɪˈleɪʃən/
Phonetic Spelling: per-meth-uh-LAY-shun

  MALDI-TOF
Pronunciation link: https://www.howtopronounce.com/maldi-tof
IPA: /ˈmældi ˌtiːˈoʊˈɛf/
Phonetic Spelling: mal-dee T-oh-eff