# Submission ID #: 67765

# Scriptwriter Name: Sulakshana Karkala

# Project Page Link: https://review.jove.com/account/file-uploader?src=20668373

# Title: Stable Isotope In-Vivo Labeling for Mass-Spectrometry Identification of Paternal Metabolites Transferred from Sperm to Oocyte During Fertilization

# Authors and Affiliations:

# Luca Roberto1, Gilda Cobellis2, Concetta Ambrosino1,3, Pietro Campiglia4, Mariano Stornaiuolo5*

# 1Biogem Scarl, Institute of Molecular Biology and Genetics Research, Via Camporeale

# 2Department of Experimental Medicine, University della Campania Luigi Vanvitelli, Via Santa Maria di Costantinopoli 16

# 3Department of Biology, University of Naples "Federico II", Via Cinthia, 26, Naples, Italy 4Department of Pharmacy, School of Pharmacy, University of Salerno, Via Giovanni Paolo II 132, I-84084 Fisciano

# 5Department of Pharmacy, University of Naples “Federico II”, Via Montesano 49

☐   All author names and affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Mariano Stornaiuolo 		(mariano.stornaiuolo@unina.it)

# Email Addresses for All Authors:

Luca Roberto			(lucaroberto@biogem.it)

Gilda Cobellis			(gilda.cobellis@unicampania.it)

Concetta Ambrosino		(concetta.ambrosino@unina.it)

Pietro Campiglia		(pcampiglia@unisa.it)

Mariano Stornaiuolo 		(mariano.stornaiuolo@unina.it)

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit.

If your microscope does not have a camera port, the scope kit will be attached to one of the eyepieces and you will have to perform the procedure using one eye.

Enter make and model of microscope.

If a dissection or stereo microscope is required for your protocol, please list all shots from the script that will be visualized using the microscope (shots are indicated with the 3-digit numbers, like 2.1.1, 2.1.2, etc.).

Click here to list microscope shots, using the shot numbers from the protocol section of the video script.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software.

We recommend using the screen capture program OBS. JoVE’s tutorial for using OBS Studio is provided at this link: https://review.jove.com/v/5848/screen-capture-instructions-for-authors?status=a7854k

As these files are necessary for finalizing your script, please upload all screen-captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the protocol sections are cumulatively restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  14

Number of Shots:  34

# Introduction

Videographer: Obtain headshots for all authors available at the filming location.

Answers to these questions will become interview statements that you will deliver on camera.

- Answer the 1st REQUIRED question and at least 2 other questions (1.2 – 1.10) below. Up to 5 interview statements will be included in the video.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: What is the scope of your research? What questions are you trying to answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the most recent developments in your field of research?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What technologies are currently used to advance research in your field?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What are the current experimental challenges?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What significant findings have you established in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research gap are you addressing with your protocol?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What advantage does your protocol offer compared to other techniques?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

How will your findings advance research in your field?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What new scientific questions have your results paved the way for?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

What research questions will your laboratory focus on in the future?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Videographer: Obtain headshots for all authors available at the filming location.

# Testimonial Questions (OPTIONAL):

# Videographer: Please ensure that all testimonial shots are captured in a wide-angle format, while also maintaining sufficient headspace, given that the final videos will be rendered in a 1:1 aspect ratio.

Answers to these questions will not appear in the video but may be featured in our journal's promotional materials.

- Enter the full name of the author who will deliver the statement. Add your title (e.g., Director of [Institute Name], Senior Researcher [University Name], etc.) as this will included in the promotional materials.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Answers will be mildly edited for clarity.

- Limit the length of each statement to 50 words or fewer.

How do you think publishing with JoVE will enhance the visibility and impact of your research?

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Can you share a specific success story or benefit you’ve experienced—or expect to experience—after using or publishing with JoVE? (This could include increased collaborations, citations, funding opportunities, streamlined lab procedures, reduced training time, cost savings in the lab, or improved lab productivity.)

  - Enter author name, Enter author title: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 50 or fewer words.

Ethics Title Card

This research has been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of Naples Federico II

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The two-digit steps (e.g., 2.1., 2.2.) are the narration.  JoVE is responsible for the narration of the protocol and results.

- Red italics are pronunciation guides indicating how the word will be spoken.

- Filming should take no more than 10 minutes per step. If a step takes more than 10 minutes, prepare the product for that step in advance.

- The three-digit shots (e.g., 2.1.1., 2.2.2.) are the actions that the videographer will capture.

- Integrated Extraction and Derivatization of Lipids, Polar Metabolites, and Sterols from Oocyte and Sperm Mice Samples

Demonstrator: Click here to enter name of demonstrator(s)

If the same person is the demonstrator throughout, mention them once here and remove the "Demonstrator" field from the other sections; if the demonstrator changes, retain the field in the respective sections.

  - To extract lipid and polar metabolites, obtain mice oocyte and sperm samples [1]. Equilibrate them on ice at 4 degrees Celsius [2].

    - WIDE: Talent holding labeled tubes.

    - Talent placing the samples on ice.

  - Add 225 microliters of ice-cold methanol to each sample [1]. Then place the samples in a freezer set to minus 30 degrees Celsius for 1 minute [2]. Transfer the samples to a sonic bath and incubate for 10 minutes [3].

    - Talent pipetting 225 microliters of methanol into each sample tube.

    - Talent placing tubes in the minus 30 degrees Celsius freezer and closing the lid.

    - Talent submerging the tubes in a sonic bath and setting a timer for 10 minutes.

  - Next, pipette 750 microliters of ice-cold MTBE (M-T-B-E) into the samples [1-TXT]. Incubate the samples in a Thermomixer for 1 hour at 4 degrees Celsius at 550 revolutions per minute [2].

    - Talent adding 750 microliters of MTBE to each tube using a pipette. TXT: MTBE: Methyl Tert-Butyl Ether

    - Talent placing tubes in a Thermomixer, setting 4 degrees Celsius and 550 rpm, and starting the timer for 1 hour.

  - Centrifuge the samples [1]. Then add 188 microliters of water to each tube [2].

    - Talent placing tubes in a centrifuge and starting the spin cycle.

    - Talent adding 188 µL of water to each tube.

  - Separate the upper phase containing lipids from the lower phase containing polar metabolites [1]. Dry both phases completely in a vacuum concentrator [2]. Store the dried samples at minus 80 degrees Celsius [3].

    - Talent using a pipette to separate the two visible phases and transfer them into labeled tubes.

    - Talent placing tubes in a vacuum concentrator.

    - Shot of the  dried tubes being placed in a minus 80 degrees Celsius freezer.

  - To extract sterols, place the oocyte and sperm samples on ice at 4 degrees Celsius [1]. Resuspend each sample in 500 microliters of 70% methanol and water solution [2]. Then transfer the suspension to a labeled glass tube [3].

    - Talent placing sample tubes on ice and setting a timer for equilibration.

    - Talent pipetting methanol-water solution into each sample.

    - Talent transferring the suspensions into labelled glass tubes.

  - Vortex the samples for 30 seconds to homogenize [1]. Allow the homogenate to rest at 4 degrees Celsius for 16 hours [2].

    - Talent vortexing the glass tubes for 30 seconds.

    - Talent placing the tubes in a refrigerator set to 4 degrees Celsius.

  - Now, centrifuge the homogenized samples at 3,220 g for 15 minutes at room temperature [1]. Transfer the supernatant to a new glass tubes [2]. Pipette 500 microliters of PBS into the tubes [3].

    - Talent loading centrifuge with tubes and setting spin parameters.

    - Talent pipetting supernatant into new tubes.

    - Talent adding 500 µL  phosphate-buffered saline.

  - Now, add 7 milliliters of ice-cold diethyl ether to each tube [1]. Vortex the suspension for 1 minute [2].

    - Talent adding diethyl ether to the tubes.

    - Talent vortexing the tube.

  - After letting the sample sit for 2 minutes to allow phase separation [1], submerge the glass tube in a dry ice and acetone bath to freeze the water phase [2]. Transfer the unfrozen diethyl ether phase into a new tube [3].

    - Shot of tube with separated phases.

    - Talent placing the tube in dry ice-acetone bath.

    - Talent transferring top ether layer into new labeled tube.

  - Defrost the water phase at 37 degrees Celsius [1]. Repeat the extraction process by adding diethyl ether and isolating the upper phase as before [2]. Combine all collected diethyl ether layers in one glass tube [3].

    - Talent placing the tube in a 37 degrees Celsius water bath.

    - Talent repeating ether extraction and isolating the upper phase.

    - Talent combining the collected ether extracts into a single glass tube.

  - Dry the final combined extract using a vacuum concentrator [1]. Store the dried sterol samples at minus 80 degrees Celsius [2].

    - Talent operating vacuum concentrator to dry sterol extract.

    - Talent placing dried sterol samples into a minus 80 degrees Celsius freezer.

  - Bring the dried samples to room temperature to equilibrate [1]. Add 50 microliters of pyridine to solubilize the samples [2].

    - Talent adding pyridine with a micropipette to each sample.

    - Talent placing dried sample tubes on a lab bench.

  - Add 25 microliters of BSTFA (B-S-T-F-A) to the tubes for derivatization [1-TXT]. Incubate the samples 90 minutes at 60 degrees Celsius before further analysis [2].

    - Talent adding derivatization agent. TXT: BSTFA:N,O Bis(trimethylsilyl(TMS)trifluoroacetamide)

    - Talent placing tubes in a heating block set at 60 degrees Celsius for 90 minutes.

# Results

Please review this section to make sure that it accurately reflects your findings.

- This section will not be recorded by the videographer. It only includes the figures/tables from your manuscript (called LAB MEDIA).

- Use Track Changes when making edits or revisions. Ensure the voiceover length is below 200 words. Current word count: 65.

- Please note that the video cannot include voiceover without an accompanying visual.

- Results 
AUTHORS: Please confirm that the results have been accurately summarized

  - Deuterium-labeled cholesterol derived from sperm was detected in labeled morulae, confirming paternal cholesterol transfer during fertilization [1].

    - LAB MEDIA: Figure 2A. Video editor: Highlight the red line in the left graph labeled “Labeled Morulae”

  - Principal component analysis revealed distinct clustering of labeled morulae from unlabeled morulae, unlabeled oocytes, and labeled sperm cells, indicating unique metabolic profiles post-fertilization [1].

    - LAB MEDIA: Figure 2B. Video editor: Emphasize the red circles (labeled morulae) clustering first then blue, cerulean, and green circles together.

  - Heatmap analysis of 50 key metabolites showed that labeled morulae had a distinct metabolic signature compared to other sample groups [1].

    - LAB MEDIA: Figure 2C. Video editor: Highlight all red-colored clusters for “Labeled Morulae”